Hellenic Accreditation System

# Annex G1/1 to the Certificate No.1277

SCOPE of ACCREDITATION

of the

Clinical Laboratory

of

PRENDA BRUNGA

(LABORATORI I ANALIZAVE MJEKSORE

"BRUNGA")

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Biochemical Tests |
| Blood Serum | Determination of 9 parameters | Automated analyzer BS 230 MINDRAY (BS 230)* |
|  | 1. Cholesterol | END POINT-Cholesterol CHOD PAP (I1-VM/01) |
|  | 2. Glucose | END POINT (I1-VM/01) |
|  | 3. Uric Acid | END POINT (I1-VM/01) |
|  | 4. Urea | KINETIC (I1-VM/01) |
|  | 5. Creatinine | FIX TIME (I1-VM/01) |
|  | 6. Triglycerides | END POINT (I1-VM/01) |
|  | 7. Aspartate Aminotransferase (AST/GOT) | KINETIC (I1-VM/01) |
|  | 8. Alanine Aminotransferase (ALT/GPT) | KINETIC (I1-VM/01) |
|  | 9. Alkaline phosphatase | END POINT (I1-VM/01) |
| Hematological Tests |
| Whole Blood (EDTA) | Determination of 8 parameters | Automated analyzer MEK 6510* |
|  | 1. Hemoglobim (HB) | Method electrical Impedance (I1-VM/01) |
|  | 2. Haematocrit (HCT) | Method Numeric integration (I1-VM/01) |
|  | 3. White Blood Cells (WBC) | Method electrical Impedance (I1-VM/01) |
|  | 4. Red Blood Cells (RBC) | Method electrical Impedance (I1-VM/01) |
|  | 5. Platelet (PTL) | Method electrical Impedance (I1-VM/01) |
|  | 6. Mean Cell Volume (MCV) | Dedicated Reagent Electrical impedance (I1-VM/01) |
|  | 7. Mean Cell Hemoglobin (MCH) | Dedicated Reagent Calculated (I1-VM/01) |
|  | 8. Mean corpuscular hemoglobin concentration (MCHC) | Dedicated Reagent Calculated (I1-VM/01) |

*The use of the analyser’s brand name refers to a specific analytical method and the corresponding experimental protocol

Site of assessment: Laboratory Permanent premises: Lagjja "Varosh", Blloku i Spitalit, Lezhe, ALBANIA.

Approved signatories: PRENDA BRUNGA.

The Accreditation Certificate No.1277, to EN ISO 15189:2012, is valid until 02.12.2025.

# Athens, December 03, 2021

# Konstantinos Kourtalis

Chairman of ESYD