Hellenic Accreditation System

Annex G1/1 to the Certificate No.1287 SCOPE of ACCREDITATION of the Clinical Laboratory of Ippokratis Private Medical Center Medical S.A.

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Hematological testing |
| Whole blood (EDTA) Whole blood (EDTA) (continued) | Determination of 8 parameters | Automatic Hematological Analyzer Sysmex XT-1800i* (S/N: 12403) |
|  | 1. White blood cells (WBC) | Fluorescent Flow cytometry (Semiconductor Laser) Sysmex_XT-2000i/XT-1800i_Instructions_for_Use_Chapter14_Rev. 2007-07 |
|  | 2. Red blood cells (RBC) | Flow cytometry with hydrodynamic focusing Sysmex_XT-2000i/XT-1800i_Instructions_for_Use_Chapter14_Rev. 2007-07 |
|  | 3. Haemoglobin (HGB) | Photometric (SLS method) Sysmex_XT-2000i/XT-1800i_Instructions_for_Use_Chapter14_Rev. 2007-07 |
|  | 4. Haematocrit (HCT%) | Flow cytometry with hydrodynamic focusing (DC detection / calculated via the RBC pulse height detection method) Sysmex_XT-2000i/XT-1800i_Instructions_for_Use_Chapter14_Rev. 2007-07 |
|  | 5. Mean cell volume (ΜCV) | Automatic calculation (HCT/RBC)x10 Sysmex_XT-2000i/XT-1800i_Instructions_for_Use_Chapter14_Rev. 2007-07 |
|  | 6. Mean corpuscular haemoglobin (MCH) | Automatic calculation (HGB/RBC)x10 Sysmex_XT-2000i/XT-1800i_Instructions_for_Use_Chapter14_Rev. 2007-07 |
|  | 7. Mean corpuscular haemoglobin volume (MCHC) | Automatic calculation (HGB/HCT)x100 Sysmex_XT-2000i/XT-1800i_Instructions_for_Use_Chapter14_Rev. 2007-07 |
|  | 8. Platelets (PLTs) | Flow cytometry with hydrodynamic focusing Sysmex_XT-2000i/XT-1800i_Instructions_for_Use_Chapter14_Rev. 2007-07 |
| Biochemical testing |
| Blood serum Blood serum (continued) | Determination of 9 parameters | Automated biochemical analyzer Alinity c, Abbott * (S/N: Ac02133) |
|  | 1. Alkaline phosphatase (ALP) | Hydrolysis of Para-Nitrophenylphosphate ALP_08P20_EN_Rev. 2017-12 |
|  | 2. Alanine Aminotransferase (ALT) | Enzymatic: NADH (without P-5'-P) ALT_07P98_EN_ 2018-02 |
|  | 3. Aspartate Aminotransferase (AST) | Enzymatic: NADH (without P-5'-P) AST_08P17_EN_Rev. 2018-02 |
|  | 4. Creatinine | Kinetic process with alkaline Picrate Crea_07P99 _EN_Rev. 2018-05 |
|  | 5. Iron (Iron) | Ferene Iron_08P39_EN_Rev. 2018-02 |
|  | 6. Glucose (Glu) | Enzymatic (Hexokinase/G-6-PDH) Glu_07P55_EN_Rev. 2018-02 |
|  | 7. Gamma-glutamyl trasferase (γ-GT) | L-Gammaglutamyl-3-carboxy-4-nitroanilid-Substrate GGT _07P73_EN_Rev. 2017-12 |
|  | 8. Uric acid (UA) | Enzymatic reaction of uricase UA_08P56_EN_Rev. 2017-12 |
|  | 9. Urea (Urea) | Enzymatic reaction of urease UreaN_08P16_EN_Rev. 2018-02 |
| Immunochemical Tests |
|  | Determination of 3 parameters | Automated immunoassay analyzer Alinity i, Abbott * (S/N: Ai03346)* |
| Blood serum | 1. Thyroid Stimulating Hormone (TSH) | Chemiluminescent microparticle immunoassay (CMIA) TSH_07P48_EN_2018-02 |
|  | 2. Total Prostate Specific Antigen (Total PSA) | Chemiluminescent microparticle immunoassay (CMIA) PSA_07P92_EN_Rev. 2019-05 |
|  | 3. Ferritin (Fer) | Chemiluminescent microparticle immunoassay (CMIA) Fer_07P65_EN_Rev. 2020-10 |

*Reference to the commercial name of a specific analyzer/kit, refers to a specific analytical method and protocol

Site of assessment: Laboratory permanent premises, Ippokratis Private Medical Center Medical S.A., 77 Grigoriou Lampraki str, 18454, Νikaia, Greece.

Approved signatories: G. Nanou, V. Dimakakos.

- The Accreditation Certificate No.1287, to ELOT EN ISO 15189:2012, is valid until 01.03.2026.

Athens, March 02, 2022

Christos Nestoras

CEO of ESYD