Hellenic Accreditation System

Annex F1/7 to the Certificate No.1139-4 SCOPE of ACCREDITATION of the Sewage Quality Control Laboratory of the Executive Division of Sewerage Networks of the Thessaloniki Water Supply & Sewerage Company S.A. (EYATH SA)

| Tested materials/products | Types of tests/ Properties to be measured | Applied Standards/Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| Industrial Liquid Wastes & Wastewaters | 1.Determination of pH | In house method based on ΕLΟΤ 658/1983 Laboratory method code: ΜΑ-01 |
|  | 2.Determination of Total Suspended Solids (TSS) | In house method based on 2540 D APHA (24rd Ed., 2023) Laboratory method code: ΜΑ-02 |
|  | 3.Determination of Chemical Oxygen Demand (COD) | Merck 1.14540.0001 and 1.14541.000 Laboratory method code: ΜΑ-03 |
|  | 4.Determination of ΝΗ4-N (Ammonium Nitrogen) | Merck 1.14558.0001 and 1.14559.0001 Laboratory method code: ΜΑ-04 |
|  | 5.Determination of ΝΟ3-N (Nitrate Nitrogen) | Merck 1.14563.0001 Laboratory method code: ΜΑ-05 |
|  | 6.Determination of Total Nitrogen (ΤΝ) | Merck 1.00613.0001 and 1.14763.0001 Laboratory method code: ΜΑ-06 |
|  | 7.Determination of Total Phosphorous (TP) | Merck 1.14729.0001 Laboratory method code: ΜΑ-07 |
|  | 8.Determination of True Color (TC) | In house method based on 2120 C APHA (24rd Ed., 2023) Laboratory method code: ΜΑ-09 |
| Non-disinfected Industrial Liquid Wastes & Wastewaters | Determination of Biological Oxygen Demand (ΒOD5) | In house method based on 5210 B APHA (24rd Ed., 2023) Laboratory method code: ΜΑ-08 |

Site of assessment:  Sewerage Quality Control Laboratory, 98 Tsimiski Street, Thessaloniki GR-54623.

Approved signatories: F. Papastergiou, Ch. Pantelidou, A. Sakellariou.

This scope of Accreditation replaces the previous one dated 10.03.2023.

The Accreditation Certificate No.1139-4, according to ΕLΟΤ ISO/IEC 17025: 2017, is valid until 12.09.2027.

Athens, 21.07.2023

Christos Nestoras

CEO of ESYD