Hellenic Accreditation System

Annex G1/22 to the Certificate No. 410-5 SCOPE of ACCREDITATION of the Clinical Laboratory of the BIOHELLENIKA S.A.

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Haematology Tests |
| 1. Peripheral blood, umbilical cord blood and nucleated cells from umbilical cord blood | 1. Determination of the number of white blood cells and of the red blood cell count | Automated haematological analyzer CELLTAK MEΚ 6400K NIHON KOHDEN* BM-01 Ver. 15th, 27/07/2022 |
| 2. Umbilical cord blood and nucleated cells from umbilical cord blood | 1. Enumeration of viable CD45+dim/CD34+ haematopoietic progenitor cells | Flow cytometry according to ISHAGE guidelines and with STEM KIT (BECKMAN-COULTER) in Cytomics FC500, (Beckman-Coulter) ΒΜ-71 Ver. 5th 25/06/2021 and Facs Calibur (Becton Dickinson)* ΒΜ-59 Ver. 8th 27/07/2022 |
| 3. Umbilical cord blood before processing | 1. Identification of blood groups, anti-A, anti-B and anti-D antibodies | Visual inspection-flocculation test ΒΜ-57 Ver. 3rd 22/09/2016 |
| Microbiological Tests |
| 1. Umbilical cord blood | 1. Test for bacterial infection (aerobic / anaerobic /yeasts) | Fluorescent medium, closed method (BACTEC/ BECTON DICKINSON)* ΒΜ-02 Ver. 8th 10/01/2020 |
| 2. Umbilical cord blood plasma (CPD) and peripheral blood plasma (EDTA) Umbilical cord blood plasma (CPD) and peripheral blood plasma (EDTA) (continued) | 1. Detection of non-specific antibodies against Treponema pallidum – with the use of rapid plasma reagin | Visual inspection-flocculation test /RPR Carbon Test* ΒΜ-58 Ver. 3rd 21/12/2011 |
|  | 2. Detection of 1) surface antigen of Hepatitis B (HBsAg), 2) IgG / IgΜ antibodies against core antigen of Hepatitis Β (anti-HBc), 3) antibodies against HIV1 and ΗΙV2 (anti-HIV1/2) 4) antibodies against Hepatitis C (anti-HCV), 5) IgG and IgM antibodies against cytomegalovirus (CMV) 6) antibodies against HTLV I/II and 7) total antibodies against Treponema pallidum – Syphilis. | Electrochemiluminescence Cobas e411 BM-116 1st 23/03/2021 I-RES-03-19 Ver. 1st 10/04/2019 |
| Molecular Microbiology |
| 1.Umbilical cord blood plasma (CPD) and peripheral blood plasma (EDTA) | 1a. Qualitative detection of Hepatitis B virus DNA (HBV), genotypes A-D 1b. Qualitative detection of Hepatitis B virus DNA (HBV), genotypes A-D, with pooling of 10 samples. | HBV (RUO) Real-TM Qual kit (SACACE Biotechnologies) in Rotor-Gene 6000 (Corbett)* ΒΜ-51 7th 06/09/2019 and ΒΜ-54 8th 06/09/2019 |
|  | 2a. Qualitative detection of Hepatitis C virus RNA (HCV), genotypes 1-6 2b. Qualitative detection of Hepatitis C virus RNA (HCV), genotypes 1-6, with pooling of 10 samples. | HCV (RUO) Real-TM Qual kit (SACACE Biotechnologies) in Rotor-Gene 6000 (Corbett)* ΒΜ-52 7th 06/09/2019 and ΒΜ-55 8th 06/09/2019 |
|  | 3a. Qualitative detection of human cytomegalovirus DNA (CMV – HHV5) 3b. Qualitative detection of human cytomegalovirus DNA (CMV – HHV5), with pooling of 10 samples. | CMV (CE-IVD) Real-TM Qual kit (SACACE Biotechnologies) in Rotor-Gene 6000 (Corbett)* )* ΒΜ-96 2th 06/09/2019 and ΒΜ-97 2th 06/09/2019 |
|  | 4a. Qualitative detection of human immunodeficiency virus RNA (HJV), M group. 4b. Qualitative detection of human immunodeficiency virus RNA (HJV), M group, with pooling of 10 samples. | HIV (CE-IVD) Real-TM Quant Dx kit (SACACE Biotechnologies) in Rotor-Gene 6000 (Corbett)* ΒΜ-53 8th 04/12/2020 και ΒΜ-56 10th 04/12/2020 |
| 2. Oropharyngeal swab and nasopharyngeal swab | 1. Qualitative detection of SARS-CoV-2 RNA, genes Ε, Ν and RdRp ** | LightCycler Multiplex RNA Virus Master (ROCHE), LightMix Modular Sarbecovirus SARS-CoV-2 (CE-IVD), LightMix Modular SARS-CoV-2 (COVID19) RdRp (RUO) from TIB MOLBIOL in Rotor-Gene 6000 (Corbett)* SOP-PR-22 6th 08/06/2021 |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

Site of assessment:  Permanent laboratory premises, 65th Georgikis Sxolis Avenue, Thessaloniki, Greece.

**Branch – sampling site: 63 Imittou str. & 47 Formionos str., Athens, Greece.

Approved signatories: G. Koliakos. K. Kouzi-Koliakou.

This scope of Accreditation replaces the previous one dated  20.03.2023.

The Accreditation Certificate No.410-5, to ELOT EN ISO 15189:2012, is extended until 07.08.2024.

Athens, 1st February 2023

Christos Nestoras

CEO of ESYD