Hellenic Accreditation System

Annex G1/Γ20 to the Certificate No. 662-8

SCOPE of ACCREDITATION

of the

Clinical Laboratory

of the

PRIVATE COOPERATIVE DIAGNOSTIC LABORATORIES MEDISYN MEDICAL S.A.

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Immunochemical Tests |
| Blood Serum | Determination of 13 parameters | Automated immunology analyzers Centaur SIEMENS * Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Prostate Specific Antigen (PSA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 02676506 |
|  | 2. Ferritin | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 00495776 |
|  | 3. Thyroid-stimulating hormone (TSH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 06491080 |
|  | 4.Total Thyroxine (TT4) | Chemiluminescence (CLIA) (competitive) Ref. 09236439 |
|  | 5. Total Triidothyronine (TT3) | Chemiluminescence (CLIA) (competitive) Ref. 04779663 |
|  | 6. Free Thyroxine (FT4) | Chemiluminescence (CLIA) (competitive) Ref. 06490106 |
|  | 7. Free Triidothyronine (FT3) | Chemiluminescence (CLIA) (competitive) Ref. 03154228 |
|  | 8. 25-ΟΗ Vitamin D | Chemiluminescence (CLIA) (competitive) Ref. 10699533 |
|  | 9.Anti-thyroglobulin antibodies (anti-TG) | Chemiluminescence (CLIA) (Competitive) Ref. 10492399 |
|  | 10. Anti-thyroid peroxidase antibodies (anti-TPO) | Chemiluminescence (CLIA) (Competitive) Ref. 10630887 |
|  | 11. Troponine Ι high sensitivity (hs-TnI) | Chemiluminescence (CLIA) (non-competitive) REF 10994774 |
| Blood serum or blood plasma (EDTA) | 12. Intact Parathyroid Hormone (iPTH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10699155 |
| Blood plasma (EDTA) | 13. Total Homocystein (HCY) | Chemiluminescence (CLIA) (non-competitive) Ref. 05370300 |
| Blood serum Blood serum Blood serum | Determination of 3 parameters | Automated immunology analyzer ROCHE e402 * Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Free β-HCG | Electrochemiluminescence (ECLIA) (non-competitive sandwich) Ref.07027303190 |
|  | 2. PAPP-A | Electrochemiluminescence (ECLIA) (non-competitive sandwich) Ref.07027621190 |
|  | 3. AMH | Electrochemiluminescence (ECLIA) (non-competitive sandwich) Ref. 8818916190 |
|  | Determination of 38 parameters | Automated immunology Analyzers Siemens Atellica* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Carcinoembryonic Antigen (CEA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995524 |
|  | 2. Cancer Antigen 19-9 (CA 19-9) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995489 |
|  | 3. Cancer Antigen 15-3 (CA 15-3) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995486 |
|  | 4. Cancer Antigen 125 (CA 125) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995482 |
|  | 5. α-Fetoprotein (AFP) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995442 |
|  | 6. Prostate Specific Antigen (PSA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995663 |
|  | 7. Free Prostate Specific Antigen (FPSA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995577 |
|  | 8. Ratio: FPSA/ PSA | Calculated |
|  | 9. Ferritin | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995568 |
|  | 10.Vitamin B12 | Chemiluminescence (CLIA) (Competitive) Ref. 10995715 |
|  | 11. Folate | Chemiluminescence (CLIA) (Competitive) Ref. 10995573 |
|  | 12. Thyroid-stimulating hormone (TSH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995703 |
|  | 13.Total Thyroxine (TT4) | Chemiluminescence (CLIA) (Competitive) Ref. 10995685 |
|  | 14. Total Triidothyronine (TT3) | Chemiluminescence (CLIA) (Competitive) Ref. 10995678 |
|  | 15. Free Thyroxine (FT4) | Chemiluminescence (CLIA) (Competitive) Ref. 10995588 |
|  | 16. Free Triidothyronine (FT3) | Chemiluminescence (CLIA) (Competitive) Ref. 10995584 |
|  | 17. 25-ΟΗ Vitamin D | Chemiluminescence (CLIA) (Competitive) Ref. 10995720 |
|  | 18.Anti-thyroglobulin antibodies (anti-TG) | Chemiluminescence (CLIA) (Competitive) Ref. 10995462 |
|  | 19. Anti-thyroid peroxidase antibodies (anti-TPO) | Chemiluminescence (CLIA) (Competitive) Ref. 10995467 |
|  | 20. Cortisol | Chemiluminescence (CLIA) (Competitive) Ref. 10995538 |
|  | 21. C-Peptide | Chemiluminescence (CLIA) (Competitive) Ref 10995541 |
|  | 22. Insulin | Chemiluminescence (CLIA) (non-competitive) Ref. 10995628 |
|  | 23. Index of insulin resistance /HoMA-IR | Calculated from Insulin / Glucose (GLU) |
|  | 24. β-Human Chorionic Gonadotropine (β-HCG) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref.10995689 |
|  | 25. Progesterone (PRG) | Chemiluminescence (CLIA) (Competitive)Ref. 10995659 |
|  | 26. Estradiol (E2) | Chemiluminescence (CLIA) (competitive) Ref. 10995562 |
|  | 27. Testosterone Total (TT) | Chemiluminescence (CLIA) (competitive) Ref. 10995707 |
|  | 28. Free Testo (FTc) | Calculated from: TT, SHBG, ALB |
|  | 29. FAI, Free androgen index | Calculated from: TT, SHBG |
|  | 30. Dihydroepiandrosterone Sulfate (DHEA-S) | Chemiluminescence (CLIA) (competitive) Ref. 10995555 |
|  | 31. Sex hormone-binding globulin (SHBG) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995672 |
|  | 32. Follicle Stimulating Hormone (FSH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995581 |
|  | 33. Luteinizing Hormone (LH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995634 |
|  | 34. Prolactin (PRL) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995655 |
|  | 35. Δ4 Androstenedione | Chemiluminescence (CLIA) (competitive) Ref. 11200558 |
|  | 36. Troponine Ι high sensitivity (hs-TnI) | Chemiluminescence (CLIA) (competitive) REF 10997840 |
|  | 37. Immunoglobulin Ε (IgE) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995614 |
| Serum or blood plasma (EDTA) | 38. Parathyroid hormone (intact) (iPTH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10995622 |
| Blood serum | Determination of 2 parameter | Automated immunology Analyzer Maglumi Snibe* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. 17-ΟΗ Progesterone | Chemiluminescence (CLIA) (competitive) Ref.130298004M |
|  | 2. Free Testosterone (FTc) | Chemiluminescence (CLIA) (competitive) Ref 130202011 |
| Blood serum | Determination of 4 parameters | Automated immunochemical analyzer IMMULITE 2000 SIEMENS* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Gastrin | Chemiluminescence (CLIA) (non-competitive) Ref.L2KGA2 |
|  | 2. Unconjugated estriol (uE3) | Chemiluminescence (CLIA) (competitive) Ref.L2KUE32 |
|  | 3. Calcitonin (CT) | Chemiluminescence (CLIA) (non-competitive) Ref. L2KCL-2 |
| Blood plasma (EDTA) | 4. Adrenocorticotropic hormone (ACTH) | Chemiluminescence (CLIA) (non-competitive) Ref.L2KAC2 |
| Blood serum | Determination of 5 parameters | Automated immunology Analyzers Liaison DiaSorin express* Δ.550, Ε.550-1, Ε550-2 |
|  | 1.Aldosterone | Chemiluminescence (CLIA) (competitive) Ref.310450 |
|  | 2. Growth Hormone (HGH) | Chemiluminescence (CLIA) (non-competitive) 200/007-907, 04 - 2016-04 |
|  | 3. 1,25-Dihydroxyvitamin D (Calcitriol) | Chemiluminescence (CLIA) (competitive) Ref.310980 |
|  | 4. Insulin-like growth factor 1 (somatomedin C ,IGF I) | Chemiluminescence (CLIA) (competitive) REF 313231 |
| Blood plasma (EDTA) | 5. Renin | Chemiluminescence (CLIA) (non-competitive) Ref.310470 |
| Blood serum Blood serum (continued) Blood serum (continued) Blood serum (continued) Blood serum (continued) Blood serum (continued) Blood serum (continued) Blood serum (continued) Blood serum (continued) Blood serum (continued) Blood serum (continued) Blood serum (continued) | Determination of 13 specific proteins | Automated biochemistry analyzers Siemens ADVIA CHEMISTRY XPT* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Complement C3 | Immunoturbidimetry (ITA) Ref.3060444 |
|  | 2. Complement C4 | Immunoturbidimetry (ITA) Ref.3060770 |
|  | 3. Antistreptolysine Ο (ASTO) | Immunoturbidimetry (ITA) Ref.3055483 |
|  | 4.Reumatoid Factor (RF) - quantitative | Immunoturbidimetry (ITA) Ref.655137 |
|  | 5.C Reactive Protein (CRP) - quantitative | Immunoturbidimetry (ITA) Ref.829585 |
|  | 6. Immunoglobulin A (IgA) | Immunoturbidimetry (ITA) Ref.2194102 |
|  | 7. Immunoglobulin G (IgG) | Immunoturbidimetry (ITA) Ref.2193432 |
|  | 8. Immunoglobulin M (IgM) | Immunoturbidimetry (ITA) Ref.2193483 |
|  | 9. LpA | Immunoturbidimetry (ITA) Ref.4862528 |
|  | 10. ApoA1 | Immunoturbidimetry (ITA) Ref.3050910 |
|  | 11.ApoB | Immunoturbidimetry (ITA) Ref.3055068 |
|  | 12.ApoA1/ApoB | Calculated From: ApoA1, ApoB |
|  | 13. β2-Microglobulin | Immunoturbidimetry (ITA) Ref. 4862161 |
|  | Determination of 1 specific protein | Automated immunology analyzers Centaur SIEMENS* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Immunoglobulin Ε (IgE) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 03359776 |
|  | Drug Level Determination of 5 drugs | Automated immunochemical analyzer Abbott ARCHITECTi2000sr * Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Carbamazepine | Chemiluminescent microparticle immunoassay (CMIA) (competitive) Ref.B1P36G |
|  | 2.Valproic Acid (VPA) | Chemiluminescent microparticle immunoassay (CMIA) (competitive) Ref.B1P35G |
|  | 3.Digoxin | Chemiluminescent microparticle immunoassay (CMIA) (competitive) Ref.B1P32G |
|  | 4.Phenobarbital | Chemiluminescent microparticle immunoassay (CMIA) (competitive) Ref.B1P33G |
|  | 5.Phenytoin | Chemiluminescent microparticle immunoassay (CMIA) (competitive) Ref.B1P34G |
|  | Determination of 202 Specific IgE immunoglobulins for allergens | 3gAllergy Specific IgE Universal Kit*, Automated immunology analyzer Immulite 2000 SIEMENS* Δ.550, Ε.550-1, Ε550-2 |
|  | Quantitative measurement of Allergen-Specific IgE | Specific IgE, Chemiluminescence (CLIA) Ref.L2KUN6 |
|  | 1. C1 Penicillin G | Specific IgE, Chemiluminescence (CLIA) Ref.C1L2 |
|  | 2. C2 Penicillin V | Specific IgE, Chemiluminescence (CLIA) Ref.C2L2 |
|  | 3. C70 Insulin, Porcine | Specific IgE, Chemiluminescence (CLIA) Ref.C70L2 |
|  | 4. C71 Insulin, Bovine | Specific IgE, Chemiluminescence (CLIA) Ref.C71L2 |
|  | 5. C73 Insulin, Human | Specific IgE, Chemiluminescence (CLIA) Ref.C73L2 |
|  | 6. C203 Ampicillin | Specific IgE, Chemiluminescence (CLIA) Ref.C203L2 |
|  | 7. C204 Amoxicillin | Specific IgE, Chemiluminescence (CLIA) Ref.C204L2 |
|  | 8. D1 House dust mite (Dermatophagoides pteronyssinus) | Specific IgE, Chemiluminescence (CLIA) Ref.D1L4 |
|  | 9. D2 House dust mite (Dermatophagoides farinae) | Specific IgE, Chemiluminescence (CLIA) Ref.D2L4 |
|  | 10. D3 House dust mite (Dermatophagoides microceras) | Specific IgE, Chemiluminescence (CLIA) Ref.D3L2 |
|  | 11. D70 Storage mite (Acarus siro) | Specific IgE, Chemiluminescence (CLIA) Ref.D70L2 |
|  | 12. D71 Storage mite (Lepidogluphus destructor) | Specific IgE, Chemiluminescence (CLIA) Ref.D71L2 |
|  | 13. D72 Storage mite (Tyrophagus putrescentiae) | Specific IgE, Chemiluminescence (CLIA) Ref.D72L2 |
|  | 14. D73 Storage mite (Glycyphagus domesticus) | Specific IgE, Chemiluminescence (CLIA) Ref.D73L2 |
|  | 15. D74 House dust mite (Euroglyphus maynei) | Specific IgE, Chemiluminescence (CLIA) Ref.D74L2 |
|  | 16. E1 Cat dander-epithelium | Specific IgE, Chemiluminescence (CLIA) Ref.E1L4 |
|  | 17. E2 Dog epithelium | Specific IgE, Chemiluminescence (CLIA) Ref.E2L4 |
|  | 18. E3 Horse dander | Specific IgE, Chemiluminescence (CLIA) Ref.E3L4 |
|  | 19. E4 Cow dander | Specific IgE, Chemiluminescence (CLIA) Ref.E4L2 |
|  | 20. E5 Dog dander | Specific IgE, Chemiluminescence (CLIA) Ref.E5L4 |
|  | 21. E7 Pigeon droppings | Specific IgE, Chemiluminescence (CLIA) Ref.E7L2 |
|  | 22. E70 Goose feathers | Specific IgE, Chemiluminescence (CLIA) Ref.E70L2 |
|  | 23. E71 Mouse epithelium | Specific IgE, Chemiluminescence (CLIA) Ref.E71L2 |
|  | 24. E72 Mouse urine | Specific IgE, Chemiluminescence (CLIA) Ref.E72L2 |
|  | 25. E78 Burderigar feathers | Specific IgE, Chemiluminescence (CLIA) Ref.E78L2 |
|  | 26. E80 Goat epithelium | Specific IgE, Chemiluminescence (CLIA) Ref.E80L2 |
|  | 27. E81 Sheep epithelium | Specific IgE, Chemiluminescence (CLIA) Ref.E81L2 |
|  | 28. E82 Rabbit epithelium | Specific IgE, Chemiluminescence (CLIA) Ref.E82L4 |
|  | 29. E85 Chicken feathers | Specific IgE, Chemiluminescence (CLIA) Ref.E85L2 |
|  | 30. E86 Duck feathers | Specific IgE, Chemiluminescence (CLIA) Ref.E86L2 |
|  | 31. E201 Canary feathers | Specific IgE, Chemiluminescence (CLIA) Ref.E20L2 |
|  | 32. F1 Egg white | Specific IgE, Chemiluminescence (CLIA) Ref.F1L4 |
|  | 33. F2 Milk | Specific IgE, Chemiluminescence (CLIA) Ref.F2L4 |
|  | 34. F3 Codfish | Specific IgE, Chemiluminescence (CLIA) Ref.F3L4 |
|  | 35. F4 Wheat | Specific IgE, Chemiluminescence (CLIA) Ref.F4L4 |
|  | 36. F5 Rye | Specific IgE, Chemiluminescence (CLIA) Ref.F5L2 |
|  | 37. F6 Barley | Specific IgE, Chemiluminescence (CLIA) Ref.F6L2 |
|  | 38. F7 Oat | Specific IgE, Chemiluminescence (CLIA) Ref.F7L2 |
|  | 39. F8 Corn | Specific IgE, Chemiluminescence (CLIA) Ref.F8L4 |
|  | 40. F9 Rice | Specific IgE, Chemiluminescence (CLIA) Ref.F9L4 |
|  | 41. F10 Sesame seed | Specific IgE, Chemiluminescence (CLIA) Ref.F10L2 |
|  | 42. F12 Green pea | Specific IgE, Chemiluminescence (CLIA) Ref.F12L2 |
|  | 43. F13 Peanut | Specific IgE, Chemiluminescence (CLIA) Ref.F13L4 |
|  | 44. F14 Soybean | Specific IgE, Chemiluminescence (CLIA) Ref.F14L4 |
|  | 45. F15 White bean | Specific IgE, Chemiluminescence (CLIA) Ref.F15L2 |
|  | 46. F17 Hazelnut | Specific IgE, Chemiluminescence (CLIA) Ref.F17L4 |
|  | 47. F18 Brazil nut | Specific IgE, Chemiluminescence (CLIA) Ref.F18L2 |
|  | 48. F20 Almond | Specific IgE, Chemiluminescence (CLIA) Ref.F20L2 |
|  | 49. F23 Crab | Specific IgE, Chemiluminescence (CLIA) Ref.F23L2 |
|  | 50. F24 Shrimp | Specific IgE, Chemiluminescence (CLIA) Ref.F24L4 |
|  | 51. F25 Tomato | Specific IgE, Chemiluminescence (CLIA) Ref.F25L4 |
|  | 52. F26 Pork | Specific IgE, Chemiluminescence (CLIA) Ref.F26L2 |
|  | 53. F27 Beef | Specific IgE, Chemiluminescence (CLIA) Ref.F27L2 |
|  | 54. F31 Carrot | Specific IgE, Chemiluminescence (CLIA) Ref.F31L4 |
|  | 55. F33 Orange | Specific IgE, Chemiluminescence (CLIA) Ref.F33L4 |
|  | 56. F35 Potato | Specific IgE, Chemiluminescence (CLIA) Ref.F35L2 |
|  | 57. F36 Coconut | Specific IgE, Chemiluminescence (CLIA) Ref.F36L2 |
|  | 58. F37 Blue mussel | Specific IgE, Chemiluminescence (CLIA) Ref.F37L2 |
|  | 59. F40 Tuna | Specific IgE, Chemiluminescence (CLIA) Ref.F40L2 |
|  | 60. F41 Salmon | Specific IgE, Chemiluminescence (CLIA) Ref.F41L2 |
|  | 61. F44 Strawberry | Specific IgE, Chemiluminescence (CLIA) Ref.F44L2 |
|  | 62. F45 Baker's wheat | Specific IgE, Chemiluminescence (CLIA) Ref.F45L2 |
|  | 63. F47 Garlic | Specific IgE, Chemiluminescence (CLIA) Ref.F47L2 |
|  | 64. F48 Onion | Specific IgE, Chemiluminescence (CLIA) Ref.F48L2 |
|  | 65. F49 Apple | Specific IgE, Chemiluminescence (CLIA) Ref.F49L4 |
|  | 66. F50 Chub mackerel | Specific IgE, Chemiluminescence (CLIA) Ref.F50L2 |
|  | 67. F59 Octopus | Specific IgE, Chemiluminescence (CLIA) Ref.F59L2 |
|  | 68. F61 Sardine | Specific IgE, Chemiluminescence (CLIA) Ref.F61L2 |
|  | 69. F75 Egg yolk | Specific IgE, Chemiluminescence (CLIA) Ref.F75L4 |
|  | 70. F76 Alpha lactalbumin | Specific IgE, Chemiluminescence (CLIA) Ref.F76L4 |
|  | 71. F77 Beta Lactoglobulin | Specific IgE, Chemiluminescence (CLIA) Ref.F77L4 |
|  | 72. F78 Casein | Specific IgE, Chemiluminescence (CLIA) Ref.F78L4 |
|  | 73. F79 Gluten | Specific IgE, Chemiluminescence (CLIA) Ref.F79L4 |
|  | 74. F80 Lobster | Specific IgE, Chemiluminescence (CLIA) Ref.F80L2 |
|  | 75. F81 Cheddar cheese | Specific IgE, Chemiluminescence (CLIA) Ref.F81L2 |
|  | 76. F82 Cheese,mold | Specific IgE, Chemiluminescence (CLIA) Ref.F76L4 |
|  | 77. F83 Chicken meat | Specific IgE, Chemiluminescence (CLIA) Ref.F83L2 |
|  | 78. F84 Kiwi fruit | Specific IgE, Chemiluminescence (CLIA) Ref.F84L2 |
|  | 79. F85 Celery | Specific IgE, Chemiluminescence (CLIA) Ref.F85L2 |
|  | 80. F86 Parsley | Specific IgE, Chemiluminescence (CLIA) Ref.F86L2 |
|  | 81. F87 Melon | Specific IgE, Chemiluminescence (CLIA) Ref.F87L2 |
|  | 82. F88 Lamb | Specific IgE, Chemiluminescence (CLIA) Ref.F88L2 |
|  | 83. F89 Mustard | Specific IgE, Chemiluminescence (CLIA) Ref.F89L2 |
|  | 84. F90 Malt | Specific IgE, Chemiluminescence (CLIA) Ref.F90L2 |
|  | 85. F92 Banana | Specific IgE, Chemiluminescence (CLIA) Ref.F92L2 |
|  | 86. F93 Cocoa | Specific IgE, Chemiluminescence (CLIA) Ref.F93L2 |
|  | 87. F94 Pear | Specific IgE, Chemiluminescence (CLIA) Ref.F94L2 |
|  | 88. F95 Peach | Specific IgE, Chemiluminescence (CLIA) Ref.F95L2 |
|  | 89. F105 Chocolate | Specific IgE, Chemiluminescence (CLIA) Ref.F105L2 |
|  | 90. F202 Cashew | Specific IgE, Chemiluminescence (CLIA) Ref.F202L2 |
|  | 91. F204 Trout | Specific IgE, Chemiluminescence (CLIA) Ref.F204L2 |
|  | 92. F208 Lemon | Specific IgE, Chemiluminescence (CLIA) Ref.208L2 |
|  | 93. F210 Pineapple | Specific IgE, Chemiluminescence (CLIA) Ref.F210L2 |
|  | 94. F212 Mushroom | Specific IgE, Chemiluminescence (CLIA) Ref.F212L2 |
|  | 95. F214 Spinach | Specific IgE, Chemiluminescence (CLIA) Ref.F214L2 |
|  | 96. F215 Lettuce | Specific IgE, Chemiluminescence (CLIA) Ref.F215L2 |
|  | 97. F216 Cabbage | Specific IgE, Chemiluminescence (CLIA) Ref.F216L2 |
|  | 98. F221 Coffee | Specific IgE, Chemiluminescence (CLIA) Ref.F221L2 |
|  | 99. F222 Tea | Specific IgE, Chemiluminescence (CLIA) Ref.F222L2 |
|  | 100. F225 Pumpkin | Specific IgE, Chemiluminescence (CLIA) Ref.F225L2 |
|  | 101. F231 Boiled milk | Specific IgE, Chemiluminescence (CLIA) Ref.F231L2 |
|  | 102. F235 Lentil | Specific IgE, Chemiluminescence (CLIA) Ref.F235L2 |
|  | 103. F237 Apricot | Specific IgE, Chemiluminescence (CLIA) Ref.F237L2 |
|  | 104. F242 Cherry | Specific IgE, Chemiluminescence (CLIA) Ref.F242L2 |
|  | 105. F245 Egg | Specific IgE, Chemiluminescence (CLIA) Ref.F245L2 |
|  | 106. F247 Honey | Specific IgE, Chemiluminescence (CLIA) Ref.F247L2 |
|  | 107. F255 Plum | Specific IgE, Chemiluminescence (CLIA) Ref.F255L2 |
|  | 108. F256 Walnut | Specific IgE, Chemiluminescence (CLIA) Ref.F256L2 |
|  | 109. F258 Squid | Specific IgE, Chemiluminescence (CLIA) Ref.F258L2 |
|  | 110. F259 Grape | Specific IgE, Chemiluminescence (CLIA) Ref.F259L2 |
|  | 111. F260 Broccoli | Specific IgE, Chemiluminescence (CLIA) Ref.F260L2 |
|  | 112. F262 Eggplant | Specific IgE, Chemiluminescence (CLIA) Ref.F262L2 |
|  | 113. F284 Turkey meat | Specific IgE, Chemiluminescence (CLIA) Ref.F284L2 |
|  | 114. F291 Cauliflower | Specific IgE, Chemiluminescence (CLIA) Ref.F291L2 |
|  | 115. F299 Chestnut | Specific IgE, Chemiluminescence (CLIA) Ref.F299L2 |
|  | 116. F302 Mandarin (Tangerine) | Specific IgE, Chemiluminescence (CLIA) Ref.F302L2 |
|  | 117. F320 Cray fish | Specific IgE, Chemiluminescence (CLIA) Ref.F320L2 |
|  | 118. F358 Artichoke | Specific IgE, Chemiluminescence (CLIA) Ref.F358L2 |
|  | 119. G1 Sweet Vernal Grass | Specific IgE, Chemiluminescence (CLIA) Ref.G1L2 |
|  | 120. G2 Bermuda grass | Specific IgE, Chemiluminescence (CLIA) Ref.G2L4 |
|  | 121. G3 Orchard grass | Specific IgE, Chemiluminescence (CLIA) Ref.G3L4 |
|  | 122. G4 Meadow fescue | Specific IgE, Chemiluminescence (CLIA) Ref.G4L2 |
|  | 123. G5 Perennial rye grass | Specific IgE, Chemiluminescence (CLIA) Ref.G5L4 |
|  | 124. G6 Timothy grass | Specific IgE, Chemiluminescence (CLIA) Ref.G6L4 |
|  | 125. G7 Common reed grass | Specific IgE, Chemiluminescence (CLIA) Ref.G7L2 |
|  | 126. G8 June grass (Kentucky blue) | Specific IgE, Chemiluminescence (CLIA) Ref.G8L4 |
|  | 127. G9 Red top | Specific IgE, Chemiluminescence (CLIA) Ref.G9L2 |
|  | 128. G10 Johnson grass | Specific IgE, Chemiluminescence (CLIA) Ref.G10L2 |
|  | 129. G11 Brome grass | Specific IgE, Chemiluminescence (CLIA) Ref.G11L4 |
|  | 130. G12 Cultivated Rye grass | Specific IgE, Chemiluminescence (CLIA) Ref.G12L4 |
|  | 131. G13 Velvet grass | Specific IgE, Chemiluminescence (CLIA) Ref.G13L2 |
|  | 132. G14 Cultivated Oat grass | Specific IgE, Chemiluminescence (CLIA) Ref.G14L2 |
|  | 133. G15 Cultivated Wheat grass | Specific IgE, Chemiluminescence (CLIA) Ref.G14L2 |
|  | 134. G16 Meadow foxtail grass | Specific IgE, Chemiluminescence (CLIA) Ref.G16L2 |
|  | 135. G70 Wild rye grass | Specific IgE, Chemiluminescence (CLIA) Ref.G70L2 |
|  | 136. G202 Cultivated corn | Specific IgE, Chemiluminescence (CLIA) Ref.G202L2 |
|  | 137. H1 House dust-Greer | Specific IgE, Chemiluminescence (CLIA) Ref.H1L4 |
|  | 138. H2 House dust-Hollister Stier | Specific IgE, Chemiluminescence (CLIA) Ref.H2L4 |
|  | 139. I1 Honeybee venom | Specific IgE, Chemiluminescence (CLIA) Ref.I1L4 |
|  | 140. I2 White-faced hornet | Specific IgE, Chemiluminescence (CLIA) Ref.I2L2 |
|  | 141. I3 Yellow jacket venom | Specific IgE, Chemiluminescence (CLIA) Ref.I3L2 |
|  | 142. I4 Paper wasp venom | Specific IgE, Chemiluminescence (CLIA) Ref.I4L2 |
|  | 143. I5 Yellow hornet | Specific IgE, Chemiluminescence (CLIA) Ref.I5L2 |
|  | 144. I6 Cockroach | Specific IgE, Chemiluminescence (CLIA) Ref.I6L2 |
|  | 145. I71 Mosquito | Specific IgE, Chemiluminescence (CLIA) Ref.I71L2 |
|  | 146. I75 European hornet-Vespa crabro | Specific IgE, Chemiluminescence (CLIA) Ref.I75L2 |
|  | 147. I204 Horsefly | Specific IgE, Chemiluminescence (CLIA) Ref.I204L2 |
|  | 148. K20 Wool | Specific IgE, Chemiluminescence (CLIA) Ref.K20L2 |
|  | 149. K74 Silk | Specific IgE, Chemiluminescence (CLIA) Ref.K74L2 |
|  | 150. K82 Latex | Specific IgE, Chemiluminescence (CLIA) Ref.K82L4 |
|  | 151. Ο1 Cotton | Specific IgE, Chemiluminescence (CLIA) Ref.O1L2 |
|  | 152. O201 Tobacco | Specific IgE, Chemiluminescence (CLIA) Ref.O201L2 |
|  | 153. P1 Ascaris | Specific IgE, Chemiluminescence (CLIA) Ref.P1L2 |
|  | 154. M1 Penicillium notatum | Specific IgE, Chemiluminescence (CLIA) Ref.M1L4 |
|  | 155. M2 Cladosporium herbarum | Specific IgE, Chemiluminescence (CLIA) Ref.M2L4 |
|  | 156. M3 Aspergillus fumigatus | Specific IgE, Chemiluminescence (CLIA) Ref.M3L4 |
|  | 157. M4 Mucor racemosus | Specific IgE, Chemiluminescence (CLIA) Ref.M4L2 |
|  | 158. M5 Candida albicans | Specific IgE, Chemiluminescence (CLIA) Ref.M5L4 |
|  | 159. M6 Alternaria tenuis (Alternata) | Specific IgE, Chemiluminescence (CLIA) Ref.M6L4 |
|  | 160. M7 Botrytis cinerea | Specific IgE, Chemiluminescence (CLIA) Ref.M7L2 |
|  | 161. M8 Helminthosporium halodes | Specific IgE, Chemiluminescence (CLIA) Ref.M8L2 |
|  | 162. M9 Fusarium moniliforme | Specific IgE, Chemiluminescence (CLIA) Ref.M9L2 |
|  | 163. M11 Rhizopus nigricans | Specific IgE, Chemiluminescence (CLIA) Ref.M11L2 |
|  | 164. M15 Trichoderma viride | Specific IgE, Chemiluminescence (CLIA) Ref.M15L2 |
|  | 165. M16 Curvularia lunata | Specific IgE, Chemiluminescence (CLIA) Ref.M16L2 |
|  | 166. T1 Maple | Specific IgE, Chemiluminescence (CLIA) Ref.T1L2 |
|  | 167. T2 Alder | Specific IgE, Chemiluminescence (CLIA) Ref.T2L4 |
|  | 168. T3 Birch | Specific IgE, Chemiluminescence (CLIA) Ref.T3L4 |
|  | 169. T4 Hazelnut | Specific IgE, Chemiluminescence (CLIA) Ref.T4L4 |
|  | 170. T5 Beech | Specific IgE, Chemiluminescence (CLIA) Ref.T5L2 |
|  | 171. T6 Mountain Cedar | Specific IgE, Chemiluminescence (CLIA) Ref.T6L2 |
|  | 172. Τ7 Oak | Specific IgE, Chemiluminescence (CLIA) Ref.T7L4 |
|  | 173. T8 Elm | Specific IgE, Chemiluminescence (CLIA) Ref.T8L2 |
|  | 174. Τ9 Olive | Specific IgE, Chemiluminescence (CLIA) Ref.T9L4 |
|  | 175. T10 Walnut | Specific IgE, Chemiluminescence (CLIA) Ref.T10L2 |
|  | 176. T11 Sycamore | Specific IgE, Chemiluminescence (CLIA) Ref.T11L2 |
|  | 177. Τ12 Willow | Specific IgE, Chemiluminescence (CLIA) Ref.T12L2 |
|  | 178. T14 Cottonwood | Specific IgE, Chemiluminescence (CLIA) Ref.T14L2 |
|  | 179. T15 White ash | Specific IgE, Chemiluminescence (CLIA) Ref.T15L2 |
|  | 180. T16 White pine | Specific IgE, Chemiluminescence (CLIA) Ref.T16L2 |
|  | 181. T18 Eucalyptus | Specific IgE, Chemiluminescence (CLIA) Ref.T18L2 |
|  | 182. Τ19 Acacia longifolia | Specific IgE, Chemiluminescence (CLIA) Ref.T19L2 |
|  | 183. T23 Italian cypress | Specific IgE, Chemiluminescence (CLIA) Ref.T23L4 |
|  | 184. T70 White Mulberry | Specific IgE, Chemiluminescence (CLIA) Ref.T70L2 |
|  | 185. T201 Spruce | Specific IgE, Chemiluminescence (CLIA) Ref.T201L2 |
|  | 186. T210 Privet | Specific IgE, Chemiluminescence (CLIA) Ref.T219L2 |
|  | 187. W1 Short/Common Ragweed (Ambrosia elatior) | Specific IgE, Chemiluminescence (CLIA) Ref.W1L4 |
|  | 188. W2 Western Ragweed | Specific IgE, Chemiluminescence (CLIA) Ref.W2L2 |
|  | 189. W5 Wormwood | Specific IgE, Chemiluminescence (CLIA) Ref.W5L2 |
|  | 190. W6 Mugwort | Specific IgE, Chemiluminescence (CLIA) Ref.W6L4 |
|  | 191. W7 Ox-Eye daisy | Specific IgE, Chemiluminescence (CLIA) Ref.W7L2 |
|  | 192. W8 Dandelion | Specific IgE, Chemiluminescence (CLIA) Ref.W8L2 |
|  | 193. W9 English plantain | Specific IgE, Chemiluminescence (CLIA) Ref.W9L4 |
|  | 194. W10 Lamb's quarters | Specific IgE, Chemiluminescence (CLIA) Ref.W10L2 |
|  | 195. W11 Russian Thistle | Specific IgE, Chemiluminescence (CLIA) Ref.W11L2 |
|  | 196. W12 Goldenrod | Specific IgE, Chemiluminescence (CLIA) Ref.W12L2 |
|  | 197. W13 Cocklebur | Specific IgE, Chemiluminescence (CLIA) Ref.W13L2 |
|  | 198. W14 Rough pigweed | Specific IgE, Chemiluminescence (CLIA) Ref.W14L2 |
|  | 199. W18 Sheep sorrel | Specific IgE, Chemiluminescence (CLIA) Ref.W18L2 |
|  | 200. W19 Parietaria officinalis | Specific IgE, Chemiluminescence (CLIA) Ref.W19L4 |
|  | 201. W20 Nettle | Specific IgE, Chemiluminescence (CLIA) Ref.W20L2 |
|  | 202. W21 Parietaria judaica | Specific IgE, Χημειοφωταύγεια (CLIA) Ref.W21L4 |
|  | Determination of 20 Specific IgE immunoglobulins mixes for allergens | 3gAllergy Specific IgE Universal Kit*, Automated immunology analyzer Immulite 2000 SIEMENS* Δ.550, Ε.550-1, Ε550-2 |
|  | EP1 (EX1) Epidermals mix (Including allergens E1,E3, E4, E5) | Specific IgE, Chemiluminescence (CLIA) Ref.EP1L4 |
|  | EP2 (EX2) Domestic pets mix (Including allergens Ε1, Ε5, Ε6, Ε87, Ε88) | Specific IgE, Chemiluminescence (CLIA) Ref.EP2L4 |
|  | KP1 (ΕΧ5) Bed materials mix (Including allergens Ε3, Ε4, Ε70, Ε85) | Specific IgE, Chemiluminescence (CLIA) Ref.KP1L4 |
|  | EP71 (ΕΧ71) Farm fowl mix (Including allergens Ε70, Ε85, Ε86, Ε89) | Specific IgE, Chemiluminescence (CLIA) Ref.EP71L4 |
|  | FP1 (FX01) Nut mix (Including allergens F13, F17, F18, F20, F36) | Specific IgE, Chemiluminescence (CLIA) Ref.FP71L4 |
|  | FP2 (FX02) "Fish/Shell mix" (Including allergens F3, F24, F37, F40, F41) | Specific IgE, Chemiluminescence (CLIA) Ref.FP2L4 |
|  | FP3 (FX03) "Cereal mix" (Including allergens F4, F7, F8, F10, F11) | Specific IgE, Chemiluminescence (CLIA) Ref.FP3L4 |
|  | FP13 (FX13) "Vegetable mix" (Including allergens F12, F15, F31, F35) | Specific IgE, Chemiluminescence (CLIA) Ref.FP13L4 |
|  | FP73 (FX04) Meat mix (Including allergens F26, F27, F83, F88) | Specific IgE, Chemiluminescence (CLIA) Ref.FP73L4 |
|  | FP15 (FX15) Fruit mix 1 (Including allergens F33, F49, F92, F95) | Specific IgE, Chemiluminescence (CLIA) Ref.FP15L4 |
|  | FP50 (FX16) Fruit mix 2 (Including allergens F84, F91, F92, F210) | Specific IgE, Chemiluminescence (CLIA) Ref.FP50L4 |
|  | GP1 (GX1) Grass mix (Early blooming) (Including allergens G3, G4, G5, G6, G8) | Specific IgE, Chemiluminescence (CLIA) Ref.GP1L4 |
|  | GP04 (GX2) Grass mix (Late blooming) (Including allergens G2, G5, G6, G8, G10, G17) | Specific IgE, Chemiluminescence (CLIA) Ref.GP4L4 |
|  | HP1 (ΗΧ1) House mix 1 (Including allergens D1, D2, H1, I6) | Specific IgE, Chemiluminescence (CLIA) Ref.HP1L4 |
|  | MP1 (ΜΧ1) Mold mix (Including allergens M1, M2, M3, M5, M6) | Specific IgE, Chemiluminescence (CLIA) Ref.MP1L4 |
|  | TP5 (TX5) Tree mix (Εarly blooming) (Including allergens Τ2, Τ4, Τ8, Τ12, Τ14) | Specific IgE, Chemiluminescence (CLIA) Ref.TP5L4 |
|  | TP6 (ΤΧ6) Tree mix (Late blooming) (Including allergens Τ1, Τ3, Τ5, Τ7, Τ10) | Specific IgE, Chemiluminescence (CLIA) Ref.TP6L4 |
|  | WP3 (WX3) Weed mix 1 (Including allergens W6, W9, W10, W12, W20) | Specific IgE, Chemiluminescence (CLIA) Ref.WP3L4 |
|  | WP5 (WX5) Weed mix 2 (Including allergens W1, W6, W7, W8, W12) | Specific IgE, Chemiluminescence (CLIA) Ref.WP5L4 |
|  | WP6 (WX6) Weed mix 3 (Including allergens W9, W10, W11, W18) | Specific IgE, Chemiluminescence (CLIA) Ref.WP6L4 |
|  | Determination of 1 parameter | Automated immunochemical analyzer Abbott ARCHITECTi2000sr * Δ.550, Ε.550-1, Ε550-2 |
|  | Thyroglobulin Tg | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) 5P2025 |
|  | Detection of 16 antibodies | Automated immunochemical analyzer Abbott ARCHITECTi2000sr * Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Hepatitis C IgG antibodies (Anti-HCV) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C37G |
|  | 2. Human immunodeficiency virus type 1/O & 2 (HIV-1/O & 2) antibodies | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B4J2SG |
|  | 3. Hepatitis B virus surface antigen (HBsAg) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B2G22G |
|  | 4. Hepatitis B virus core total antibodies (HBcAb) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B8L44G |
|  | 5. Hepatitis B virus surface antibodies (HBsAb) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B7C1RG |
|  | 6. Hepatitis A virus IgG antibodies (Anti-HAV IgG) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C2QG |
|  | 7. Hepatitis A virus IgM antibodies (Anti-HAV IgM) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C3ZG |
|  | 8. Anti-cyclic Citrullinated Peptide (Anti-CCP) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B1P65G |
|  | 9. Cytomegalovirus IgG antibodies (CMV IgG) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C15G |
|  | 10. Cytomegalovirus IgM antibodies (CMV IgM) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C16G |
|  | 11. Epstein-Barr IgG antibodies (EBV anti-VCA IgG) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B3P65G |
|  | 12 Epstein-Barr IgM antibodies.(EBV anti-VCA IgM) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B3P66G |
|  | 13. Toxoplasma IgG antibodies (TOXO IgG) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C19G |
|  | 14. Toxoplasma IgM antibodies (TOXO IgM) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C20G |
|  | 15. Rubella virus IgG antibodies (Rubella IgG) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C1HG |
|  | 16. Rubella virus IgM antibodies (Rubella IgM) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C18G |
|  | Determination of 3 parameters | Automated immunology Analyzers Liaison DiaSorin express* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Herpes Ι & ΙΙ IgM antibodies (HSV Ι & ΙΙ IgM) | Chemiluminescence (CLIA) (non-competitive) Ref.310820 |
|  | 2. Herpes Ι IgG antibodies (HSV I IgG) | Chemiluminescence (CLIA) (non-competitive) Ref.30830 |
|  | 3. Herpes ΙΙ IgG antibodies (HSV ΙΙ IgG | Chemiluminescence (CLIA) (non-competitive) Ref.310810 |
| Biochemical Tests |
| Blood serum Blood serum (continued) Blood serum (continued) Blood serum (continued) | Determination of 38 parameters | Automated Biochemistry analyzers Siemens ADVIA CHEMISTRY XPT* Δ.550, Ε.550-1, Ε550-2 |
|  | 1.Total Cholesterol(TC) | Enzymatic - Colorimetric (CHOD-PAP) Ref.10376501 |
|  | 2. HDL Cholesterol (HDL-C) | Enzymatic - Colorimetric (PEG) Ref.6521559 |
|  | 3. Triglycerides (TGs) | Enzymatic - Colorimetric (GPO-PAP) Ref.10335892 |
|  | 4. VLDL Cholesterol (VLDL-C) | Calculated from TRIG (Enzymatic - Colorimetric) |
|  | 5. Atherogenic index ((TC)/ (HDL-C)) | Calculated from: TC, HDL-C |
|  | 6.Non-HDL-C | Calculated from: TC, HDL-C |
|  | 7. Total Lipids | Calculated from CHOL and TRIG (Enzymatic - Colorimetric) |
|  | 8. Phospholipids | Calculated from CHOL (Enzymatic - Colorimetric) |
|  | 9. Iron (Fe) | Colorimetric (Ferrozine) Ref.10377510 |
|  | 10. Transferrin Saturation (TfS) | Calculated from Fe and TIBC (Colorimetric) |
|  | 11. Total Iron Binding Capacity (TIBC) | Colorimetric (Chromazurol B) Ref.03940010 |
|  | 12. Albumin (ALB) | Colorimetric (BCP) Ref. 10711840 |
|  | 13. Total Proteins (TP) | Colorimetric (Biuret) Ref.1803350 |
|  | 14.Total globin (SF) | Calculated from: TP, ALB |
|  | 15. Albumin/Globin ratio | Calculated from: ALB, SF |
|  | 16. Calcium Total (Ca) | Colorimetric (OCPC) Ref. 7506552 |
|  | 17. Magnesium (Mg) | Colorimetric (Xylidyl blue) Ref. 02271328 |
|  | 18. Phosphate (P) | Colorimetric (Phosphomolybdate) Ref. 3056927 |
|  | 19. Glucose(GLU) | Enzymatic - Colorimetric (GOD-PAP) Ref. 10492319 |
|  | 20. Creatinine (CREA ) | Enzymatic - Colorimetric (Jaffe) Ref. 3039070 |
|  | 21.Urea | Enzymatic - Kinetic -Colorimetric (Urease) Ref. 3040257 |
|  | 22. Serum osmolality | Calculated from: GLU, Na, UREA |
|  | 23.Nitrogen serum | Calculated from: UREA |
|  | 24. Uric Acid (UA) | Enzymatic - Colorimetric (Uricase-Peroxidase) Ref. 03051305 |
|  | 25. Aspartate Aminotransferase (AST/SGOT) | Colorimetric (IFCC**) Ref. 3039631 |
|  | 26. Alanine Aminotransferase (ALT/SGPT) | Colorimetric (IFCC**) Ref. 3039631 |
|  | 27. Gamma-Glutamyl transferase (γGT) | Enzymatic - Colorimetric (γ-Glutamyl-3-carboxyl-4nitroanilide) Ref. 2011954 |
|  | 28. Lactate Dehydrogenase (LDH) | Enzymatic - Colorimetric (L-P) (IFCC***) Ref. 03029628 |
|  | 29. Alkaline Phosphatase (ALP) | Colorimetric (IFCC**) Ref. 10916067 |
|  | 30. Creatine Kinase (CK/CPK) | Enzymatic - Colorimetric (IFCC**) Ref. 10729780 |
|  | 31. Total Bilirubin (TBIL) | Colorimetric (DPD) Ref. 2188064 |
|  | 32. Direct Bilirubin (DBIL) | Colorimetric (DPD) Ref. 2188390 |
|  | 33. Indirect Bilirubin (IBIL) | Calculated from TBIL and DBIL (Colorimetric) |
|  | 34. Potassium (K) | Ion Selective Electrode (ISE) Ref. 6135445 |
|  | 35. Sodium (Na) | Ion Selective Electrode (ISE) Ref. 3092699 |
|  | 36. Chlore (Cl) | Ion Selective Electrode (ISE) Ref. 7097504 |
|  | 37.Lithium (Li) | Ion Selective Electrode (ISE) Ref. 141230 |
|  | 38. LDL cholesterol | Elimination/catalase REF 09796248 |
|  | Determination of 42 parameters | Automated Biochemistry analyzers Siemens Atellica * Δ.550, Ε.550-1, Ε550-2 |
|  | 1.Total Cholesterol(TC) | Enzymatic - Colorimetric (CHOD - PAP) Ref.11097609 |
|  | 2. HDL Cholesterol (HDL-C) | Enzymatic - Colorimetric (PEG) Ref.11097630 |
|  | 3. Triglycerides (TGs) | Enzymatic - Colorimetric (GPO - PAP) Ref.11097591 |
|  | 4. VLDL Cholesterol (VLDL-C) | Calculated from TRIG (Enzymatic - Colorimetric) |
|  | 5. Atherogenic index ((TC)/ (HDL-C)) | Calculated from Total Cholesterol (TC) / HDL Cholesterol (HDL-C) |
|  | 6.Non-HDL-C | Calculated from Total Cholesterol (TC) - HDL Cholesterol (HDL-C) |
|  | 7. Total Lipids | Calculated from CHOL and TRIG (Enzymatic - Colorimetric) |
|  | 8. Phospholipids | Calculated from CHOL (Enzymatic - Colorimetric) |
|  | 9. Iron (Fe) | Colorimetric assay (Ferrozine) Ref.11097601 |
|  | 10. Transferrin Saturation (TfS) | Calculated from Fe and TIBC (Colorimetric) |
|  | 11. Albumin (ALB) | Colorimetric assay (BCP) Ref. 11097530 |
|  | 12. Total Proteins (TP) | Colorimetric assay (Biuret) Ref.11097604 |
|  | 13.Total globin (SF) | Calculated from: ΤP - ALB |
|  | 14. Albumin/Globin ratio | Calculated from: ALB / SF |
|  | 15. Calcium Total (Ca) | Colorimetric assay (OCPC) Ref. 11097595 |
|  | 16. Magnesium (Mg) | Colorimetric assay (Xylidyl blue) Ref. 11097612 |
|  | 17. Phosphate (P) | Colorimetric assay (Phosphomolybdate) Ref. 11097611 |
|  | 18. Glucose(GLU) | Enzymatic - Colorimetric (GOD - PAP) Ref. 11097621 |
|  | 19. Creatinine (CREA ) | Colorimetric assay (Jaffe) Ref. 11097596 |
|  | 20.Urea | Enzymatic - Kinetic -Colorimetric (Urease) Ref. 11097593 |
|  | 21. Serum osmolality | Calculated from: GLU, Na, and UREA |
|  | 22.Nitrogen serum | Calculated from: UREA |
|  | 23. Uric Acid (UA) | Enzymatic - Colorimetric (Uricase -Peroxidase) Ref. 11097608 |
|  | 24. Aspartate Aminotransferase (AST/SGOT) | Colorimetric assay (IFCC**) Ref. 11097607 |
|  | 25. Alanine Aminotransferase (ALT/SGPT) | Colorimetric assay (IFCC**) Ref. 11097605 |
|  | 26. Gamma-Glutamyl transferase (γGT) | Enzymatic - Colorimetric γ-Glutamyl-3-carboxy-4nitroanillide Ref. 11097597 |
|  | 27. Alkaline Phosphatase (ALP) | Colorimetric assay (IFCC**) Ref. 11097600 |
|  | 28. Creatine Kinase (CK/CPK) | Enzymatic - Colorimetric (IFCC**) Ref.11097640 |
|  | 29. Total Bilirubin (TBIL) | Colorimetric assay DPD Ref. 11097531 |
|  | 30. Direct Bilirubin (DBIL) | Colorimetric assay DPD Ref. 11097532 |
|  | 31. Indirect Bilirubin (IBIL) | Calculated from TBIL and DBIL (Colorimetric) |
|  | 32. Amylase (AMY) | Enzymatic - Colorimetric IFCC** (G7-PNP) Ref. 11097603 |
|  | 33. Total Iron Binding Capacity (TIBC) | Colorimetric (Chromazurol B) Ref. 11097525 |
|  | 34. LDL cholesterol | Elimination/catalase REF 11097632 |
|  | 35. Lipase | Enzymatic –spectrometric Ref 11097606 |
|  | 36. ACE (angiotensin-converting enzyme | Enzymatic –spectrometric for activity measurement @37oC Ref. 11309910 |
|  | 37. Lactate Dehydrogenase (LDH) | Enzymatic - Colorimetric (L-P) Ref 11097594 |
|  | 38. Transferrin (Trf) | Polyethylene glycol (PEG) enhanced immunoturbidimetric assay Ref 11097613 |
|  | 39. Potassium (K) | Ion Selective Electrode (ISE) Ref. 11099315 |
|  | 40. Sodium (Na) | Ion Selective Electrode (ISE) Ref. 11099315 |
|  | 41. Chlore (Cl) | Ion Selective Electrode (ISE) Ref. 11099315 |
|  | 42. Zinc (Zn) | Chromogenic (5-Br-PAPS, DRC-ICP-MS) – photometric Ref. 10317329 |
|  | Determination of 1 specific protein | Automated Biochemistry analyzers Siemens Atellica * Δ.550, Ε.550-1, Ε550-2 |
|  | High Sensiticity C Reactive Protein (hsCRP) - quantitative | Immunoturbidimetry (ITA) Ref. 11097633 |
| Urine | Determination of 3parameters | Automated Biochemistry analyzers Siemens ADVIA CHEMISTRY XPT* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Calcium Total (Ca) | Colorimetric assay (OCPC) Ref. 7506552 |
|  | 2. Creatinine (CREA ) | Colorimetric assay (Jaffe) Ref. 3039070 |
|  | 4. Phosphate (P) | Phosphomolybdate/UV ref 03056927 |
| Urine | Determination of 4 parameters | Automated Biochemistry analyzers Siemens Atellica* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Calcium Total (Ca) | Colorimetric assay (OCPC) Ref. 11097595 |
|  | 2. Creatinine (CREA ) | Colorimetric assay (Jaffe) Ref. 11097596 |
|  | 3. Phosphate (P) | Phosphomolybdate/UV ref. 11097611 |
|  | 4. Urine Microalbumin | Polyethylene glycol (PEG) enhanced immunoturbidimetric ref 11097610 |
| Blood serum | Determination of 1 parameter | Automated Electrophoresis System SEBIA Capillarys* Δ.550, Ε.550-1, Ε550-2 |
|  | Protein Electrophoresis | Capillary Electrophoresis Ref.2003 |
| Hematological Tests |
| Blood plasma (EDTA) | Determination of 1 parameter | High performance liquid chromatography (HPLC) analyzers G8, TOSOH Biosciences* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Glycated Haemoglobin A1C (HbA1C) | Ion-exchange high performance liquid chromatography (HPLC) Refs:021849-1, 021850-1, 021851-1, 18431L-1, 021848 |
|  | Determination of 1 parameter | High performance liquid chromatography (HPLC) analyzers G11, TOSOH Biosciences* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Haemoglobines A2, F (HbA2/HbF) | Ion-exchange high performance liquid chromatography(HPLC) Ref. 23505, 23506, 23507, 18431L-1 |
|  | Determination of 10 parameters | Automated haematological analyzers ADVIA 2120i, SIEMENS* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Haemoglobin (HBG) | Photometric Refs: T01-3623-01 / 8008297 |
|  | 2. Red blood cells (RBC) | Flow cytometry Refs: T01-3623-01 / 8008297 |
|  | 3. Mean corpuscular volume (MCV) | Flow cytometry Refs: T01-3623-01 / 8008297 |
|  | 4. White blood cells (WBC) | Flow cytometry Refs: T01-3623-01 / 8008297 |
|  | 5. Platelets (PLTs) | Flow cytometry Refs: T01-3623-01 / 8008297 |
|  | 6. Haematocrit (HCT) | Calculated: % = RBC x MCV/10 |
|  | 7. Mean corpuscular haemoglobin (MCH) | Calculated: HBG / RBC |
|  | 8. Mean cell haemoglobin concentration (MCHC) | Calculated: (HBG / RBC) x MCV |
|  | 9. Red blood cell distribution width (RDW) | Flow cytometry Refs: T01-3623-01 / 8008297 |
|  | 10. Mean platelet volume (MPV) | Flow cytometry Refs: T01-3623-01 / 8008297 |
| Blood Coagulation Tests |
| Blood plasma (citrate) Blood plasma (citrate)(continued) | Determination of 9 parameters | Automated Coagulation Analyzer Sysmex CS5100 * Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Prothrombin time (PT sec) | Clot detection Ref. OUHP 49 |
|  | 2. Prothrombin time (PT %) | Clot detection Ref. OUHP 49 |
|  | 3. Prothrombin time (International Normalized Ratio, PTINR) | Clot detection Ref. OUHP 49 |
|  | 4. Activated partial prothrombin time (APPT) | Clot detection Ref. OQGS 35 |
|  | 5. Fibrinogen activity (FIB) | Clot detection Ref. B4233-27 |
|  | 6. D-Dimer | Immunoturbidimetric assay Ref. OPBP 07 |
|  | 7. Antithrombin III (AT III) | Colorimetric assay Ref. OWWR 15 |
|  | 8. Protein C reactivity | Colorimetric assay Ref. OUVV 15 |
|  | 9. Free Proteun S Antigen | Immunoturbidimetric assay Ref. OPGL |
| Immunology Tests |
| Blood serum | Determination of 2 parameter | AP16IF PLUS / Immunofluorescence microscopy |
|  | 1.Antinuclear antibodies (ANA) | Indirect Immunofluorescence (IFA) Ref. O.540-5 |
|  | 2.IgA-endomysial antibodies (ΕmΑ) | Indirect Immunofluorescence (IFA) Ref. O.540-8 |
|  | Determination of 9 parameters | Automated immunology analyzer Zenit Ra MENARINI* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Antibodies to Extractable Nuclear Antigens (anti-ENA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 41412 |
|  | 2. Anti- double stranded deoxyribonucleic acid antibodies (anti-dsDNA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 41413 |
|  | 3. Anti-cardiolipin IgG antibodies (aCL IgG) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 41424 |
|  | 4. Anti-cardiolipin IgM antibodies (aCL IgM) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 41425 |
|  | 5. Anti-beta-2-glycoprotein I IgG antibodies (aβ2GPI IgG) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 41426 |
|  | 6. Anti-beta-2-glycoprotein I IgM antibodies IgM (aβ2GPI IgM) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 41427 |
|  | 7. Anti-Deamidated Gliadin Peptide IgG antibodies (a-DGP IgG) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 41421 |
|  | 8. Anti-Deamidated Gliadin Peptide IgA antibodies (a-DGP IgA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 41420 |
|  | 9. Anti-tissue transglutaminase IgA antibodies (anti-tTG IgA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 41422 |
| Molecular diagnosis Tests |
| Whole Blood (EDTA) Whole Blood (EDTA)(continued) | Determination of 10 parameters | Lightcycler 480ii |
|  | 1.Detection of ΔF508 p.Phe508del) mutation of CFTR gene | Real-time PCR (qPCR) (LightSNiP CFTR Δ508F, TIB MOLBIOL)* O.590-4 |
|  | 2.Detection of Factor V G1691A (FV-Leiden) mutation | Real-time PCR (qPCR) (LightMix® in-vitro diagnostics kit Factor V (Leiden)*, TIB MOLBIOL) O.590-5 |
|  | 3.Detection of Factor II G20210A mutation | Real-time PCR (qPCR) (LightMix® in-vitro diagnostics kit Factor ΙΙ, TIB MOLBIOL)* O.590-6 |
|  | 4.Detection of ΜTHFR C677T mutation | Real-time PCR (qPCR) (LightMix® in-vitro diagnostics kit MTHFR C677T, TIB MOLBIOL)* O.590-7 |
|  | 5.Detection of ΜTHFR A1298C mutation | Real-time PCR (qPCR) (LightMix® in-vitro diagnostics kit MTHFR A1298C, TIB MOLBIOL)* O.590-7 |
|  | 6.Detection of PAI-1 4G/5G mutation | Real-time PCR (qPCR) (LightMix® in-vitro diagnostics kit PAI-1, TIB MOLBIOL)* O.590-8 |
|  | 7. Detection of HLA B27 allele | Real-time PCR (qPCR) (LightMix® in-vitro diagnostics HLA B-27, TIB MOLBIOL)* O.590-16 |
| Nasopharyngeal, nasal, pharyngeal and / or oral sample, bronchoalveolar lavage. | 8. Detection of RNA of SARS-CoV-2 virus / Qualitative | TaqPath™ COVID-19 Kit Thermo Fisher Scientific Inc. Extraction ZYBIO 3000 ZYBIO 6000 Amplification QuantStudio 5 Quantstudio 5DX |
|  | 9. Detection of RNA of SARS-CoV-2 virus / Qualitative | Logix Coronavirus Disease CO-DIAGNOSTICS, INC. Extraction ZYBIO 3000 ZYBIO 6000 Amplification Cobas 480 z |
|  | 10. Detection of RNA of SARS-CoV-2 virus / Qualitative | Roche LightMix Kit SARS-CoV-2 E+N UBC Extraction ZYBIO 3000 ZYBIO 6000 MGI 960 Amplification LightCycler 480II Roche 1και 2 |
|  | Determination of 3 parameters | Roche cobas® 4800 automated PCR system |
| Blood serum or blood plasma (EDTA) | 1. Detection & quantification of hepatitis B virus (HBV) | Real-time PCR (qPCR) (cobas HBV, ROCHE)* O.590-19 |
|  | 2. Detection & quantification of hepatitis C virus (HCV) | Real-time PCR (qPCR) (cobas HCV, ROCHE)* O.590-20 |
| Cervical samples collected in cobas®PCR Cell Collection Media (Roche Molecular Systems, Inc.), PreservCyt® (Hologic Corp.), SurePath® (BD Diagnostics-TriPath) | 3.Human papillomavirus (HPV) detection & differentiation of high risk strains 16 & 18 | Real-time PCR (qPCR) (cobas 4800 HPV Test, ROCHE)* O.590-21 |
|  | Determination of 2 parameters | Applied Biosystems 9700 GeneAmp and SimpliAmp PCR thermal cycler |
| Whole Blood (EDTA) Whole Blood (EDTA)(continued) | 1. Molecular typing of HLA-B histocompatibility antigens | PCR- reverse hybridization (INNOLIPA HLA-B update plus, Fujirebio)* O.590-34 |
|  | 2. Genetic control of 13 predisposing genetic factors for thrombophilia and Venous thromboembolism (VTE) | PCR- reverse hybridization (CVD StipAssay GRC, Vienna Lab)* O.590-36 |
|  | Determination of 3 parameters | Applied Biosystems 9700 |
|  | 1. Molecular typing of HLA-A histocompatibility antigens | PCR- reverse hybridization (INNOLIPA HLA-A update, Fujirebio)* O.590-32 |
|  | 2. Molecular detection of polymorphisms in the thiopurine-S-methyltransferase (TPMT) gene | PCR- reverse hybridization (PGX-TPMT StipAssay, Vienna Lab)* O.590-33 |
|  | 3. Diagnostic evaluation of hereditary hemochromatosis (HFE) | PCR- reverse hybridization (Haemochromatosis StipAssay B, Vienna Lab)* O.590-9 |
| Whole Blood (EDTA) | Determination of 2 parameters | DNBSeq – G400 (MGI) & ABI SeqStudio Genetic Analyzer |
|  | 1α. Detection of mutations of the BRCA1 and BRCA2 genes 1β. Confirmation and testing of familial mutation of the BRCA1 and BRCA2 genes | 1α. Next Generation Sequencing (Agilent kit)* O.590-47 (DNBSeq – G400) 1β. Sanger Sequencing (reagents from Applied Biosystems & Invitrogen ThermoFisher Scientific)* O.590-48 (ABI SeqStudio Genetic Analyzer) Analysis of results using the Varsome Clinical CE IVD platform and the JSI Medical Systems platform as a confirmatory platform in NGS (for parameter 1a) and the SnackVar software for Sanger Sequencing analysis (for parameter 1b). |
|  | 2α. Detection of mutations of the BRCA1 and BRCA2 genes 2β. Confirmation and testing of familial mutations of the BRCA1 and BRCA2 genes 2γ. Detection of large genomic rearrangements of the BRCA1 and BRCA2 genes | 2α. Next Generation Sequencing (Agilent kit)* O.590-47 (DNBSeq – G400) 2β. Sanger Sequencing (reagents from Applied Biosystems & Invitrogen ThermoFisher Scientific)* O.590-48 (ABI SeqStudio Genetic Analyzer) 2γ. Multiplex ligation-dependent probe amplification (MLPA) (reagents from MRC Holland)* O.590-46 (ABI SeqStudio Genetic Analyzer). Analysis of results using the Varsome Clinical CE IVD platform and the JSI Medical Systems platform as a confirmatory platform in NGS (for parameter 2a) and the SnackVar software for Sanger Sequencing analysis (for parameter 2b). The Coffalyzer.Net platform (MRC Holland) is used for MLPA analysis (for parameter 2c). |

* Mention of the trade name of the analyte refers to a specific analytical method and corresponding working protocol

** IFCC: International Federation of Clinical Chemistry

***Deutsche Gesellschaft für Klinische Chemie

Site of assessment: Permanent Laboratory premises, 38 Konstantinoupoleos av., GR-11854, Athens, Greece.

Approved signatories: S. Vytiniotis, Ch. Dinas N. Papamichalopoulos N. Ploumis, Ν. Poumpouridou, K. Tzika, J. Mantoglou, M. Androulaki, M. Fasomytakis.

This scope of Accreditation replaces the previous one dated 01.08.2022.

The Accreditation Certificate No. 662-8, to ELOT EN ISO 15189:2012, is valid until 21.03.2026.

Athens, June 22, 2023

# Christos Nestoras

CEO of ESYD