Hellenic Accreditation System

Annex F1/A36 to the Certificate No. 139-14 SCOPE of ACCREDITATION of the Testing Laboratory of “BIOLAB S.M.P. COMPANY” in Arta

| Tested materials / products | Types of Test / Properties to be measured | Applied standards / Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| 1. Drinking water, underground, surface | Detemination of Alkalinity | APHA *2320, 21st EDITION, 2005 Method Code: XN 33** |
|  | Detemination of Bicarbonates | APHA *2320, 21st EDITION, 2005 Method Code: XN 33** |
| Drinking water Surface water Biological water | Determination of Total Phenols | ΧΝ 52 In house method based MERCK Test Kit |
|  | Determination of formaldehyde | ΧΝ 54 In house method based MERCK Test Kit |
| Swimming pool water | Determination of cyanouric acid | ΧΝ 53 In house method based MERCK Test Kit |
| 2. Drinking water, underground, surface, wastewater 2. Drinking water, underground, surface, wastewater (continued) 2. Drinking water, underground, surface, wastewater (continued) 2. Drinking water, underground, surface, wastewater (continued) | Detemination of Nitrates (in water with low carbon matter) | ¦In house method based on APHA* 4500-NO3 : 20th edition , 1998 (Ultraviolet Spectroscopy) Method Code: XN08** |
|  | Detemination of Nitrites (in non processed waters) | In house method based on APHA* 4500-NO2: 20th edition , 1998 (chromatometric – diazotization) Method Code: XN 06** |
|  | Detemination of Ammonia | In house method based on APHA 417 Β: 17th edition, 1989 (Nessler method) Method Code: XN 07** |
|  | Detemination of Calcium ions | 3111B, 3500Ca, Α (APHA, Standard Methods 20th Ed. 2000) Method Code: XN 03** |
|  | Detemination of Magnesium ions | In house calculating method based on 3500-Μg B (APHA ,Standard Method 21th Ed. 2005) Method Code: XN 04 ** |
|  | Detemination of Hardness | 2340 C(APHA, Standard Methods 21th Ed. 2005) Method Code: XN 04** |
|  | Detemination of easily liberated cyanide free cyanide | In house photometrick method based on Merck Spectroquant 1.09701 Method Code: XN 32** |
|  | Detemination of surfactants ( MBAS) | In house method based on ΕPΑ425.1 with MERCK Surfactatnts (anionic) test kit Method Code: XN 34** |
|  | Detemination of Turbidity | In house method with LaMotte test kit Method Code: XN 31** |
|  | Detemination of Free Chlorine | In house DPD METHOD with portable photometer Method Code: XN 30** |
|  | Detemination of Color | In house with portable photometer Method Code: XN 36** |
|  | Detemination of Permanganate Index (volume of ΚΜnO4 by titration) | ISO ΕΛΟΤ 827/1986 Method Code: XN 37** |
|  | Detemination of B (Boron) | ISO ΕΛΟΤ 9390/1990 Method Code: XN 35* |
|  | Detemination of Sulfate ions –SO4 | APHA 4500Ε ,21st EDITION, 2005 Method Code: XN 28** |
|  | Detemination of Fe ( Iron) | In house photometrick method with Merck kit test Method Code: XN 39** |
|  | Determination of Pb ( Lead ), Cd ( Cadmium),Ni ( Nikel),As ( Arsenic), Co (Cobalt),Sb (Antimony),Cr ( Chromium),Ag ( Silver), V ( Vanadium), Mn (Manganese), Al (Aluminum), Ba (Barium), Se (Selenium) | In house method with AAS Method Code: XN 15** |
|  | Detemination of Na (Sodium) K (Potassium) Zn (Zinc) Cu (Copper) | In house method with FAAS Method Code: XN 14** |
|  | Detemination of Hg ( Mercury ) | In house method with HVG-AAS Method Code: XN 16** |
|  | Detemination of Silicate ions ( SiO ) | Merck Kit test based on APHA 4500Si E , DIN 28405 D21 MERCK 1.14794.0001 Method Code: XN 44** |
|  | Detemination of Dry Matter - TDS | In house based on APHA 2540C Method Code: XN 38** |
|  | Detemination of Acidity (pH) | APHA* 4500-H+: 20th edition , 1998 Method Code: XN 01 ** |
|  | Detemination of Electrical Conductivity | APHA* 2510: 20th edition , 1998 Method Code: XN 02 ** |
|  | Detemination of Phosphoric ions | 4500 P, E (APHA, Standard Methods 21th Ed. 2005) Method Code: XN 10** |
|  | Detemination of BOD5 | In house method with manometer, based on 5280D (APHA, Standard Methods 21th Ed.2005) Method Code: ΧΝ11 |
|  | Detemination of COD | ISO 15705 :2002 Method Code: XN 12 |
|  | Detemination of (SS) Suspended Solids | Method APHA: 2005, 2540D, 2-58 Method Code: ΧN 27 |
|  | Detemination of Chloride Ions –Cl- | In house method APHA 4500-Cl B Method Code: XN 09** |
|  | Detemination of Hexavalent Chromium Cr IV | In house method with UV/VIS Method Code: XN 13** |
|  | Detemination of Fluoride (F ) | In house method with UV/VIS ,test kit MERCK Method Code: XN 26** |
|  | Detemination of Sulfides and Hydrogen Sulfide | Merck Kit test βασισμένο σε EPA 376.2, APHA 4500 S2- D, ISO 10530, DIN 38405 D26 MERCK 1.14779.0001 Method Code: XN 39 ** |
|  | Detemination of Total, Organic and Inorganic Nitrogen | In house method, calculated with individual determination of APHA 4500-Νorg APHA -NO3 APHA 4500-NO2 Method Code: XN 40 |
|  | Detemination of Total Organic Carbon (TOC) | Merck Kit test MERCK 1.14878.0001 Method Code: XN 41 ** |
|  | Detemination of Oil and Grease | In house method based on Standard Methods of Examination and Wastewater, 22nd Edition, Oil and Grease 5520B Method Code: XN 50 |
|  | Determination of Ca, Mg and hardness (calculated) | In house method XN 45 based on: Standard methods of examination 3111 B Metals by FAAS |
|  | Determination of SAR (calculated) | In house method XN 50 |
|  | Determination of dissolved oxygen | In house method XN 48 with ALPHA 4500-O and DO meter |
| 3. Sludge | Detemination of Pb (Lead ), Cd ( Cadmium), Ni ( Nikel ) , As ( Arsenic ), Cr ( Chromium ), Mn ( Manganese ), Al (Aluminum) | In house method with AAS Method Code: XN 15** |
|  | Detemination of Zn ( Zinc ) Cu ( Copper ) | In house method with F AAS Method Code: XT 28 |
|  | Detemination of Hg ( Mercury ) | In house method with HVG-AAS Method Code: XN 16** |
| 4. Fish, Cereals, Feed | Detemination of Hg (Mercury ) | In house method with HVG-AAS Method Code: XT29 |
| 5. Food, Cereals, Feed | Detemination of Pb ( Lead ) | In house method with AAS Method Code: XT 22 |
| 6. Food and Feed ( Except dairy ) | Detemination of Cd ( Cadmium) |  |
| 7. Cereals, Nuts | Detemination of As ( Arsenic ) |  |
| 8. Cereals, Feed, Vegetables | Detemination of K ( Potassium ) Fe ( Iron ) Mn ( Manganese ) Zn ( Zinc ) Ca ( Calcium ) Na ( Sodium ) Cu ( Copper ) | In house method with F AAS Method Code: XT 28 |
| 9. Food | Detemination of Sn – Tin | X/T 73 GFAAS In house method |
| 10. Cereals, feedstuff | 1. Determination of moisture | In house Method based on EC Regulation 152/2009, as amended and in force Method code: XT 02 |
|  | 2. Determination of crude ash | In house Method based on EC Regulation 152/2009, as amended and in force Method code: XT 01 |
|  | 3. Determination of crude oils and fats | In house Method based on EC Regulation 152/2009, as amended and in force Method code: XT 03 |
|  | 4. Determination of protein | In house modified method, based on ΑOAC 991.20:2000 Method code: ΧΤ 04 |
|  | 5. Determination of digestibility | In house method X/T 175 based on: IFOMA, International fishmeal & oil manufacturers association 2000-1, April 2000 |
| 11. Feedstuff | Determination of crude fiber | In house method X/T 185 based on: 1. Regulation 152/2009 and its modifications for the determination of methods of sampling and analysis for the official control of feed 2. Gerhardt Fibrebag system Crude fibre in Animal feed |
| 12. Cheese 12. Cheese (continued) | 1. Determination of moisture | Food and Beverage Code, Volume II, Part Β, Θ3.I and Γ1 Method code: XT 10 |
|  | 2. Determination of fat | In house method, (Gerber method) Method code: ΧΤ 11 |
| 13. Milk | 1. Determination of protein | In house modified method, based on ΑOAC 991.20:2000 Method code: ΧΤ 04 |
|  | 2. Determination of solid fat free residue | Food and Beverage Code, Volume II, Part Β, Θ5 Method code: XT 08 |
|  | 3. Determination of fat | In house method (Gerber method) Method code: ΧΤ 09 |
| 14. Milk and Milk Products | Determination of nitrate and nitrite | Method based on ISO 14673-1:2004 (IDF 189-1:2004) Method code: ΧΤ 76 |
| 15. Milk and milk-based products | Determination of antibiotic residues in milk by enzymatic DELVOTEST KIT | In house method by enzymatic DELVOTEST kit Methode code: X/Τ 41 |
|  | Determination of somatic cells | In house method based on DELAVAL TEST ANALYSER Method code: X/Τ 40 |
|  | Determination of Fat Protein Lactose Fat free solid residue (Total solids) | In house method based on Infrared spectrophotometer by automatic analyzer LACTOSCOPE Method code: XT 153 |
|  | Determination of freezing point of milk | In house method based on Thermal cryoscope CRYOTOUCH 20 Method code: ΧΤ154 |
| 16. Meat and meat products 16. Meat and meat products (continued) | 1. Determination of moisture | ISO 1442:1997 Method code: XT 06 |
|  | 2.Determination of ash | ISO 936 :1998 Method code: XT 05 |
|  | 3.Determination of total fat | Food and Beverage Code, Volume II, Part Β, I3 and Γ4 Method code: ΧΤ 07 |
|  | 4. Determination of protein | In house modified method, based on ΑOAC 991.20:2000 Method code: ΧΤ 04 |
|  | Determination of hydroxyproline-collagen ( hydroxypropilne ) | XT188 In house method UV/VIS based on ΙSO 3496:1994, AOAC OFFICIAL METHOD 990.26 |
| 17. Meat and meat products, Cold cuts | Determination of nitrate and nitrite | Method based on ISO 3091:1975 Method code: ΧΤ 76 |
| 18. Fruits and vegetables | Determination of protein | In house modified method, based on ΑOAC 991.20:2000 Method code: ΧΤ 04 |
| 19. Oils | 1. Determination of peroxides | Commission Regulation (EEC) No. 2568/91, Annex III, as amended and in force Method code: XT 13 |
|  | 2. Determination of moisture | Commission Regulation (EEC) No. 2568/91, Annex III, as amended and in force Method code: XT 12 |
|  | 3. Spectrophotometric Examination in UV Determination K232 - K268 - ΔΚ | Commission Regulation (EEC) No. 2568/91, Annex III, as amended and in force Method code: XT 15 |
|  | 4. Determination of acidity | Commission Regulation (EEC) No. 2568/91, Annex III, as amended and in force Method code: XT 14 |
|  | 5.Determination of total polyphenols | Χ/Τ 143 In house UV-Vis spectrophotometric method |
| 20. Honey 20. Honey (continued) | Determination of HMF (HydroxyMethylFurfural) | In house method UV-VIS Method code: XT-21 |
|  | Determination of Diastase Activity in Honey (Schade) (diastase index, diastase activity) | In house method UV-VIS Method code: XI-54 |
|  | Determination of pH | Potensiometric based on International Honey Commision (2002) Method code: Χ/Τ 48 |
|  | Determination of Free Acids | Volumetric based on International Honey Commision (2002) Method code: Χ/Τ 44 |
|  | Determination of Electrical Conductivity | Potensiometric based on International Honey Commision (2002) Method code: Χ/Τ 43 |
| 21. Soil 21. Soil (continued) | Determination of exchangeable Ca,Mg K | In house method ΧΤ 33 ,based on Plant, Soil and Water Reference, Methods for the Western Region.1994 WCC-103 Publication WREP-125, 2 ndEdition , και AAS Flame |
|  | Mechanical / granular composition Sand% Silt% Clay% | In house method ΧΤ 36 , Based on Plant, Soil and Water Reference, Methods for the Western Region.1994, WCC S14-10 , WCC-103 Publication WREP-125, 2 ndEdition |
|  | pH | In house method ΧΤ 18 (Electrometric in saturation paste) based onWCC-103 PublicationWREP-125, 2nd Edition |
|  | Conductivity | In house method ΧΤ 19 (Electrometric in saturation paste) based onWCC-103 PublicationWREP-125, 2nd Edition |
|  | Organic matter | In house Method ΧΤ 20 (Walkley – Black, titrimetric) WCC-103 PublicationWREP-125, 2 ndEdition |
|  | Determination of total Ρ (OLSEN) | In house Method ΧΤ 34 (OLSEN) Based on Plant, Soil and Water Reference, Methods for the Western Region.1994, WCC-103 Publication WREP-125, 2nd Edition |
|  | Determination of nitrate nitrogen N-NO3 (NO3 -1 ) | In house Method ΧΤ 35 , based on Plant, Soil and Water Reference, Methods for the Western Region.1994, WCC-103 Publication WREP-125, 2nd Edition |
| 22. Cosmetics , detergents , soap , chlorine , Dish washer liquid , | Determination of pH | Χ/Τ 126 In house Method based on ISO 4316:1977 |
| 23. Soaps | Determination of Content of Ethanol Insoluble Matter | Χ/Τ 136 In house method based on ISO 673/1981 |
| 24. Detergents, Chlorine-Bleach | Determination of Active Chlorine (Sodium Hypochlorite) | Χ/Τ 129 Volumetric in house method |
| 25. Cosmetics , oil, gel, shampoo | Determination of viscosity | Χ/Τ 127 In house method with viscosimeter ATAGO |
| 26. Cosmetics , Paper ( non food ) | Determination of Heavy Metals Pb ( Lead ) , Cd ( Cadmium ) | Χ/Τ 128 Ιn house method by GFAAS based on ISO/TR 17276 |
| Cosmetics | Determination of density | In house methodX/T 176 based on: Manual of densimeter BA-200AD |
| 27. Juices | Determination of ascorbic acid | Method ΧΤ 32 In house Volumetric Method based on Nielsen S.S. (2017) |
| 28. Food 28. Food (continued) | Determination of acidity | Method ΧΤ 47 In house method based on Nielsen S.S. (2009) |
|  | Determination of salt-salinity | Method ΧΤ 84 In house Volumetric Method, based on Food and Beverage Code, Volume II, Part B, Chapter E, Paragraph E5 |
|  | Determination of pH | Method ΧΤ 46 Potensiometricbased on AOAC 981.12. |
|  | Determination of phosphoric acid | Method ΧΤ 82 In house Phasmatophotometric UV-Vis based on Narasazaru T.S.B., Singh R.P. (1970) |
|  | Determination of ascorbic acid | Method ΧΤ 70 In house Phasmatophotometric UV-Vis based on Kaur G, Bajaj K.L. (1981) |
|  | Determination of Boric Acid | Method ΧΤ 83 In house Phasmatophotometric UV-Vis based on curcumin-acetic acid method |
|  | Determination of Total Volatile Basic Nitrogen (TVB-N) | Method ΧΤ 79 Based on EC Regulation 2074/2005 |
|  | Determination of Total Dietary Fiber | Method ΧΤ 71 Based on AOAC 985.29 |
|  | Determination of casein | Χ/Τ 146 In house method UV-Vis based on MenidiMedica test kit |
|  | Determination of starch | Χ/Τ 102 In house method UV-Vis based on MEGAZYME TEST KIT K-TSHK |
|  | Determination of Lactose ( free lactose <0,001%) | Χ/Τ 147 In house method UV-Vis based on MEGAZYME TEST KIT K-LOLAC |
|  | Determination of ethanol | ΧΤ 75 method based on MEGAZYME TEST KIT K-ETOH |
|  | Determination of Glutamic acid | In house method X/T 150 based on: K-GLUT L-Glutamic acid test kit, Megazyme |
|  | Determination of cholesterol | In house method X/T 156 based on: Cholesterol test kit, R-Biopharm |
| 29. Food - Fats | Determination of Peroxides | Χ/Τ 144 In house method UV-Vis based on test kit MenidiMedica |
| 30. Standard and non-standard foods | Determination of total sulfur dioxide (SO2) | Volumetric Method, based on Food and Beverage Code, Chapter Δ, Paragraph Δ2 Method code: ΧΤ 30 |
| 31. Beer, wine, beverages up to 94% alcohol strength | Determination of Alcohol Strength | Automated Alcoholic Distillator . Method code: XT 42 |
| 32. Beer | Chemical analysis of beer using an automated beer analyzer: Alcohol by weight Alcohol by volume Original wort True extract Density Calculation of Plateau | In house method X/T 184 based on: Funke-Gerber Beer Analyzer manual |
| Beer, Soap | Determination of glycerol | In house method X/T 179 based on: K-GCROLGK Glycerol test kit, Megazyme |
| 33. Fruits | Determination of dry matter | Χ/Τ 142 Gravimetric Method |
|  | Determination of Brix | Χ/Τ 141 Brix Refractometer |
| 34. Fruits and Vegetables | Determination of nitrate | Method ΧΤ 66 based on ISO 6635:1984 |
|  | Determination of Lactic acid | XT 31 In house method UV/VIS based on Κ-DLATE kit, megazyme |
| 35. Herbal - essential oils | Determination of essential oil percentage | Χ/Τ 132 Clevenger Hydrodistillation based on E.P. |
| 36. Cereals, feedstuff | Determination of starch | In house method Χ/Τ 102 based on test kit |
| 37. Milk products | 1. Determination of Lactose | In house method Χ/Τ 147 based on test kit |
|  | 2. Determination of Ca | In house method XT 28 with AAS |
| 38. Pork meat | Antibiotics screening in pork: Amoxicillin, Ampicillin, Penicillin-G, Cloxacillin, Oxacillin, Cefquinome, Ceftiofur, Tylosin, Erythromycin, Lincomycin, Tilmicosin, Spiramycin, Chlortetracycline, Oxytetracycline, Doxycycline, Tetracycline, Demeclocycline, Sulphamethazine, Sulphadiazine, Sulphamethizole, Sulphaguanidine, Sulphadimethoxine, Sulphapyridine, Sulphamethoxypyridine, Sulphisoxazole, Sulphathiazole, Sulphachloropyridazine, Sulphamerazine, Sulphanilamide, Sulphaquinoxaline, Gentamicin, Streptomycin, Neomycine, Enrofloxacin, Flumequine, Virginiamycin, Bacitracin, Florphenicol, Chloramphenicol | ΧΤ 155 Antibiotics screening in pork by PREMI KIT TEST |
| 39. Beef | Antibiotics screening in beef: Amoxicillin,Ampicillin,Penicillin-G ,Cefquinome,Ceftiofur,Macrolides,Tylosin, Erythromycin,Lincomycin, Tilmicosin, Spiramycin,Tetracyclines,Chlortetracycline , Oxytetracycline,Doxycycline ,Sulphamethazine,Sulphadiazine, Sulphaguanidine,Sulphadimethoxine, Sulphapyridine,Sulphamerazine,Sulphaquinoxaline,Sulphametiozole,Gentamicin,Streptomycin,Neomycine,Enrofloxacin, Flumequine,Virginiamycin, Bacitracin,Florphenicol,Chloramphenicol | ΧΤ 155 Antibiotics screening based on PREMI KIT TEST |
| 40. Chicken | Antibiotics screening in chicken: Amoxicillin, Ampicillin, Penicillin-G, Cefquinome, Ceftiofur, Tylosin, Erythromycin, Lincomycin, Tilmicosin, Spiramycin, Oxytetracycline, Doxycycline Chlortetracycline, Sulphamethazine Sulphadiazine Sulphaguanidine Sulphapyridine, Sulphamethoxypyridine Sulphisoxazole Sulphathiazole, Sulphachloropyridazine, Sulphamerazine, Sulphanilamide, Sulphaquinoxaline, Sulphametiozole Gentamicin, Streptomycin, Neomycine, Enrofloxacin, Flumequine ,Virginiamycin, Bacitracin ,Zn-bacitracin, Colistin, Salinomycin Monensin, Avilamycin,, Florphenicol, Chloramphenicol, Trimethoprim, Narasin Amprolium, Phosphomycine, Furazolidone | ΧΤ 155 Antibiotics screening based on PREMI KIT TEST |
| 41. Eggs | Antibiotics screening in eggs: Amoxicillin,Ampicillin,Penicillin-G, Cloxacillin,Ceftiofur,TylosinErythromycin,Chlortetracycline,Oxytetracycline,Doxycycline,Tetracycline,Sulphamethazine,Sulphadiazine,Sulfamethoxazole,Gentamicin,Streptomycin,Neomycine,Chloramphenicol | ΧΤ 155 Antibiotics screening based on PREMI KIT TEST |
| 42. Fish | Antibiotics screening in fish: Amoxicillin,PenicillinG,Erythromycin,Chlortetracycline,Oxytetracycline,Sulphamethazine,Sulphadiazine,Sulfamethoxin,,Neomycine,Oxilinic acid, Florphenicol.Ronidazole | ΧΤ 155 Antibiotics screening based on PREMI KIT TEST |
| 43. Honey | Antibiotics screening in honey: Chlortetracycline, Oxytetracycline, Doxycycline, Tetracycline, Demeclocycline, Sulphamethazine, Sulphadiazine, Sulphamethizole, Sulphaguanidine, Sulphadimethoxine, Sulphapyridine, Sulphamethoxypyridine, Sulphisoxazole, Sulphathiazole, Sulphachloropyridazine, Sulphamerazine, Sulphanilamide, Sulphaquinoxaline, Enrofloxacin, Flumequine, Trimethoprim | ΧΤ 155 Antibiotics screening based on PREMI KIT TEST |
| Microbiological Tests |
| 1. Water Potable , surface water, effluents, water from cooling towers and air conditioners | Enumeration of Legionella | ISO 11731 / 2017 Method code: M07 |
| 2. Water Potable, sea water, surface water, swimming pools | Detection and enumeration of enterococci of faecal origin | ΕΛΟΤ ΕΝ ISO 7899-2/2000 Method code: M-03* |
|  | Enumeration of Clostridium perfringens | ISO 14189:2013 Method code: Μ-09 |
|  | Detection of Salmonella spp. (except for Typhi and Paratyphi) | ISO 19250:2010 Method code: Μ-06 |
| 3. Water Potable, sea water, surface water, swimming pools, effluents | Detection and enumeration of coliforms and E. coli | ΕΛΟΤ ΕΝ ISO 9308-1:2014 Method code: M-01* |
| 4. Sewage sludge and biowaste | Detection and enumeration of intestinal enterococci | In house method based on ISO 7899-2:2000 |
| 5. Water potable, swimming pools | Enumeration of culturable microorganisms in 22 οC and 37 οC | ΕΛΟΤ ΕΝ ISO 6222:1999 Method code: M -02* |
|  | Enumeration of Pseudomonas aeruginosa | ISO 16266:2006 Method code: M-05* |
| 6. Food and Animal Feed | Enumeration of total plate count | ΕΛΟΤ ΕΝ ISO 4833-1:2013 Method code: MT -02 |
|  | Enumeration of coliforms | ΕΛΟΤ ΕΝ ISO 4832:2006 Method code: MT-01 |
|  | Enumeration of E. coli β-glucuronidase (+) | ΕΛΟΤ ΕΝ ISO 16649-2:2001 Method code: MT-12 |
|  | Enumeration of Staphylococcus coagulase (+) | ΕΛΟΤ ΕΝ ISO 6888-2/A1:1999 Method code: MT-04 |
|  | Detection of Listeria monocytogenes | ΕΛΟΤ ΕΝ ISO 11290-1:2017 Method code: MT-06 |
|  | Enumeration of Listeria monocytogenes spp και της Listeria spp. | ISO 11290-2:2017 Method code: ΜΤ-26 |
|  | Enumeration of Clostridium perfringens | ΕΛΟΤ ΕΝ ISO 7937:2004 Method code: MT-08 |
|  | Detection and enumeration of Enterobacteriaceae | ISO 21528-2: 2017 Method code: MT-13 |
|  | Enumeration of Bacillus cereus | ISO 7932:2004 Method code: ΜΤ-19 |
|  | Enumeration of lactic acid bacteria 30 oC | ΙSΟ 15214 / 1998 Method code: MT-22 |
| 7. Food and feed with aw >0.95 | Enumeration of yeast and mold | ISO 21527-1:2008 Method code: MT-15 |
| 8. Food and feed with aw<0.95 | Enumeration of yeast and mold | ISO 21527-2:2008 Method code: ΜΤ-21 |
| 9. Animal feces and environmental samles from primary production | 1. Detection of Salmonella spp. (except for Typhi, Paratyphi) | ISO 6579-1 :2017 Method code: MT 05 |
| 10. Food and feed | 1. Detection of Salmonella spp. (except for Typhi, Paratyphi) | ISO 6579-1 :2017 Method code: MT05 |
|  | 2. Detection of Vibrio spp. | Method MT 28 based on: ISO 21872-1:2017 |
| 11. Poultry | Enumeration of Campylobacter spp | ISO 10272-1:2017 Method code: ΜΤ16 |
| 12. Water for haemodialysis and related therapies | Enumeration of aerobic microorganisms at 20 0C ± 3 0C | ISO 13959:2014 Method code: M11 |
| 13. Water for haemodialysis and ultrapure water for haemodialysis and related therapies | Enumeration of aerobic microorganisms at 20 0C ± 3 0C | ISO 11663:2014 Method code: M10 |
| 14. Cosmetics 14. Cosmetics (continued) | Detection and enumeration of mesophilic plate count | Pharmacopoieia 9th edition, 9,8 Method code: COS01 |
|  | Enumeration of yeast and mould | Pharmacopoieia 9th edition, 9,8 Method code: COS06 |
|  | Enumeration of Candida albicans | Pharmacopoieia 9th edition 9,8 Method code: COS02 |
|  | Detection of Staphylococcus aureus | Pharmacopoieia 9th edition 9,8 Method code: COS03 |
|  | Detection of Pseudomonas aeruginosa | Pharmacopoieia 9th edition 9,8 Method code: COS04 |
|  | Detection of Escherichia coli | Pharmacopoieia 9th edition 9,8 Method code: COS05 |
|  | Evaluation of the antimicrobial protection of a cosmetic product (challenge test), by testing the following microorganisms Escherichia coli Staphylococcus aureus Candida albicans Pseudomonas aeruginosa | ISO 11930:2019 Method code: COS07 |
| 15. Cheese | Enumeration of Ε.Coli (MPN method) | ISO 16649-3:2015 Method code:MT-24 |
| Sampling |
| 1. Carcass sampling | Carcass sampling for microbiological analysis | ΕΛΟΤ ΕΝ ΙSO 17604:2015 |
| 2. Surface sampling by swabs | Horizontal methods for surface sampling | ISO 18593:2018 |
| 3. Potable tap water and groun water | Water sampling for chemical and microbiological analyses | ISO 5667-1:2006 ISO 5667-3:2018 ISO 19458:2006 |
| 4. Sea water and surface water |  | ISO 5667-9:1992, ISO 5667-14:2014 ISO 19458 :2006 |
| 5. Sludge sampling |  | ISO 5667-13:2011 ISO 5667-15:2009 ISO 19458:2006 |
| 6. Effluent sampling |  | ISO 5667:1992 ISO 19458:2006 |
| 7. Air sampling | Air sampling for airborn biological contamination with air sampler | In house method Δ07 based on: 1. Operating manual MAS-100 with data report MERCK 2. USP 1116 Microbiological control of aseptic processing environments and its implications 3. ISO 14698-1:2004 |
| Immunochemical Tests |
| 1. Processed foods | Detection of pork meat | In house method EL01 based on ELISA-TEK Cooked Pork Kit (510621, ELISA Technologies) |
| 2. Food , Raw marerials | Determination of gliadin /gluten | In house method ALRG01based on RidaScreen Gliadin (R7001) and according to ΕΛΟΤ EN 15633-1:2019 |
| 3. Cheese and related products 3. Cheese and related products (continued) 3. Cheese and related products (continued) | Determination of milk | In house method ALRG04 based on AgraQuant Milk Assay (COKAL2448, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of soy | In house method ALRG02 based on AgraQuant Soy Assay (COKAL0448, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of egg | In house method ALRG03 based on AgraQuant Egg Assay (COKAL0848, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2009 |
|  | Determination of peanut | In house method ALRG05 based on AgraQuant Peanut Assay (COKAL0148, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of hazelnut | In house method ALRG07 based on AgraQuant Hazelnut Assay (COKAL0348, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of almond | In house method ALRG06 based on AgraQuant Almond Assay (COKAL0748, Romer Labs) according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of walnut | In house method ALRG08 based on AgraQuant Walnut Assay (COKAL0948, Romer Labs) according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of Pistachio | In house method ALRG13 based on AgraQuant Pistachio Assay (10002086, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of sesame | In house method ALRG10 based on AgraQuant Sesame Assay (COKAL1948, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of mustard | In house method ALRG11 based on AgraQuant Mustard Assay (COKAL2148, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of Lupin | In house method ALRG18 based on AgraQuant Lupin Assay (10002049, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of Fish | In house method ALRG17 based on AgraQuant Fish Assay (10002083, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of Mollusk | In house method ALRG20 based on AgraQuant Mollusk Assay (10006023, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of Crustacea | In house method ALRG19 based on AgraQuant Crustacea Assay (10002076, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
| 4. Milk | Determination cow’s milk ( adulteration with cow’s milk) | In house method ALRG15 based on Bioshield cow elisa kit (B1248/B1296, Prognosis Biotech) |
|  | Determination of goat’s milk (adulteration with goat’s milk) | In house method ALRG16 based on Bioshield goat elisa kit (B1148/B1196, Prognosis Biotech) |
| Cheese and related products, starchy foodstuffs (cereal, pasta and pastries raw and final products , crackers , starchy fruits and vegetables) and spices | Determination of milk | In house method ALRG04 based on AgraQuant Milk Assay (COKAL2448, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of soy | In house method ALRG02 based on AgraQuant Soy Assay (COKAL0448, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of egg | In house method ALRG03 based on AgraQuant Egg Assay (COKAL0848, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2009 |
|  | Determination of peanut | In house method ALRG05 based on AgraQuant Peanut Assay (COKAL0148, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of hazelnut | In house method ALRG07 based on AgraQuant Hazelnut Assay (COKAL0348, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of almond | In house method ALRG06 based on AgraQuant Almond Assay (COKAL0748, Romer Labs) according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of walnut | In house method ALRG08 based on AgraQuant Walnut Assay (COKAL0948, Romer Labs) according to ΕΛΟΤ EN 15633-1:2019 |
| Cheese and related products, starchy foodstuffs (cereal, pasta and pastries raw and final products , crackers , starchy fruits and vegetables) and spices | Determination of sesame | In house method ALRG10 based on AgraQuant Sesame Assay (COKAL1948, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of mustard | In house method ALRG11 based on AgraQuant Mustard Assay (COKAL2148, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of Crustacean | In house method ALRG19 based on AgraQuant Crustacea Assay (10002076, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
| Cheese and related products, starchy foodstuffs (cereal, pasta and pastries raw and final products , crackers , starchy fruits and vegetables) and spices | Determination of casein | In house method ALRG12 based on AgraQuant Casein Assay (10002037, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Determination of cashew | In house method ALRG14 based on Agraquant Cashew Assay (10002094, Romer Labs) and according to ΕΛΟΤ EN 15633-1:2019 |
|  | Detection of coconut | In house method ALRG25 based on Coconut Assay (CON-E01/E04, Eurofins) and according to ΕΛΟΤ EN 15633-1:2019 |
| Milk powder, cheese and related products, starchy foodstuffs | Determination of melamine | In house method ALRG23 based on Melamine Assay (50005B, Eurofins Abraxis) and according to ΕΛΟΤ EN 15633-1:2019 |
| Testιng of filters, softeners and membrane separation devices |
| Active media filters - Water conditioning equipment inside buildings | Static pressure and dynamic pressure (cartridge), dynamic pressure (filter & cartridge) and pressure drop Chlorine reduction Carbonate hardness reduction | Based on EN 14898+A1 (paragraphs 6.5, 6.6*) (internal method Φ 01) * Carbonate hardness reduction test is only included |
| Softeners - Water conditioning equipment inside buildings | Static pressure and cyclic pressure Chloride content Total hardness | Based on EN 14743+A1 (7.1, 7.4.1, 7.4.2, 7.5.7) (internal method Φ 02) |
| Membrane separation devices of reverse osmosis (RO) - Water conditioning equipment inside buildings | Salinity rejection rate (NaCl) | Based on EN 14652:2005+A1:2007, (paragraph A.3.3) (internal method Φ 03) |

* American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 20th Edition, 1998 and 21st Edition 2005

** Methods that conform to the performance criteria described in ΚΥΑ Υ2/2600/2001, ΦΕΚ 892/Β/11.07.2001, its modification ΚΥΑ Αριθμ. ΔΥΓ2 / Γ.Π οικ.38295, regarding the quality of drinking water.

*** Ε.P. (European Pharmacopeia)

Site of assessement: Permanent Laboratory premises – Agiou Artemiou 1, 47132, Arta, Greece

Approved signatories: Sotiris Tzimas , Lenis Grigoris, Stefou Elpida, Kapsala Fotini, Zaharou Chrisanthi, Ntekoume Dionisia.

This scope of Accreditation replaces the previous one, dated 15.09.2023.

The Accreditation Certificate No. 139-14, according to ELOT EN ISO/IEC 17025:2017, is valid until 15.09.2028.

Athens, 15.03.2024

Christos Nestoras

CEO of ESYD