Hellenic Accreditation System

Annex G1/4 to the Certificate No.1211 SCOPE of ACCREDITATION of Departments of Transfusion and Hematology, Medical Biopathology (Microbiology)-Clinical Biochemistry, Immunology – Histocompatibility of the Division of Laboratory Medicine and Medical Genetics Unit of the 1st Department of Obstetrics and Gynecology of Aristotle University of Thessaloniki at “PAPAGEORGIOU” General Hospital

| Tested materials / products | Types of tests/ Properties to be measured | Applied Methods / Techniques to be used |
| --- | --- | --- |
| Biochemical Tests |
| Blood serum | Determination of 12 parameters | Automated Analyzers Alinity ci (x2), Alinity c (x1)* Work Instruction: Ο19-2-2_ΒΙΟΠΑΘ-ΒΙΟΧ (Version 1.1/29-03-2021) & D19-02-EN02 Inserts Βιοχημικό (Version 1.3/19-04-2023) |
|  | Glucose | Enzymatic hexokinase method / G-6-PDH |
|  | Urea | Urease method |
|  | Uric Acid | Enzymatic – colorimetric (Uricase) |
|  | G-Glutamyl-Transferase (γ-GT) | Enzymatic |
|  | Total bilirubin (TBIL) | Enzymatic - kinetic - colorimetric (Diazonium salt) |
|  | Direct bilirubin (DBIL) | Enzymatic - kinetic - colorimetric (Diazo Reaction) |
|  | Potassium (K) | Ion Selective Electrode (ISE) |
|  | Sodium (Na) | Ion Selective Electrode (ISE) |
|  | Total Protein (TP) | Colorimetric (Biuret) |
|  | Albumin (ALB) | Colorimetric (Bromocresol Green) |
|  | Phosphorus (PHOS) | Colorimetric (Phosphomolybdate) |
|  | 12. Magnesium (MG) | Enzymatic |
| Hematological Tests |
| Whole Blood (EDTA) Whole Blood (EDTA) (continued) | Determination of 8 parameters | Automated analyzers Αbbott Alinity hq 740 (x1), hq 749 (x1) and Alinity hq 329 (x1)* Work Instruction: Ο19-2-2_ΑΙΜΑΤΟΛΟΓΙΚΟ (Version 1.2/20-04-2023) & D19-02-EN02 Inserts Αιματολογικό (Version 1.0/20-12-2021) |
|  | 1.White blood cells (WBC) | Flow cytometry with optical scattering and fluorescence |
|  | 2.Red blood cells (RBC) | Flow cytometry with optical scattering |
|  | 3.Hemoglobin (HGB) | Absorption spectrophotometry |
|  | 4.Hematocrit (HCT%) | Calculated |
|  | 5.Meancorpuscularvolume (MCV) (fL) | Flow cytometry with optical scattering |
|  | 6. Mean corpuscularhemoglobin (MCH) (pg) | Calculated |
|  | 7.Mean corpuscular hemoglobin concentration (MCHC) (g/dL) | Calculated |
|  | 8. Platelets (PLTs) | Flow cytometry with optical scattering |
| Immunological Tests |
| Blood serum | Determination of 4 parameters | Enzyme Linked Immunosorbent Assay (ELISA) using ELISA Analyzer (Dynex DSX)* Work Instruction: Ο19-2-3_ΑΝΟΣΟΛΟΓΙΚΟ (Version 1/15-5-17) & D19-02-EN02 Inserts Ανοσολογικό (Version 1.1/15-6-2022) |
|  | Detection of autoantibodies for Autoimmune Bullous Diseases IgG class 1. Desmoglein 1 2. Desmoglein 3 3. BP 180 4. BP 230 |  |
| Blood serum | Determination of 1 parameter | Indirect immunofluoresence (Semi Automatic Method)- Using Analyzer AP22 speedy IF* Work Instruction: Ο19-2-4_ΑΝΟΣΟΛΟΓΙΚΟ (Version 1/15-5-17) & D19-02-EN02 Inserts Ανοσολογικό (Version 1.1/15-6-2022) |
|  | Detection of autoantibodies for Autoimmune Bullous Diseases 1. SKIN IgG |  |
| Blood serum | Determination of 2 parameters | Indirect immunofluoresence (Semi Automatic Method)- Using Analyzer AP22 speedy IF* Work Instruction: Ο19-2-7_ΑΝΟΣΟΛΟΓΙΚΟ (Version 1/12-5-2022) & D19-02-ΕΝ02 Inserts Ανοσολογικό (Version 1.1/15-6-2022) |
|  | Antinuclear antibodies ANA Antibodies against the double-stranded DNA (anti-dsDNA) |  |
| Blood serum | Determination of 5 parameters | Enzyme Linked Immunosorbent Assay (ELISA) using ELISA Analyzer (Dynex DSX)* Work Instruction: Ο19-2-6_ΑΝΟΣΟΛΟΓΙΚΟ (Version 1/12-5-2022) & D19-02-ΕΝ02 Inserts Ανοσολογικό (Version 1.1/15-6-2022) |
|  | Antibodies against RNP Antibodies against Sm Antibodies against SS-A/Ro Antibodies against SS-B/La Antibodies against Scl-70 |  |
| Blood serum | Determination of 2 parameters | Chemiluminescence Microparticle Immunoassay (CMIA) – automatic analyser Alinity i (Abbott)* Work Instruction: Ο19-2-8_ΑΝΟΣΟΛΟΓΙΚΟ (Version 1/28-6-2022) & D19-02-ΕΝ02 Inserts Ανοσολογικό (Version 1.1/15-6-2022) |
|  | Total prostate-specific antigen (TPSA) Ferritin |  |
| Blood serum | Determination of 2 parameters | Chemiluminescence immunoassay (CLIA) – automatic analyser Atelica solution IM Analyzer (Siemens)* Work Instruction: Ο19-2-9 (Version 1/28-6-2022) & D19-02-ΕΝ02 Inserts Ανοσολογικό (Version 1.1/15-6-2022) |
|  | Thyroid-stimulating hormone (TSH) Total human chorionic gonadotropin (ThCG) |  |
| Blood serum | Determination of 1 parameter | Nephelometry, with Analyzer Beckman Coulter Immage 800 Work Instruction: ΟΕ19-2-10 ΑΝΟΣΟΛ (Version 1/19-04-2023) |
|  | C-Reactive Protein (CRP) |  |
| Flow Cytometry |
| Whole Blood (EDTA) | Determination of 5 parameters | Flow Cytometry with Flow cytometer Beckman Coulter Model FC500 Work Instruction: ΟΕ19-2-11 ΑΝΟΣΟΛ (Version 1/19-04-2023) |
|  | Determination of CD3+ percentage on lymphocytes |  |
|  | Determination of CD3+CD4+ percentage on lymphocytes |  |
|  | Determination of CD3+CD8+ percentage on lymphocytes |  |
|  | Determination of CD19+ percentage on lymphocytes |  |
|  | Determination of CD3-CD16/56+ percentage on lymphocytes |  |
| HLA DNA Typing |
| Whole Blood (EDTA) | HLA class II DNA typing of two (2) HLA genes (Low resolution): 1. HLA-DRB 2. HLA-DQB | PCR with Sequence Specific Primers (PCR-SSP) Work Instruction:: ΟΕ19-2-11 ΑΝΟΣΟΛ (Version 1/19-04-2023) |
| Molecular Tests |
| Whole Blood (EDTA) | FMF, Familial Mediterranean Fever Detection of 12 mutations: E148Q P369S F479L M680I (G >C) M680I (G >A) I692 del M694V M694I K695R V726A A744S, R761H | PCR Techne Prime και VIENNA LAB TEST KIT - FMF StripAssays® CE IVD kit από Vienna Lab Diagnostics: Work Instruction: Ο19-2_ΜΟΝΑΔΑ ΓΕΝΕΤΙΚΗΣ (Version 1/15-5-17) & D19-02-EN02 Inserts Γενετική (Version 1.0/20-12-2021) |
| Whole Blood (EDTA) | Qualitative detection of the V617F mutation of the JAK2 gene | NanoDrop 2000 spectrophotometer Qiagen- Rotor-Gene Q MDx JAK-2 REAL TIME PCR KIT, SNP Biotechnology, Cat. No: 21R-10-01 Work Instruction: Ο19-3_ΜΓ (Version 1/19-04-2023) |
| Whole Blood (EDTA) | Detection of genetic variant CF ΔF508 | NanoDrop 2000 spectrophotometer Qiagen- Rotor-Gene Q MDx CYSTIC FIBROSIS (CF) DELTA F508 REAL TIME PCR KIT, SNP Biotechnology, Cat. No: 14R-10-01 Work Instruction: Ο19-4_ΜΓ (Version 1/19-04-2023) |

| Blood coagulation Tests |
| --- |
| Blood plasma (Citrate) | Determination of 3 parameters | Automatic Analyzers STAGO STAR MAX 3 (x1) and STA COMPACT (x1) * Work Instruction: Ο19-2-3_ΑΙΜΑΤΟΛΟΓΙΚΟ (Version 1.3/20-04-2023) & D19-02-EN02 Inserts Αιματολογικό (Version 1.0/20-12-2021) |
|  | Prothrombin Time (PT)/INR | Clotting assay (Chronometric) |
|  | Activated partial thromboplastin time (APTT) | Clotting assay (Chronometric) |
|  | D-Dimer | Immunosymmetric |

*Reference to the commercial name of a specific analyzer/kit, refers to a specific analytical method and protocol

Site of assessment: Laboratory Permanent premises: Agiou Pavlou 76, Municipality of Pavlou Mela, Prefecture of N. Efkarpia, PC 56429, Thessaloniki, Greece.

Approved signatories:

- For Transfusion and Hematology Department: Dr. Anna Kioumi, Maria Topalidou, Kiriaki Kokoviadou, Anastasia Mpanti, Chrisa Apostolou, Vassiliki Kalaitzidou, Athanasios Anastasiadis, Xristiana Parisi, Fani Zervou.

- For Department of Medical Biopathology (Microbiology)-Clinical Biochemistry: Dr. Vassiliki Koulourida, Papadimitriou Aikaterini, Siskou Eleni, Tosounidou Valeria, Kolinou Artemis, Paraskeva Maria, Koukou Anastasia, Zervou Fani, Kourtanitze Inesa, Tourla Ioanna,  Batou Vasiliki, Dr. Alexiou Maria-Stergiani, Kolinou Artemis

- For Immunology – Histocompatibility Laboratory: Dr. Anastasia Giannakou, Maria Mpantadaki, Stiliani lliadou, Maria Zaxaria, Dr Panagiota Lazidou, Dr Alexandra Fleva.

- For Genetic Unit: Prof. Alexandros Lambropoulos, Dr Sokratis Katafigiotis.

This scope of Accreditation replaces the previous one dated 20.10.2022.

The Accreditation Certificate No.1211, to ELOT EN ISO 15189:2012, is valid until 12.07.2024.

Athens, 29th February 2024

Christos Nestoras

CEO of ESYD