Hellenic Accreditation System

Annex G1/10 to the Certificate No. 971-3 SCOPE of ACCREDITATION of the Histopathology laboratory of “ISTODIEREVNITIKI S.A.”

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Histological examinations |
| Human Body Tissue Fresh, Formalin Fixed Paraffin Embedded Tissue [FFPE], and Frozen Tissue; Excisional and Incisional Biopsies and Surgical Resection Specimens | Histopathological examination activities for the purposes of clinical diagnosis Gross and Microscopic Examination of tissues in order to identify or exclude morphological and cytological abnormalities for the purpose of diagnosis | Macroscopic and Microscopic examination BIOPTICA TRIMMING PATH Aspirated hood for cutting and reduction of histological samples (ΟΕ 505Α_1, ΟΕ-505Α_2) Specimen Dissection Depending upon specimen type and according to Laboratory Grossing Manual SOP Cassette Printer CASSETTE PRINTER LASER SurePrint C100 – DAKEWE FATech NOVA Laser Cassette Printer (ΟΕ 505Α_1, ΟΕ-505Α_2, ΟΕ 407_1) |
|  |  | Tissue processing MILESTONE LOGOS THERMO SCIENTIFIC Excelsior AS Epredia – Shandon Excelsior AS Tissue Processor (ΟΕ 505Α_1, ΟΕ-505Α_3) |
|  |  | Paraffin Embedding System MEDITE TES 99.250 HISOSTAR Thermo Scientific (ΟΕ-505Α_4) |
|  |  | Microtomy Thermo Scientific HM 340E PFM medical ROTARY 3005E (ΟΕ-505Α_5, ΟΕ 407_1, OE 506A_1) |
|  |  | Haematoxylin and Eosin stain Automated and manual Haematoxilyn & Eosin Staining THERMO SCIENTIFIC Gemini AS Automated Slide Stainer (ΟΕ-505Α_6, ΟΕ-505Α_7, ΟΕ 407_1, OE 506A_1) Rapid H&E (frozen sections) (ΟΕ-505Α_6, ΟΕ-505Α_7) |
|  |  | Coverslipping Automated Coverslipper THERMO CLEARVUE (ΟΕ-505Α_8, ΟΕ 407_1, OE 506A_1) |
|  |  | Slide Checking & Section Quality Manual (ΟΕ-505Α_9, ΟΕ 407_1, OE 506A_1) |
|  |  | Interpretive Microscopy Microscopic Evaluation-Interpretation of Results CARL ZEISS AXIOLAB Microscope OLYMPUS BX40F4 Microscope (ΟΕ-505Α_10, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 407_1, OE 506A_1) |
|  |  | Neoplastic Diseases Staging AJCC Cancer Staging Manual 7th Ed. Grading as appropriate Classification WHO ICD-O-2 Reporting of Results (ΟΕ 507_1, ΟΕ 507_6) |
| Human Body Tissue Fresh, Formalin Fixed Paraffin Embedded Tissue [FFPE], and Frozen Tissue; Excisional and Incisional Biopsies and Surgical Resection Specimens | Identification of tissue components and enzymes | Special staining - HISTOCHEMISTRY Histochemistry using kit Manual Stains: Silver Methenamine Periodic Acid Schiff Silver Impregnation (Gomori) Perl’s Masson Trichrome Congo Red Ziehl Neelsen Microscopic Evaluation – Interpretation of Results (ΟΕ-505Α_10, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 407_1, OE 506A_1, ΟΕ-505Α_11) |
| Immunohistochemistry examinations |
| Human Body Tissue Formalin Fixed Paraffin Embedded Tissue [FFPE], and Frozen Tissue; Excisional and Incisional Biopsies and Surgical Resection Specimens | Detection of Markers and Protein Expression Fetal liver cells – yolk sac tumor Anaplastic large cell lymphoma Triple negative breast cancer - prostate cancer Scattered T cells in germinal centres and mantle zone B cells – Many T-cells Germinal centre cells in lymphoid follicles Gastro-intestinal (gastric, pancreatic and colonic) adenocarcinoma Parafolicular C cells of the thyroid Smooth muscle cells of blood vessels and of bowel wall Peripheral nerve gaglion – mesothelial cells - mesothelioma | Special staining - IMMUNOHISTOCHEMISTRY: Automated Immunohistochemistry using detection kits - Ventana BenchMark XT Autostainer* - Ventana BenchMark ULTRA* - AUTOSTAINER LINK48 DAKO * And antibodies as appropriate: Microscopic Evaluation – Interpretation of Results. Each Antibody (ΟΕ-505Α_10, ΟΕ-505Α_12, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 407_1, OE 506A_1) AFP ALK AR bcl-2 bcl-6 CA 19-9 Calcitonin Caldesmon Calretinin |
| Human Body Tissue Formalin Fixed Paraffin Embedded Tissue [FFPE], and Frozen Tissue; Excisional and Incisional Biopsies and Surgical Resection Specimens | Detection of Markers and Protein Expression All germinal centre B cells of lymph follicles Normal and malignant plasma cells and in lymphoplasmocytoid cells Neutrophils, eosinophils, macrophages, R-S cell in Hodgkin lymphoma Langerhans cells – Langerhans’s cell histiocytosis B lymphocytes Follicular dendritic cells and a subpopulation of B cells T lymphocytes Activated lymphocytes and plasma cells and R-S cells in Hodgkin lymphoma – Anaplastic large cell lymphoma Endothelial cells and their tumors - megacaryocytes | Special staining - IMMUNOHISTOCHEMISTRY: Automated Immunohistochemistry using detection kits - Ventana BenchMark XT Autostainer* - Ventana BenchMark ULTRA* - AUTOSTAINER LINK48 DAKO * And antibodies as appropriate: Microscopic Evaluation – Interpretation of Results. Each Antibody (ΟΕ-505Α_10, ΟΕ-505Α_12, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 407_1, OE 506A_1) CD10 CD138 CD15 CD1a CD20cy CD23 CD3 CD30 CD31 |
| Human Body Tissue Formalin Fixed Paraffin Embedded Tissue [FFPE], and Frozen Tissue; Excisional and Incisional Biopsies and Surgical Resection Specimens | Detection of Markers and Protein Expression Endothelial cells – GISTs – solitary fibrous tumor T helper cells All leucocytes T cells and occasionally on a subset of B cells Peripheral nerves, Neuroendocrine cells/tumors – NK cells – ovarian stromal tumors Macrophages B lymphocytes - plasma cells T cells,cytotoxic/ suppressor cells Some lymphocytes, cortical thymocytes, granulosa cells of the ovary, most pancreatic islets cells, sertoli cells and some endothelial cells – Ewing sarcoma/PNET – Synovial sarcoma | Special staining - IMMUNOHISTOCHEMISTRY: Automated Immunohistochemistry using detection kits - Ventana BenchMark XT Autostainer* - Ventana BenchMark ULTRA* - AUTOSTAINER LINK48 DAKO * And antibodies as appropriate: Microscopic Evaluation – Interpretation of Results. Each Antibody (ΟΕ-505Α_10, ΟΕ-505Α_12, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 407_1, OE 506A_1) CD34 CD4 CD45 (LCA) CD5 CD56 CD68 CD79a CD8 CD99 |
| Human Body Tissue Formalin Fixed Paraffin Embedded Tissue [FFPE], and Frozen Tissue; Excisional and Incisional Biopsies and Surgical Resection Specimens | Detection of Markers and Protein Expression Normal and neoplastic intestinal epithelial cells Most adenoCa cells Islets of Langerhan cells of the pancreas – many neuroendocrine cells/tumors Epithelial cells A wide variety of epithelial cells Umbrella cells of Urothelium – intestinal epithelium Squamous epithelium Urothelium – non squamous epithelium and carcinomas of respiratory system – epithelium and carcinomas of bile/pancreatic and mammary ducts Many epithelial cells Squamous epithelium Mast cells, GIST Proliferative zone of epithelial tissues – mantle cell lymphoma | Special staining - IMMUNOHISTOCHEMISTRY: Automated Immunohistochemistry using detection kits - Ventana BenchMark XT Autostainer* - Ventana BenchMark ULTRA* - AUTOSTAINER LINK48 DAKO * And antibodies as appropriate: Microscopic Evaluation – Interpretation of Results. Each Antibody (ΟΕ-505Α_10, ΟΕ-505Α_12, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 407_1, OE 506A_1) CDX2 CEA Chromogranin A CK (AE1/AE3) CK 19 CK 20 CK 5/6 CK 7 CK 8/18 CK HMW (34bE12) c-kit CyclinD1 |
| Human Body Tissue Formalin Fixed Paraffin Embedded Tissue [FFPE], and Frozen Tissue; Excisional and Incisional Biopsies and Surgical Resection Specimens | Detection of Markers and Protein Expression Smooth and striated muscle cells Epithelial cells and tumors of mammary gland ducts Many epithelial cells – synovial sarcoma Many epithelial cells/adenocarcinomas Breast carcinoma – urothelial carcinomas Breast carcinoma Astrocytes Erythroid cells Trophoblasts of placenta, secreting HCG Hepatocytes Melanoma cells Plasma cells and related lymphoid cells containing IgA Plasma cells and related lymphoid cells containing IgG Plasma cells and related lymphoid cells containing IgM | Special staining - IMMUNOHISTOCHEMISTRY: Automated Immunohistochemistry using detection kits - Ventana BenchMark XT Autostainer* - Ventana BenchMark ULTRA* - AUTOSTAINER LINK48 DAKO * And antibodies as appropriate: Microscopic Evaluation – Interpretation of Results. Each Antibody (ΟΕ-505Α_10, ΟΕ-505Α_12, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 407_1, OE 506A_1) Desmin E-cadherin EMA ESA GATA-3 GCDFP15 GFAP Glycophorin A HCG (beta) Hepatocyte HMB45 IgA IgG IgM |
| Human Body Tissue Formalin Fixed Paraffin Embedded Tissue [FFPE], and Frozen Tissue; Excisional and Incisional Biopsies and Surgical Resection Specimens | Detection of Markers and Protein Expression Leydig and Sertoli cells in testis Kappa positive plasma cells and cells that have absorbed exogenous immunoglobulins Mitotic cell marker Lambda positive plasma cells and cells that have absorbed exogenous immunoglobulins Melanocytes A wide variety of epithelial cells/adenocarcinomas Myocardial, skeletal and smooth muscle cells as well as myoepithelial cells. Myofibroblasts in the stroma of certain tumours – myofibroblastic tumors Plasma cells, activated T cells, R-S cells in Hodgkins lymphoma, Anaplastic large cell lymphoma Neutrophil granulocytes and monocytes in blood and precursors of granulocytes in the bone marrow | Special staining - IMMUNOHISTOCHEMISTRY: Automated Immunohistochemistry using detection kits - Ventana BenchMark XT Autostainer* - Ventana BenchMark ULTRA* - AUTOSTAINER LINK48 DAKO * And antibodies as appropriate: Microscopic Evaluation – Interpretation of Results. Each Antibody (ΟΕ-505Α_10, ΟΕ-505Α_12, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 407_1, OE 506A_1) Inhibin Kappa light chain Ki-67 Lambda light chain Melanoma Cocktail MOC-31 MSA MUM1 Myeloperoxidase |
| Human Body Tissue Formalin Fixed Paraffin Embedded Tissue [FFPE], and Frozen Tissue; Excisional and Incisional Biopsies and Surgical Resection Specimens | Detection of Markers and Protein Expression Rhabdomyosarcomas Rhabdomyosarcomas Normal prostate and prostate adenocarcinoma Neuroendocrine and neuronal cells Prostate adenocarcinoma Many malignant cells Squamous epithelium/tumors – urothelium/tumors Kidney, thyroid, epithelium and tumors of Mullerian origin Trophoblasts of placenta – seminoma Prostate glands Prostate glands Schwann cell, adipocytes, cartilage – Langerhans cells/tumors – melanocytic tumors | Special staining - IMMUNOHISTOCHEMISTRY: Automated Immunohistochemistry using detection kits - Ventana BenchMark XT Autostainer* - Ventana BenchMark ULTRA* - AUTOSTAINER LINK48 DAKO * And antibodies as appropriate: Microscopic Evaluation – Interpretation of Results. Each Antibody (ΟΕ-505Α_10, ΟΕ-505Α_12, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 407_1, OE 506A_1) MyoD1 Myogenin NKX3.1 NSE P504S p53 p63 PAX8 PLAP PSA PSAP S100 |
| Human Body Tissue Formalin Fixed Paraffin Embedded Tissue [FFPE], and Frozen Tissue; Excisional and Incisional Biopsies and Surgical Resection Specimens | Detection of Markers and Protein Expression Smooth muscle cells and myoepithelial cells Smooth muscle cells and myoepithelial cells Islets of Langerhans cells of pancreas – Neuroendocrine cells/tumors Cortical thymocytes and primitive lymphocytes Follicular epithelial cells as well as colloid of thyroid Follicular epithelial cells of thyroid, non squamous epithelium of the lower respiratory system, lung adenocarcinomas/Neuroendocrine carcinoma Mesenchymal cells, some epithelial cells/tumors Mesothelial cells/mesotheliomas, serous ovarian tumors, stromal cells and stromal tumors of ovary and endometrium, leiomyomatous tumors of female genital system, Wilms tumor | Special staining - IMMUNOHISTOCHEMISTRY: Automated Immunohistochemistry using detection kits - Ventana BenchMark XT Autostainer* - Ventana BenchMark ULTRA* - AUTOSTAINER LINK48 DAKO * And antibodies as appropriate: Microscopic Evaluation – Interpretation of Results. Each Antibody (ΟΕ-505Α_10, ΟΕ-505Α_12, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 407_1, OE 506A_1) SMA SMMHC Synaptophysin TdT Thyroglobulin TTF-1 Vimentin WT1 |
| Human Body Tissue Formalin Fixed Paraffin Embedded Tissue [FFPE], Excisional and Needle Biopsies and Surgical Resection Specimens with Breast Cancer | Prognostic Marker Expression for Breast Cancer Breast carcinoma Breast carcinoma Breast carcinoma Breast carcinoma | Special staining - IMMUNOHISTOCHEMISTRY: Automated Immunohistochemistry using detection kits - Ventana BenchMark XT Autostainer* - Ventana BenchMark ULTRA* - AUTOSTAINER LINK48 DAKO * And antibodies as appropriate: Microscopic Evaluation – Interpretation of Results. Each Antibody (ΟΕ-505Α_10, ΟΕ-505Α_12, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 407_1, OE 506A_1) Morphogenic analysis, tumor immunohistochemistry. Semiquantitative, method each antibody; manual Interpretation of Results – Reporting based on: CAP breast-carcinoma-biomarker-14protocol-1100 ER (SP1) PgR (16SAN27) Her-2 (4B5) Ki67 (MIB-1) |
| Human Body Tissue Formalin Fixed Paraffin Embedded Tissue [FFPE], Excisional and Needle Biopsies and Surgical Resection Specimens with Lung Cancer, Metastatic Urothelial Carcinoma (mUC), Breast Cancer and Triple-Negative Breast Cancer (TNBC). | Assessment of Predictive Biomarkers using IVD Assays Non-Small Cell Lung Cancer Non-Small Cell Lung Cancer Triple-Negative Breast Cancer (TNBC) Metastatic Urothelial Carcinoma (mUC) Determination of HER2 gene amplification status on Chr17 | Special staining - IMMUNOHISTOCHEMISTRY & HYBRIDIZATION: Automated Immunohistochemistry using IVD detection kits - Ventana BenchMark XT Autostainer* - Ventana BenchMark ULTRA* - AUTOSTAINER LINK48 DAKO * And antibodies as appropriate: Microscopic Evaluation – Interpretation of Results. Each Antibody (ΟΕ-505Α_15) ALK D5F3 (NSCLC) Interpretation Guide, 1011879EN Rev H Scoring Criteria: Positive - Negative PD-L1 SP263 (NSCLC) Interpretation Guide, 1015317EN Rev E Scoring Criteria: Pembrolizumab Cut off TPS ≥ 1% (1%-49%) Second Line Cut off TPS ≥ 50% First Line Durvalumab Cut off TC > 1% PD-L1 22C3 (NSCLC) Interpretation Manual, 29158 2021APR06 27/4/21 Scoring Criteria: No PD-L1 Expression Cut off TC < 1% Pembrolizumab PD-L1 Expression Cut off TPS ≥ 1% (1%-49%) High PD-L1 Expression Cut off TPS ≥ 50% PD-L1 SP142 (TNBC) Interpretation Guide, 1018231EN Rev C Scoring Criteria: Atezolizumab - Cut off IC ≥ 1% PD-L1 SP142 (mUC) Interpretation Guide, 1014987US Rev F Scoring Criteria: Atezolizumab - Cut off IC ≥ 5% HER2 Dual ISH DNA (DISH) Breast Cancer Interpretation Guide, 1018383EL Rev A Scoring Criteria: Amplified – Non-Amplified |
| Molecular Genetics |
| Human Body Tissue Formalin Fixed Paraffin Embedded Tissue [FFPE], Excisional and Needle Biopsies and Surgical Resection Specimens with Lung Cancer | Assessment of Molecular Biomarkers using IVD Assays Non-Small Cell Lung Cancer (NSCLC) Qualitative Detection of EGFR mutations (Exon 18,19,20,21) Qualitative Detection of BRAF mutations (V600E, V600E2, V600D, V600K, V600R & V600M) Qualitative Detection of KRAS mutations Exon 2 (codon 12, 13), Exon 3 (codon 59, 61) & Exon 4 (codon 117, 146) | Special techniques - MOLECULAR BIOLOGY & GENETICS: Automated Molecular Assays using IVD method & kits Biocartis Idylla™ System* Microscopic Evaluation – Automated Procedure – Automation Result Analysis (ΟΕ-505Α_16) NCCN Guidelines NSCLC ESMO Clinical Practice Guidelines (NSCLC) Idylla™ EGFR Mutation Test IFU BCT007551 Idylla™ BRAF Mutation Test IFU BCT005528 Idylla™ KRAS Mutation Test IFU BCT007559 |
| Histopathology |
| Human Body Tissue Fresh and Frozen Tissue; Excisional and Incisional Biopsies and Surgical Resection Specimens | Intraoperative Consultation Gross and Microscopic Examination of tissues in order to identify or exclude morphological and cytological abnormalities for the scope of Intraoperative Consultation | Gross and Microscopic Evaluation – Interpretation of Results MILESTONE PrestoCHILL Frozen Sections Thermo Scientific HM550 Cryostat CryoStar NX50 OVP / EPREDIA Intraoperative Consultation (ΟΕ-505Α_1, ΟΕ-505Α_2, ΟΕ-505Α_3, ΟΕ-505Α_6, ΟΕ-505Α_13, ΟΕ-505Α_14, OE 506A_1, ΟΕ 507_1, ΟΕ 507_6, ΟΕ 507_7,) |

* Commercial names mentioned are reffering to specific analytical method and laboratory work protocol.

WHO: World Health Organizationy

ICD-O: International Classification of Diseases for Oncology

AJCC: American JointCommittee on Cancer

CAP: College of American Pathologists

Site of assessment : Permanent laboratory premises, Antoni Tritsi 15-17, Pilea, Thessaloniki, Greece

Intraoperative Consulation Instalation: Interbalkan Medical Center, Askliliou 10, Farm School Ave. Pilea, Thessaloniki, Greece.

Approved signatories: Eleftherios Eleftheriadis, Thomas Zaramboukas, Themis Konstantinidis,

Nerantzoula Petrakopoulou, Dimitrios Minotakis, Theodoros Tzigkalidis,

Vaios Nikolopoulos, Stylianos Malasidis

The Accreditation Certificate No. 971-3, to ELOT EN ISO 15189:2012, is valid until 30.03.2028.

Athens, 23.11.2023

Christos Nestora

CEO of ESYD