Hellenic Accreditation System

Annex G1/1 to the Certificate No. 1348 SCOPE of ACCREDITATION of the Clinical Laboratory of NOSILEFTIKI A.E. “PRIVATE HOSPITAL AGIOS LOUKAS”

| Materials/Products tested | Types of test / Properties measured | Applied methods / Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| Blood serum | Determination of 17 parameters | Automated biochemical analyzer ABBOTT ALINITY (S/N: AC03557 / SCM20308) 2) Automated biochemical analyzer ABBOTT ALINITY (S/N: AC03939 / SCM20477) Lab Protocol: Ο-12_Alinity c_1.0/01.04.2022 |
|  | Sodium (Na) | Potentiometric ICT |
|  | Potassium (K) | Potentiometric ICT |
|  | Chloride (Cl) | Potentiometric ICT |
|  | Aspartate aminotransferase (AST/SGOT) | Enzymatic - kinetic - colorimetric (NADH) |
|  | Alanine aminotransferase (ALT/SGPT) | Enzymatic - kinetic - colorimetric (NADH) |
|  | Gamma-glutamyl trasferase (γ-GT) | Enzymatic |
|  | Urea (UREA) | Enzymatic - colorimetric (Urease) |
|  | Uric acid (URIC ACID) | Enzymatic – colorimetric (Uricase) |
|  | Direct Bilirubin (DBIL) | Enzymatic - kinetic - colorimetric (Diazo) |
|  | Total Bilirubin (TBIL) | Enzymatic - kinetic - colorimetric (Diazonium) |
|  | Creatinine (CREA) | Enzymatic - colorimetric (Jaffe) |
|  | Triglycerides (TGs) | Enzymatic – colorimetric (GPO) |
|  | Total Cholesterol (CHOL) | Enzymatic – colorimetric (CHO-OEP-HBA) |
|  | HDL Cholesterol (HDL-Chol) | Enzymatic – colorimetric (ASD) |
|  | Glucose (GLUC) | Enzymatic – colorimetric (HEX-G6PDH) |
|  | Calcium (Ca) | Colorimetric (Arsenazo III) |
|  | . C reactive protein (CRP) | Turbidimetric (TA) / Immunoturbidity (ITA) |
| Immunochemical Testing |
| Blood serum | Determination of 8 parameters | Automated biochemical analyzer ABBOTT ALINITY (S/N: SCM20308 / AI20717) 2) Automated biochemical analyzer ABBOTT ALINITY (S/N: SCM20477 / AI20401) Lab Protocol: Ο-11_Alinity i_1.0/01.04.2022 |
|  | Antibodies against human immunodeficiency virus HIV 1/O/2 Enhanced (HIV Ag-Ab Combo | Microbead Chemiluminescence (CMIA) (Non-Competitive Sandwich) (CMIA) |
|  | Hepatitis B virus surface antigen (HBsAg) |  |
|  | Antibodies against Hepatitis C virus (Anti-HCV) |  |
|  | Procalcitonin (PCT) |  |
|  | Thyroglobulin antibodies (anti-TG) |  |
|  | Thyroid Peroxidase Antibodies (anti-TPO) |  |
|  | Thyroid stimulating hormone (TSH) |  |
|  | High sensitivity troponin I (TnI hs) |  |
| Hematological testing |
| Whole blood (EDTA) | Determination of 8 parameters | 1) Hematological Analyzer COULTER DxH600 (S/N: ΒΑ50047) 2) Hematological Analyzer COULTER DxH600 (S/N: ΒΒ05630) Lab Protocol: Ο-14_Coulter_Beckman_ DxH600_1.0/01.04.2022 |
|  | White Blood Cells (WBC) | Coulter Principle |
|  | Red Blood Cells (RBC) | Coulter Principle |
|  | Hemoglobin (HGB) | Photometric |
|  | Hematocrit (HCT) | Calculated |
|  | Mean Corpuscular Volume (MCV) | Direct measument |
|  | Mean Corpuscular Ηb (MCH) | Calculated |
|  | Mean Cell Hemoglobin Concentration (MCHC) | Calculated |
|  | Platelets (PLT) | Coulter Principle |
| Blood Coagulation Testing |
| Blood plasma (sodium citrate) | Determination of 5 parameters | 1) Coagulation Analyzer STAGO STA Compact Max3 (SN: 8114949) 2) Coagulation Analyzer STAGO STA Compact Max3 (SN: 9075438) Lab Protocol: Ο-13_Stago_Compact_Max_1.0/01.04.2022 |
|  | Prothrombin time (PT/ International Normlized Ratio) | Calculation from PT prothrombin time |
|  | Prothrombin time (PT %) | Clot detection |
|  | Prothrombin time (PT sec) | Clot detection |
|  | Activated partial thromboplastin time (aPTT) | Clot detection |
|  | Fibrinogen (FIB) | Clot detection |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

Site of assessment: Laboratory premises: Charilaou Trikoupi 3, P.O. 552 36, Panorama, Thessalonikis, Greece

Approved Signatories: Vasileios Nitsas, Lefkothea Vogiatzoglou, Eleni Sotiriadou, Georgia Mathiopoulou

The Accreditation Certificate No.1348 to ELOT EN ISO/IEC 15189:2012, is valid until 02.05.2028.

Athens, 3rd May 2023

Christos Nestoras

CEO  of ESYD