Hellenic Accreditation System

Annex F1/17 to the Certificate No. 411-5 SCOPE of ACCREDITATION Of the Laboratory of Epirus Laboratory of Quality Control. Papathanasiou I.- Lambropoulos I. G.P.

| Tested materials/ products | Types of test/ Properties to be measured | Applied Methods/ Techniques to be used |
| --- | --- | --- |
| Surface, potable, underground water | 1. Determination of pH | APHA*4500 Η+-B, 24rd edition, 2023 |
|  | 2. Determination of ammonium | APHA*4500 ΝΗ3-F 24rd edition, 2023 |
|  | 3. Determination of nitrites | APHA* 4500 NO2, 24rd edition, 2023 |
|  | 4. Determination of nitrates | APHA* 4500 NO3 -B (UV screening method) 24rd edition, 2023 |
|  | 5. Determination of Conductivity | APHA* 2510 B, 24rd edition, 2023 |
|  | 6. Determination of Sulfates | APHA*, 4500-SO42- E Turbidimetric Method – F, 24rd edition, 2023 |
|  | 7. Determination of Chlorides | APHA*, 4500-Cl- B Argentometric Method – F, 24rd edition, 2023 |
|  | 8. Determination of readily liberated cyanide & free cyanide | Merck Spectroquant 1.09701 - photometric method analogous to EPA and ISO 6703 |
|  | 9. Determination of turbidity | Internal method based on APHA*2130, TURBIDITY, 24rd edition, 2023 |
| Potable water | 1. Determination of colour | APHA*2120-C, COLOUR, 24rd edition, 2023 |
|  | 2. Determination of residual chlorine | Manufacturer method of Martini instruments based on APHA 4500-Cl G, 24rd edition, 2023 |
|  | 3. Determination of iron (Fe) | Internal method based on APHA 3111 B-Fe, FAAS, 24rd edition, 2023 |
|  | 4.Determination of manganese (Mn) | Internal method based on APHA 3111 B-Mn, FAAS, 24rd edition, 2023 |
|  | 5.Determination of sodium (Na) | Internal method based on APHA 3500-Na Β Flame photometry, 24rd edition, 2023 |
|  | 6.Determination of potassium (K) | Internal method based on APHA 3500-K Β, Flame photometry, 24rd edition, 2023 |
| Raw Milk | 1. Determination of freezing point | Determination of freezing point – Thermistor cryoscope method, ISO 5764:2009, IDF 108:2009/Annex C |
|  | 2. Determination of fat and protein | Manufacturer method of automated analyzer, Mid Infrared Spectrometry (FTIR) (Lactoscope, Delta Instruments), based on ISO 9622:2013 (IDF 141). |
|  | 3. Detection of goat milk in sheep milk. | Method of radial immunodiffusion of goat milk in sheep milk SRID test IDBIOTECH |
| 4. Cheese and processed cheese | 1. Determination of fat content | ISO 23319:2022 |
|  | 2. Determination of dry matter | ISO 5534: 2004 |
|  | 3.Determination of sodium chloride | Internal method based on AOAC Official Method 935.43 |
|  | 4.Determination of nitrogen according to Kheldahl method | Internal method based on ISO 8968-1:2014 and ISO 1871:2009 |
| 5.Animal Feed | 1..Determination of nitrogen according to Kheldahl method | Internal method based on ISO 5983-1:2005 and ISO 1871:2009 |
| 6. Wastewater | 1.Determination of COD | Merck Spectroquant 1.09772-1.09773– photometric method based on ISO 8466-1 |
|  | 2.Determiantion of BOD5 | Manufacturer method of VELP based on APHA 5210-5-DAY BOD TEST, 24rd edition, 2023 |
|  | 3.Determination of total suspended solids (TSS) | Internal method based on APHA, 2540 D.Total Suspended Solids Dried at -103-105oC 24rd edition, 2023 |
| Microbiological tests |
| 1.Potable, surface and sea water | 1.Detection and enumeration of coliforms and E. coli | ISO 9308-1: 2014 |
|  | 2.Detection and enumeration of Enterococcus | ISO 7899-2: 2000 |
| 2.Potable and surface water | 1. Enumeration of culturable micro-organisms - Colony count by inoculation in a nutrient agar culture medium (22 oC) | ISO 6222:1999 |
|  | 2. Enumeration of culturable micro-organisms - Colony count by inoculation in a nutrient agar culture medium (37 oC) | ISO 6222:1999 |
|  | Enumeration of Cl. perfringens | ΕLΟΤ EN ISO 14189:2013 |
| 3.Food | Detection of Listeria monocytogenes/Listeria spp | BIORAD (AFNOR No:BRD 07/4-9/98) |
| 4. Food and feedstuffs | 1.Detection of Salmonella spp | BIORAD (AFNOR No:BRD 07/11-12/05) |
|  | 2. Enumeration of microorganisms -Colony-count technique at 30 oC | ISO 4833-1:2013 |
|  | 3.Detection and enumeration of coagulase –positive staphylococci | ISO 6888-2:2021 |
|  | 4. Detection and enumeration of β-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 5.Detection and enumeration of Enterobacteriaceae | ISO 21528-2: 2017 |
|  | 6. Detection and enumeration of Coliforms | ISO 4832:2006 |
| 5.Milk | 1. Detection of antimicrobial substances (b-lactams, tetracyclines, macrolides, aminoglycosides, sulphonamides) | Diffusion method, DELVO TEST NT/DSM, validated according to the EC guidance document for the validation of screening methods of the 20th January 2010 |
|  | Detection of presence of b-lactams and tetracyclines in milk | Specific antigen antibody reaction - immunochromatography, Analytic planet test |
| 6. Animal faeces and in environmental samples from the primary production stage | 1. Detection of Salmonella spp( except svs typhi ,paratyphi) | ISO 6579-1:2017 |
| 7. Food and animal feeding stuffs with aw>0.95 | Εnumeration of yeasts and moulds | ΙSO 21527-1:2008 |
| 8. Food and animal feeding stuffs with aw≤0.95 | Εnumeration of yeasts and moulds | ISO 21527-2:2008 |
| Sampling |
| 1. Potable water and sea water | 1. Determination of microbiological parameters | ISO 19458:2006 ISO 5667-3: 2018 ISO 5667-14: 2014 |

*  American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 24rd Edition, 2023

Site of assessment: Laboratory permanent premises, KA΄ February 192, Ioannina

Approved Signatories:  Lambropoulos I.,   Lagou M.

This scope of Accreditation replaces the previous  one dated   03.07.2023

The Accreditation Certificate No. 411-5 to ELOT EN ISO/IEC 17025:2017 is valid until 11.02.2029.

Athens, 12.02.2024

Christos Nestoras

CEO  of  ESYD

# Text boxes

###### Chemical tests