Hellenic Accreditation System

Annex F1/12 to the Certificate No.774-3 SCOPE of ACCREDITATION of POLLUTION CHEMISTS S.A.

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| 1. Potable, surface, and underground water | 1. Determination of conductivity | ΕΛΟΤ ΕΝ 27888:1993 |
|  | 2. Determination of pH | ΕΛΟΤ 658:1983 |
|  | 3. Determination of ammonium NH4 | HACH LCK 304 |
|  | 4. Determination of Nitrate ions NO3 | HACH LCK 339 |
|  | 5. Determination of Nitrite ions NO2 | HACH LCK 341 |
|  | 6. Determination of Total hardness | HACH LCK 327 |
|  | 7. Determination of Calcium Ca | HACH LCK 327 |
|  | 8. Determination of Magnesium Mg | HACH LCK 327 |
|  | 9. Determination of chloride ion Cl | HACH LCK 311 |
|  | 10. Determination of phosphate ions PO4 | HACH LCK 349 |
|  | 11. Determination of sulphate SO4 | HACH METHOD 8051 |
|  | 12. Determination of alkalinity | IN HOUSE METHOD BASED ON APHA 2320 |
|  | 13. Determination of Iron Fe | HACH LCK 521 |
|  | 14. Determination of Copper Cu | HACH LCK 329 |
|  | 15. Determination of total Cr | HACH LCS 313 & HACH LCK 313 |
|  | 16. Determination of Cr (IV) | HACH LCS 313 & HACH LCK 313 |
|  | 17. Determination of Zinc-Zn | HACH LCS 360 & HACH LCK 360 |
|  | 18. Determination of Manganese -Mn | HACH LCW 532 |
|  | 19. Determination of TDS | BASED ON APHA 2450C |
| 2. Wastewater | 1. Determination of COD | HACH LCK 314,514 |
|  | 2. Determination of BOD5 | BASED ON APHA 5210D |
|  | 3. Determination of (SS) suspended solids | BASED ON APHA 2450D |
|  | 4. Determination of TDS | BASED ON APHA 2450C |
|  | 5. Determination of total Nitrogen-TN | HACH LCK 138 |
|  | 6. Determination of total Phosphorus- TP | HACH LCK 348 |
|  | 7. Determination of conductivity | ΕΛΟΤ ΕΝ 27888:1993 |
|  | 8. Determination of pH | ΕΛΟΤ 658:1983 |
|  | 9. Determination of ammonium-NH4 | HACH LCK 304 |
|  | 10. Determination of Nitrate ions- NO3 | HACH LCK 339 |
|  | 11. Determination of Iron -Fe | HACH LCK 521 |
|  | 12. Determination of Copper -Cu | HACH LCK 329 |
|  | 13. Determination of total Cr | HACH LCS 313 & HACH LCK 313 |
|  | 14. Determination of Cr (IV) | HACH LCS 313 & HACH LCK 313 |
|  | 15. Determination of Zinc-Zn | HACH LCS 360 & HACH LCK 360 |
|  | 16. Determination of Manganese -Mn | HACH LCW 532 |
| 3. Swimming pools and sea water | 1. Determination of conductivity | ΕLΟΤ ΕΝ 27888:1993 |
|  | 2. Determination of pH | ΕLΟΤ 658:1983 |
| 4. Swimming pools water | Determination of alkalinity | IN HOUSE METHOD BASED ON APHA 2320 |
| Microbiological tests |
| 1. Animal faeces and environmental samples from the primary production stage | 1. Detection of Salmonella spp. (ex svs typhi,paratyphi) | ISO 6579-1 :2017 |
|  | 2. Enumeration of Campylobacter spp | ISO 10272-2:2017 |
| 2. Food and animal feeding | 1. Detection of Salmonella spp. (ex svs typhi,paratyphi) | ISO 6579-1 :2017 |
|  | 2. Enumeration of the total aerobic micro-organisms at 30°C | ISO 4833-1:2013/AMD1:2022 |
|  | 3. Detection of Listeria monocytogenes | ISO 11290-1:2017 |
|  | 4. Enumeration of Enterobacteriaceae | ISO 21528-2:2017 |
|  | 5.Enumeration of Bacillus cereus | ISO 7932:2004/AMD 1:2020 |
|  | 6. Enumeration of Pseudomonas spp | ISO 13720:2010 |
|  | 7. Enumeration of β-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 8. Enumeration of Campylobacter spp | ISO 10272-2:2017 |
|  | 9. Enumeration of Clostridium perfringens | ISO 7937:2004 |
| 3. Food, animal feeding and environmental samples from food processing areas | 1. Horizontal method for the enumeration of coliforms | ISO 4832:2006 |
|  | 2. Enumeration of coagulase – positive staphylococci (Staphylococcus aureus and other species) | ISO 6888-2:2021 |
| 4. Food and animal feeding stuffs with aw> 0,95 | Enumeration of yeasts and moulds | ISO 21527-1:2008 |
| 5. Food and animal feeding stuffs with aw ≤ 0,95 | Enumeration of yeasts and moulds | ISO 21527-2:2008 |
| 6. Water (water for human consumption, surface, water, underground water), pool water, sea water | 1. Enumeration of culturable micro-organisms at 222οC and 362 οC | ISO 6222:1999 |
|  | 2. Detection and enumeration of Escherichia coli and coliform bacteria | ISO 9308-1:2014 |
|  | 3. Detection and enumeration of intestinal enterococci | ISO 7899-2000 |
|  | 4. Detection and enumeration of Cl. perfringens (including spores) | ΙSO 14189:2013 |
| 7. Water (water for human consumption, surface, water, underground water), Pool water | 5. Enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
| 8. Wastewater | Detection and enumeration of intestinal enterococci | ISO 7899-2000 |
| 9. Processed Wastewater | Detection and enumeration of Escherichia coli and coliform bacteria | ISO 9308-1:2014 |
| Sampling |
| 1. Surfaces from food processing areas using contact plates | Horizontal methods for sampling techniques for microbiology tests- Enumeration of the total aerobic micro-organisms at 30°C | ISO 18593:2018 |
| 2. Surfaces from food processing areas using cotton swabs | Horizontal methods for sampling techniques for microbiology tests | ISO 18593:2018 |

Site of assessment: Permanent laboratory premises, 1 Frizi & Papanastasiou str., Chalkida, Greece.

Approved signatory: A. Tsapournioti, G. Tsapourniotis.

This Scope of Accreditation replaces the previous one dated 19.09.2023.

The Accreditation Certificate No.774-3, to ELOT EN ISO/IEC 17025:2017, is extended until 14.05.2024.

Athens, 02.11.2023

Christos Nestoras

CEO of ESYD