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Annex F1/C4 to Certificate No. 44-9
SCOPE of ACCREDITATION 

of the

Testing Laboratory
of
VELTIA S.A. (Veltia Labs for Life) 

(Laboratory in Heraklion, Crete)
	Materials / Products Tested
	Types of test / Properties to be measured
	Applied Standards / Techniques to be used

	
	Chemical Tests
	

	1.  Olive oil, pomace oil, Vegetable fats and oils
	1. Determination of free fatty acids, cold method
	COI/T.20/Doc No 34

as in force 

ISO 660:2020

	
	2. Determination of peroxide value
	COI/T.20/Doc No 35

as in force 

ISO 3690:2017

	
	3. Determination of moisture and volatiles at 103(C
	ISO 662:2016-Method B

	
	4. Determination of the extinction coefficient K (at 270 nm and 232 nm) and the parameter ΔK
	COI/T.20/Doc No 19

as in force

	2.  Potable, surface and ground water, intended or not for human consumption 
Potable, surface and ground water, intended or not for human consumption 
(continued) 
	1.  Determination of pH
	O.17.009 - 4500-H, B (APHA, Standard Methods lat. ed.) 

	
	2. Determination of Conductivity
	O.17.011 - 2510 B (APHA, Standard Methods lat. ed.) 

	
	3. Determination of Sulphate ions
	O.17.005 - Internal method based on HACH Application DOC 316.53.01135

	
	4. Determination of Hardness
	O.17.006 - Modified method based on 2340 C (APHA, Standard Methods lat. ed.)

	
	5. Determination of Nitrite ions
	O.17.003 - Modified method based on 4500 NO2 -B (APHA, Standard Methods lat. ed.)

	
	6. Determination of Ammonium ions
	O.17.002 - Modified method based on 4500 NH3 -F (APHA, Standard Methods lat. ed.) 

	
	7. Determination of Nitrate ions
	O.17.001 - Modified method based on 4500 ΝΟ3- -Β (screening method) (APHA, Standard Methods lat. ed.) 

	
	8. Determination of Turbidity
	O.17.008 - Internal method based on HACH Application DOC 022.98.80041

	
	9. Determination of free Chlorine
	O.17.004 - Internal method based on HACH Application

DOC 316.53.01450 and 

DOC 316.53.01449

	
	10. Determination of Total Chlorine.
	O.17.004 - Internal method based on HACH Application

DOC 316.53.01450 and 

DOC 316.53.01449

	
	11. Calculation of Combined Chlorine
	Calculated

	
	12. Potentiometric determination of Chloride ions
	Ο.17.010 - Internal method based on HACH Application DOC 316.52.93091 and

ISO 9297:2000 

	
	13. Determination of Calcium
	O.17.012 - Modified method based on 3500 Ca -Β (APHA, Standard Methods lat. ed.)

	
	14. Determination of Magnesium
	O.17.012 - Modified method based on 3500 Mg -Β (APHA, Standard Methods lat. ed.)

	
	15. Determination of total Alkalinity
	Ο.17.007 - In house method based on: HACH Application DOC 316.52.93085 and

ISO 9963-1:1994

	
	16. Determination of Color 
	O.17.020 - Internal method based on HACH Application

DOC316.53.01252

	3. Swimming pool water
	1. Determination of pH
	O.17.009 - 4500-H, B (APHA, Standard Methods lat. ed.) 

	
	2. Determination of total Alkalinity
	Ο.17.007 - Intrenal method based on HACH Application DOC 316.52.93085 and 

ISO 9963-1:1994 

	
	3. Determination of Turbidity
	O.17.008 - Internal method based on HACH Application DOC 022.98.80041

	
	4. Determination of Free Chlorine
	O.17.004 - Internal method based on HACH Application

DOC 316.53.01450 and 

DOC 316.53.01449

	
	5. Determination of Total Chlorine.
	O.17.004 - Internal method based on HACH Application

DOC 316.53.01450 and 

DOC 316.53.01449

	
	6. Calculation of Combined Chlorine
	Calculated

	4.  Wastewater
	1. Determination of pH
	Ο.17.009 - Internal method based on Standard Methods 4500-H, B

	
	2. Determination of Conductivity
	Ο.17.011 - Internal method based on Standard Methods 2510 B


	
	3. Determination of Chloride ions
	Ο.17.010 - Internal method based on HACH DOC316.52.93091 based on ISO 9297:2000

	
	4. Determination of Turbidity
	Ο.17.008 - Internal method based on HACH DOC022.98.80041

	
	5. Determination of BOD
	Ο.17.017 - Internal manometric method based on Standard Methods 5210 D

	
	6. Determination of COD
	Ο.17.016 - Internal method based on HACH DOC312.48.94012_1Ed_LCK314 και DOC312.53.94003_1Ed_LCK114 της HACH.

	
	7. Determination of TSS
	Ο.17.013 - Internal method based on  ISO 11923:1997

	
	8. Determination of TN
	Ο.17.015 - Internal method based on HACH DOC312.48.94004-LCK138

	
	9. Determination of TP
	Ο.17.014 - Internal method based on HACH DOC312.48.94021-LCK349

	
	10. Determination of  Nitrate Nitrogen
	Ο.17.018 - Internal method based on HACH DOC312.48.94016 - LCK339

	
	11. Determination of Ammonia  Nitrogen
	Ο.17.019 - Internal method based on HACH DOC 312.48.94009 - LCK304 & 14795490 AD 305 O

	
	12. Determination of Color
	O.17.020 - Internal method based on HACH Application

DOC316.53.01252

	Microbiological Tests

	1. Drinking water, surface and groundwater, intended or not for human consumption 
and swimming pool water

	1. Enumeration of culturable microorganisms at 22 ( 2 οC &
     at 36 ( 2 οC
	ISO 6222:1999

	
	2. Enumeration of E. coli and coliform bacteria
	ISO 9308-1:2014 & Amd1:2016

	
	3. Enumeration of intestinal enterococci 
	ISO 7899-2: 2000

	
	4. Enumeration P. aeruginosa   
	ISO 16266:2006

	
	5. Enumeration of Cl. perfringens (including spores)
	ISO 14189:2013

	
	6. Enumeraion of Legionella spp. 
	ISO 11731:2017

	
	7. Detection of Salmonella spp
	ISO 19250:2010

	2. Sea Water
	1. Enumeration of E. coli and coliform bacteria
	ISO 9308-1:2014 & Amd1:2016

	
	2. Enumeration of intestinal enterococci
	ISO 7899-2: 2000

	3. Treated wastewater from treatment plant
	1. Enumeration of E. coli and coliform bacteria
	ISO 9308-1:2014 & Amd1:2016

	4. Food
	1. Enumeration of micro-organisms at 30 οC
	ΙSO 4833-1:2013

	
	2. Enumeration of Ε. coli beta-glucuronidase (+)
	ISO 16649-2:2001

	
	3. Enumeration of coagulase-positive staphylococci  

     (Staphylococcus aureus and other species)
	ISO 6888-2:2021

	
	4. Detection of Salmonella spp. (except serovars Typhi & Paratyphi)
	ISO 6579-1:2017 / Amd. 1:2020

	
	5. Detection of Listeria monocytogene
	ISO 11290-1:2017 (Detection)

	
	6. Enumeration of Coliforms
	ISO 4832:2006

	
	7. Enumeration of Enterobacteriaceae
	ISO 21528-2:2017


	
	8. Enumeration of sulfite-reducing Clostridium spp.
	ISO 15213-1:2023

	
	9. Enumeration of Cl. perfringens 
	ISO 15213-2:2023

	
	10. Enumeration of Yeasts and Moulds
	AFNOR BKR 23/11 – 12/18


	
	11. Detection of Vibrio parahaemolyticus
	ISO 21872-1:2017

	
	12. Enumeration of presumptive Bacillus cereus 
	ISO 7932:2004

	5. Environmental samples from areas of food production and food handling (SWAB TESTS)
	1. Enumeration of micro-organisms at 30 οC
	ΙSO 4833-1:2013 & ISO 18593:2018

	
	2. Enumeration of Ε. coli beta-glucuronidase (+)
	ISO 16649-2:2001 & ISO 18593:2018

	
	3. Enumeration of coagulase-positive staphylococci  

     (Staphylococcus aureus and other species)
	ISO 6888-2:2021 & ISO 18593:2018

	
	4. Detection of Salmonella spp. (except serovars Typhi & Paratyphi)
	ISO 6579-1:2017 / Amd. 1:2020 & ISO 18593:2018

	
	5. Detection of Listeria monocytogene
	ISO 11290-1:2017 (Detection)
& ISO 18593:2018

	
	6. Enumeration of Coliforms
	ISO 4832:2006
& ISO18593:2018

	
	7. Enumeration of Enterobacteriaceae
	ISO 21528-2:2017
& ISO18593:2018

	
	8. Enumeration of Yeasts and Moulds


	AFNOR BKR 23/11 – 12/18

& ISO18593:2018



	Sampling

	1. Samples from surfaces using swabs and contact plates
	Horizontal methods for sampling technics for microbiological tests
	ISO 18593:2018

	2. Drinking water, surface water, groundwater, swimming pool water, wastewater 
	1. Determination of physical-chemical parameters
	ISO 5667-1:2023

ISO 5667-3:2024 

ISO 5667-5:2006

ISO 5667-10:2020

ISO 5667-11:2009

	
	2. Determination of migroorganisms
	ISO 5667-1:2023

ISO 5667-3:2024 

ISO 5667-5:2006

ISO 5667-10:2020 

ISO 5667-11:2009 

ISO 19458:2006  


Site of assesement: Laboratory permanent premises – Ekavis & Petraki 1, 71304, Heraklion, Crete
Approved signatories: A. Giannousios, D. Koraki, P. Konstantinou, I. Kaidatzis, Ο. Paraskevas, 
                                      M. Stamboulidou, M. Tamiolakis
This Scope of Accreditation replaces the previous one, dated 01.08.2025.

The Accreditation Certificate No. 44-9, according to ELOT EN ISO/IEC 17025:2017, is valid until 26.11.2026.
Athens, 17th of November 2025
                                                                                                                                                       Konstantinou Evangelos Apostolos
                                                                                                                                            CEO of ESYD
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