Hellenic Accreditation System

Annex F1/16 to the Certificate No. 553-6

SCOPE of ACCREDITATION of the Testing Laboratory of LABOR S.A

| Materials / Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| --- | --- | --- |
| I. Electrical Tests |
|  | Dielectric strength |  |
|  | (0-4,2) kV AC |  |
| Edison screw lampholders |  | EN IEC 60238:2018 +A1:2018 +A2:2021 +A11:2021 §15.3 & §15.4 |
| Plugs, fixed or portable socket-outlets and appliance inlets for industrial purposes |  | ΕΝ 60309-1:1999 +Α1:2007 +A2:2012 §19.3 |
|  |  | IEC 60309-1:2021 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §13.3 & §16.3 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 + Α1:2013 + Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 + Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 + Α11:2019 + Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 + Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021 +Α2:2021 +Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 §10.2.2 & §4.9.2 & §4.4.5 ΕΝ 60598-2-20:2015 §20.15 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §8.8.3 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §8.8.3 & §15.5.2 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 §16.2 |
|  |  | IEC 60669-1:2017 |
| Boxes and enclosures for electrical accessories for household and similar fixed electrical installations |  | EN IEC 60670-1:2021 +A11:2021 §14.3 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §13.2 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §15.2 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §17.2 |
| Information technology equipment |  | ΕΝ 60950-1:2006 +A1:2010 +A11:2009 +A12:2011+Α2:2013 §5.2 |
|  |  | IEC 60950-1:2005 +A1:2009 +A2:2013 §5.2 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §6.8 |
|  |  | IEC 61010-1:2010 +A1:2016 |
| Conduit systems for cable management |  | EN 61386-1:2008 +Α1:2019 §11.3 EN IEC 61386-21:2021 EN IEC 61386-22:2021 EN IEC 61386-23:2021 |
|  |  | IEC 61386-1:2008 +A1:2017 §11.3 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §12 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.9.2 |
|  |  | EN IEC 61439-2:2021 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §18.1 & §18.3 & §18.4 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §12.7 |
| DC electric vehicle charging station |  | EN 61851-23:2014 /AC:2016 §11.4 |
|  |  | IEC 61851-23:2014 §11.4 |
| DC EV supply equipment where protection relies on electrical separation |  | EN IEC 61851-25:2021 §12.7 |
| Electric toys |  | EN IEC 62115:2020+A11:2020 §10 & §12 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.4.9 |
| Stationary dental units and dental patient chairs |  | EN ISO 7494-1:2018 §7.3 |
|  | Impulse voltage dielectric test (0-12kV) |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §14 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §20.1.12 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 Annex A §4 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §6.8.3.3 |
|  |  | IEC 61010-1:2010 +A1:2016 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 Annex P.3.4.2 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.9.3 |
|  |  | EN IEC 61439-2:2021 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §11.4.2 |
| DC electric vehicle charging station |  | EN 61851-23:2014 /AC:2016 |
|  |  | IEC 61851-23:2014 |
| DC EV supply equipment where protection relies on electrical separation |  | EN IEC 61851-25:2021 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.4.2.4 & § 5.4.5.2 |
| Insulation coordination for equipment within low-voltage supply systems |  | ΕΝ IEC 60664-1:2020 /ΑC:2020 §6.1.2.2.1 |
|  | Touch current and protective conductor current |  |
| Electrical equipment |  | EN 60990:2016 |
|  |  | IEC 60990:2016 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §13.2 & §16.2 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 + A11:2012 |
|  |  | + A12:2016 + AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009+A1:2016+A2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 §10.2 & §10.2.1 & §4.9.2 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §8.7.4 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §8.7.4 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §13.3 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §13 |
| Information technology equipment |  | ΕΝ 60950-1:2006 +A1:2010 +A11:2009 +A12:2011+Α2:2013 §5.1 |
|  |  | IEC 60950-1:2005 +A1:2009 +A2:2013 §5.1 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §6.3 |
|  |  | IEC 61010-1:2010 +A1:2016 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 10.4 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §18.5 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 §18.101, §18.102 |
|  |  | IEC 61558-2-15:2022 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §12.6 |
| DC electric vehicle charging station |  | EN 61851-23:2014 /AC:2016 §11.7 |
|  |  | IEC 61851-23:2014 §11.7 |
| DC EV supply equipment where protection relies on electrical separation |  | EN IEC 61851-25:2021 §12.6 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.7 |
| Stationary dental units and dental patient chairs |  | EN ISO 7494-1:2018 §7.3 |
|  | Insulation resistance |  |
|  | (0,1-200) ΜΩ with 500V DC |  |
| Electrical installations in ships |  | IEC 60092-504:2016 |
| Edison screw lampholders |  | EN IEC 60238:2018 +A1:2018 +A2:2021 +A11:2021 §15.3 & §15.4 |
| Plugs, fixed or portable socket-outlets and appliance inlets for industrial purposes |  | ΕΝ 60309-1:1999 +Α1:2007 +A2:2012 §19.2 |
|  |  | IEC 60309-1:2021 |
| Low voltage electrical installations - Verification |  | HD 60364-6:2016 +Α11:2017 +A12:2017 §6.4.3.3 |
|  |  | IEC 60364-6:2016 §6.4.3.3 |
| Luminaires |  | EN IEC 60598-1:2021 §10.2 & §10.2.1 & §4.9.2 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 §16.1 IEC 60669-1:2017 |
| Boxes and enclosures for electrical accessories for household and similar fixed electrical installations |  | EN IEC 60670-1:2021 +A11:2021 §14.2 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §13.1 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §17.1 |
| Bayonet lampholders |  | EN 61184:2017 §15.3 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §11 Annex L8.2 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Conduit systems for cable management |  | EN 61386-1:2008 +Α1:2019 §11.3 EN IEC 61386-21:2021 EN IEC 61386-22:2021 EN IEC 61386-23:2021 |
|  |  | IEC 61386-1:2008+A1:2017 §11.3 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §11.9 |
|  |  | EN IEC 61439-2:2021 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §18.2 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §12.5 |
| DC electric vehicle charging station |  | EN 61851-23:2014 /AC:2016 §11.5 |
|  |  | IEC 61851-23:2014 §11.5 |
| DC EV supply equipment where protection relies on electrical separation |  | EN IEC 61851-25:2021 §12.5 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex M.6.2 |
| Hold, ballast and dry space water level |  | IACS*** SC180:Sept.2003 §3.4.1 |
|  | Input power and current |  |
|  | (0,05-20) kW / (0-600)Α |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §10.1 & §10.2 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §4.11 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §4.11 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §11 |
| Information technology equipment |  | ΕΝ 60950-1:2006 +A1:2010 +A11:2009 +A12:2011+Α2:2013 §1.6.2 |
|  |  | IEC 60950-1:2005 +A1:2009 +A2:2013 §1.6.2 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §5.1.3 |
|  |  | IEC 61010-1:2010 +A1:2016 |
| Electric toys |  | EN IEC 62115:2020+A11:2020 §8 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex B2.5, §6.2.2 |
| Stationary dental units and dental patient chairs |  | EN ISO 7494-1:2018 §7.3 |
|  | Earthing resistance (0-7) Ω |  |
| Edison screw lampholders |  | EN IEC 60238:2018 +A1:2018 +A2:2021 +A11:2021 §12.2 |
| Plugs, fixed or portable socket-outlets and appliance inlets for industrial purposes |  | ΕΝ 60309-1:1999 +Α1:2007 +A2:2012 §10.2 |
|  |  | IEC 60309-1:2021 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §27.5 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 §7.2 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §8.6.4 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §8.6.4 |
| Boxes and enclosures for electrical accessories for household and similar fixed electrical installations |  | EN IEC 60670-1:2021 +A11:2021 §11.1 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 §11.4 |
|  |  | IEC 60669-1:2017 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §9.3.1 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §26.5 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §11.5 IEC 60884-2-5:2017 §14.101 |
| Information technology equipment |  | ΕΝ 60950-1:2006 +A1:2010 +A11:2009 +A12:2011+Α2:2013 §2.6.3.4 |
|  |  | IEC 60950-1:2005 +A1:2009 +A2:2013 §2.6.3.4 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §6.5.2 |
|  |  | IEC 61010-1:2010 +A1:2016 |
| Conduit systems for cable management |  | EN 61386-1:2008 +Α1:2019 §11.2 EN IEC 61386-21:2021 EN IEC 61386-22:2021 EN IEC 61386-23:2021 |
|  |  | IEC 61386-1:2008+A1:2017 §11.2 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §9.5.2 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.5.2 |
|  |  | EN IEC 61439-2:2021 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §24.4 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Bayonet lampholders |  | EN 61184:2017 §12.3 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.6.4.1 |
| Stationary dental units and dental patient chairs |  | EN ISO 7494-1:2018 §7.3 |
|  | Load discharge |  |
|  | (0-230 V) AC |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §22.5 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 §8.2.7 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §8.4.3 §8.4.4 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §8.4.3 §8.4.4 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §9.1 |
| Information technology equipment |  | ΕΝ 60950-1:2006 +A1:2010 +A11:2009 +A12:2011+Α2:2013 §2.1.1.7 |
|  |  | IEC 60950-1:2005 +A1:2009 +A2:2013 §5.2 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §6.6.2 §6.10.3 |
|  |  | IEC 61010-1:2010 +A1:2016 §6.6.2 §6.10.3 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §10.2 & Annex L |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §9.2 & §9.3 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §7.2.3 |
| DC electric vehicle charging station |  | EN 61851-23:2014 /AC:2016 |
|  |  | IEC 61851-23:2014 |
| DC EV supply equipment where protection relies on electrical separation |  | EN IEC 61851-25:2021 |
| Electric toys |  | EN IEC 62115:2020+A11:2020 §13.8 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.2.2 |
| Stationary dental units and dental patient chairs |  | EN ISO 7494-1:2018 §7.3 |
|  | Categorization of electrical energy sources according to contact hazard |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §8.1.4 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §8.4.3 §8.4.4 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §8.2 §8.4 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §9.1 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §6.3 |
|  |  | IEC 61010-1:2010 +A1:2016 §6.3 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §10.4 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §19.8 & §19.20.1 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.2.2 & §6.2.2 |
| Stationary dental units and dental patient chairs |  | EN ISO 7494-1:2018 §7.3 |
|  | Endurance test |  |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §17 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Temperature sensing controls |  | EN IEC 60730-2-9:2019 + A1:2019 + A2:2020 §17 |
|  | Thermal endurance test for windings of ballasts |  |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §13 |
|  |  | IEC 61347-1:2015 +A1:2017 |
|  | Fault conditions – Lamp Controlgear |  |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §14 |
|  |  | IEC 61347-1:2015 +A1:2017 EN 60598-2-20:2015 §20.13.4 |
|  | Mandrel Test |  |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 Annex N |
|  |  | IEC 61347-1:2015 +A1:2017 |
|  | Measurement of capacitor voltage |  |
| Lamp controlgear - Ballasts for fluorescent lamps |  | EN 61347-2-8:2001 + AC:2003 + A1:2006 + AC:2010 §14.2 |
|  |  | IEC 61347-2-8:2000 + A1:2006 §14.2 |
|  | Functional safety (EOFx) |  |
| Lamp controlgear - d.c. or a.c. supplied electronic controlgear for LED modules |  | EN 61347-2-13:2014 + A1:2017 §J.11 |
|  |  | IEC 61347-2-13:2013 + A1:2016 §J.11 |
|  | Operating condition - Lamp controlgear |  |
| Lamp controlgear - d.c. or a.c. supplied electronic controlgear for LED modules |  | EN 61347-2-13:2014 + A1:2017 §J.5 & J.6 |
|  |  | IEC 61347-2-13:2013 + A1:2016 §J.5 & J.6 |
|  | Control of maximum output voltage |  |
| Lamp controlgear - d.c. or a.c. supplied electronic controlgear for LED modules |  | EN 61347-2-13:2014 + A1:2017 §21 |
|  |  | IEC 61347-2-13:2013 + A1:2016 §21 |
|  | Output voltage and output current of transformers under load |  |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §11.1 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | No-load output voltage of transformers |  |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §12 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | Short-circuit voltage measurement of transformers |  |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §13 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | Transformer overload protection devices |  |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §20.12 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | Separation between external circuits and earth test |  |
| Audio/video, information and communication technology equipment |  | ΕΝ 62368-1:2020+Α11:2020 §5.4.11 |
|  |  | IEC 62368-1:2018 §5.4.11 |
|  | Drop test of equipment containing a secondary lithium battery |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex M.4.4 |
|  | Tests on Resistors which operate as safeguards |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex G.10 |
|  | IC that includes a capacitor discharge function (ICX) |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex G.16 |
|  | Contact resistance test for terminals and connections |  |
| Luminaires |  | EN IEC 60598-1:2021 §15.5.2.1 & §15.6.3.1 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §8 |
|  |  | IEC 61347-1:2015 +A1:2017 |
|  | Heating tests for terminals and connections |  |
| Luminaires |  | EN IEC 60598-1:2021 §15.5.2.2 & §15.6.3.2.2 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §8 |
|  |  | IEC 61347-1:2015 +A1:2017 |
|  | Withstand test of electro-mechanical contact systems |  |
| Luminaires |  | EN IEC 60598-1:2021 §4.11.6 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §17 |
|  |  | IEC 61347-1:2015 +A1:2017 |
|  | Moisture resistance test with sodium chloride |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §15.2 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
|  | Tracking test |  |
|  | (0-600) V AC |  |
| Solid insulating materials |  | EN IEC 60112:2020 |
| Edison screw lampholders |  | EN IEC 60238:2018 +A1:2018 +A2:2021 +A11:2021 §21.5 |
| Plugs, fixed or portable socket-outlets and appliance inlets for industrial purposes |  | ΕΝ 60309-1:1999 +Α1:2007 +A2:2012 §27.5 |
|  |  | IEC 60309-1:2021 |
| Appliance couplers for household and similar general purposes |  | ΕΝ 60320-1:2015 + A1:2021 § 27.2 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 Annex N |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  |  |
|  |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 §13.4 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §8.9.1.7 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §8.9.1.7 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 §24.2 |
|  |  | IEC 60669-1:2017 |
| Boxes and enclosures for electrical accessories for household and similar fixed electrical installations |  | EN IEC 60670-1:2021 +A11:2021 §19 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §21.2.7 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 Annex G |
| Miscellaneous lampholders |  | ΕΝ 60838-1:2017 +A1:2017 +A2:2017 +A11:2021 §17.5 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2006 + A2:2013 + A1:2006 §28.2 CEE 7/63, § 28b |
| Switches for appliances |  | EN IEC 61058-1:2018 Annex C |
| Bayonet lampholders |  | EN 61184:2017 §20.5 |
| Devices for the connection of luminaires for household and similar purposes |  | EN 61995-1:2008 +A1:2017 + A11:2021 § 26.2 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §18.5 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §27.5 & Annex G |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.4.3.3 |
|  | Glow wire test |  |
|  | (500-980) oC |  |
| Fire hazard testing: Glowing/hot-wire based test methods - Glow-wire apparatus and common test procedure |  | EN IEC 60695-2-10:2021 |
| Fire hazard testing: Glowing/hot-wire based test methods - Glow-wire flammability test method for end products (GWEPT) |  | EN IEC 60695-2-11:2021 |
| Edison screw lampholders |  | EN IEC 60238:2018 +A1:2018 +A2:2021 +A11:2021 §21.3 |
| Plugs, fixed or portable socket-outlets and appliance inlets for industrial purposes |  | ΕΝ 60309-1:1999 +Α1:2007 +A2:2012 §27.4 |
|  |  | IEC 60309-1:2021 |
| Appliance couplers for household and similar general purposes |  | ΕΝ 60320-1:2015 + A1:2021 § 27.1 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §30.2 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 §13.3 & 4.21.4 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 §24.1 |
|  |  | IEC 60669-1:2017 |
| Boxes and enclosures for electrical accessories for household and similar fixed electrical installations |  | EN IEC 60670-1:2021 +A11:2021 §18 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 Annex G2 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 Annex G2 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §29.2 |
| Miscellaneous lampholders |  | ΕΝ 60838-1:2017 +A1:2017 +A2:2017 +A11:2021 §17.3 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2006 + A2:2013 + A1:2006 §28.1.1 |
| Circuit-breakers for overcurrent protection for household and similar installations |  | ΕΝ 60898-1:2019 §9.15 |
| Switches for appliances |  | EN IEC 61058-1:2018 §21.2 |
| Bayonet lampholders |  | EN 61184:2017 §20.3 |
| Devices for the connection of luminaires for household and similar purposes |  | EN 61995-1:2008 +A1:2017 + A11:2021 § 26.1 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §18.3 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Conduit systems for cable management |  | EN 61386-1:2008 +Α1:2019 §13.1.3.1 EN IEC 61386-21:2021 EN IEC 61386-22:2021 EN IEC 61386-23:2021 |
|  |  | IEC 61386-1:2008+A1:2017 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.2.3.2 |
|  |  | EN IEC 61439-2:2021 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §19.2 & §27.4 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | Ball pressure Test |  |
| Fire hazard testing: Abnormal heat - Ball pressure test method |  | EN 60695-10-2:2014 |
| Edison screw lampholders |  | EN IEC 60238:2018 +A1:2018 +A2:2021 +A11:2021 §21.1 |
| Plugs, fixed or portable socket-outlets and appliance inlets for industrial purposes |  | ΕΝ 60309-1:1999 +Α1:2007 +A2:2012 §27.3 |
|  |  | IEC 60309-1:2021 |
| Appliance couplers for household and similar general purposes |  | ΕΝ 60320-1:2015 + A1:2021 § 24.1 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §30.1 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 §13.2.1 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §8.8.4.1 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §8.8.4.1 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 §21.2, §21.3 |
|  |  | IEC 60669-1:2017 |
| Boxes and enclosures for electrical accessories for household and similar fixed electrical installations |  | EN IEC 60670-1:2021 +A11:2021 §16.1 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 Annex G5 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 Annex G5 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §29.1 |
| Miscellaneous lampholders |  | ΕΝ 60838-1:2017 +A1:2017 +A2:2017 +A11:2021 §17.1 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2006 + A2:2013 + A1:2006 §25.2 |
| Circuit-breakers for overcurrent protection for household and similar installations |  | ΕΝ 60898-1:2019 §9.14.3 |
| Information technology equipment |  | ΕΝ 60950-1:2006 +A1:2010 +A11:2009 +A12:2011, +Α2:2013 §4.5.5 |
| Switches for appliances |  | EN IEC 61058-1:2018 §21.1 |
| Bayonet lampholders |  | EN 61184:2017 §20.1 |
| Devices for the connection of luminaires for household and similar purposes |  | EN 61995-1:2008 +A1:2017 + A11:2021 §23 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §18.1 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §27.1 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.4.1.10 |
| II. Safety Tests |
|  | Temperature rise test |  |
| Luminous signs with discharge lamps and/or LED and/or EL lightsources with a nominal voltage not exceeding 1000 V, with the exclusion of general lighting, traffic- or emergency related purpose |  | EN 50107-3:2018 §9.1.2.2 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §11 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §12.4.1, 12.5.1,12.7.2 Annex E, Annex K |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §11.1 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §11.1 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 §17 |
|  |  | IEC 60669-1:2017 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §14 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §12 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §19 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §10 |
|  |  | IEC 61010-1:2010 +A1:2016 |
| Lamp controlgear |  | EN 61347-1:2015 + A1:2021 Annex H.12 IEC 61347-1:2015 +A1:2017 |
| Lamp controlgear - d.c. or a.c. supplied electronic controlgear for LED modules |  | EN 61347-2-13:2014 + A1:2017 §15 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §§10.10 & Annex O |
|  |  | EN IEC 61439-2:2021 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §14 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §11.9 |
| DC EV supply equipment where protection relies on electrical separation |  | EN IEC 61851-25:2021 §11.9 |
| Electric toys |  | EN IEC 62115:2020+A11:2020 §9 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.4.1.4 & §9.3.2 |
| Stationary dental units and dental patient chairs |  | EN ISO 7494-1:2018 §7.3 |
|  | Protection against electric shock |  |
| Edison screw lampholders |  | EN 60238:2018 §10.2 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §8 IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 + A11:2012 |
|  |  | + A12:2016 + AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009+A1:2016+A2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Lampholders for tubular fluorescent lamps and starterholders |  | ΕΝ 60400:2008 +A1:2011, § 8 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §8.2 ΕΝ 60598-2-20:2015 §20.12.2 ΕΝ 60598-2-20:2015 §20.12.3 ΕΝ 60598-2-20:2015 §20.12.4 ΕΝ 60598-2-20:2015 Annex A §6.4.1 ΕΝ 60598-2-21:2015 Annex A §6.4.1 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 + A12:2014 + A2:2021 §6 |
|  |  | IEC 60601-1:2005+A1:2012+A2:2020 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §8.1.9 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §9 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002, +A1:2006 +A2:2013, §10 IEC 60884-2-5:2017 §10.101 IEC 60884-2-7:2013 §10.1 IEC 60884-2-7:2013 §10.2 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §6.2 |
|  |  | IEC 61010-1:2010 +A1:2016 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §10 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §8.4 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §9.1 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §7.2, §11.3.2 |
| DC electric vehicle charging station |  | EN 61851-23:2014 /AC:2016 §7 |
|  |  | IEC 61851-23:2014 §7 |
| DC EV supply equipment where protection relies on electrical separation |  | EN IEC 61851-25:2021 §8 |
| Devices for the connection of luminaires for household and similar purposes |  | ΕΝ 61995-1:2009 +Α1:2017 + A11:2021 , §10 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.3.2 |
|  | Short-circuit and overload protection |  |
| Lamp controlgear |  | EN 61347-1:2015 + Α1:2021 Annex L |
|  |  | EN 61347-1:2015 +Α1:2017 Annex L |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 + A12:2014 + A2:2021 §15.5.1.1 |
|  |  | IEC 60601-1:2005+A1:2012+A2:2020 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §20.8, §20.9 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | Accessibility to electrical energy sources and safeguards |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.3.2.1 |
|  | Covering of ventilation openings |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex B.3.2 |
|  | Alternative method - Running overload for DC motors |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex G.5.4.5.3 & G.5.4.6.3 |
|  | Heat test – Lamp controlgear |  |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 Annex B |
|  |  | IEC 61347-1:2015 +A1:2017 |
|  | Limitation of heating - Lamp controlgear |  |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 Annex C.7 |
|  |  | IEC 61347-1:2015 +A1:2017 |
|  | Accessible parts including applied parts |  |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 + A12:2014 + A2:2021 §8.4.2 |
|  |  | IEC 60601-1:2005+A1:2012+A2:2020 |
|  | Hazardous Situations and fault conditions – ME equipment |  |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §13 |
|  |  | IEC 60601-1:2005+A1:2012+A2:2020 |
|  | General requirements for testing ME equipment |  |
| Medical electrical equipment and medical electrical systems used in the home healthcare environment |  | EN 60601-1-11:2015 +A1:2021 §5 |
|  | Short-circuit protection – Luminaires |  |
| Luminaires |  | EN IEC 60598-1:2021+A11:2022 §4.26 |
|  | Measurement of electromagnetic fields (10 Hz - 100 kHz) |  |
| Household and similar electrical appliances Air cleaners, Air conditioners, Battery chargers, Blankets, Blenders, Citrus presses, Coffee makers, Coffee mills, Convector heaters, Deep fat fryers, Dental hygiene appliances, Egg boilers Facial sauna appliances, Fans, Fan heaters, Floor polishers, Food warming cabinets, Gas heating appliances wall mounted, Gas heating appliances floor standing, Gas igniters, Grills, Hair clippers, Hairdryers, Heat pumps, Heating mats, Heating pads, Hotplates, Induction hobs and hotplates, Icecream makers, Immersion heaters, Irons, Ironing machines, Knives, Ovens, Microwave ovens, Massage appliances, Oil filled radiators, Hoods, Ovens, Ranges, Range hoods, Refrigeration Solaria, Tools, Vacuum cleaners, Tumble dryers, Washing machines, Water heaters, Whirlpool baths |  | ΕΝ 62233:2008/corrigendum Aug. 2008 |
| III. Dimensional tests |
|  | Clearance, Creepage and Solid Insulation measurements |  |
| Luminous signs with discharge lamps and/or LED and/or EL lightsources with a nominal voltage not exceeding 1 000 V, with the exclusion of general lighting, traffic- or emergency related purpose |  | EN 50107-3:2018 §4.2.6.3 & 4.3 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §29 & Annex L |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §11 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §8.9 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 §23 |
|  |  | IEC 60669-1:2017 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §20 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §28 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §27 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §6.7 |
|  |  | IEC 61010-1:2010 +A1:2016 |
| Lamp controlgear |  | EN 61347-1:2015 + A1:2021 §16 IEC 61347-1:2015 +A1:2017 |
| Lamp controlgear - d.c. or a.c. supplied electronic controlgear for LED modules |  | EN 61347-2-13:2014 + A1:2017 §17 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.4 & Annex F |
|  |  | EN IEC 61439-2:2021 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §19.1, §26.2, §26.3 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §11.6 |
| DC EV supply equipment where protection relies on electrical separation |  | EN IEC 61851-25:2021 §11.6 |
| Electric toys |  | EN IEC 62115:2020+A11:2020 §17 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex O & §5.4.2 & §5.4.3 & §5.4.4 |
| Stationary dental units and dental patient chairs |  | EN ISO 7494-1:2018 §7.3 |
|  | Inspection of dimensions of internal wiring |  |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §5.3 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §21 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | External influences - drain holes |  |
| Luminous signs with discharge lamps and/or LED and/or EL lightsources with a nominal voltage not exceeding 1 000 V, with the exclusion of general lighting, traffic- or emergency related purpose |  | EN 50107-3:2018 §4.5 |
| Boxes and enclosures for electrical accessories for household and similar fixed electrical installations |  | EN IEC 60670:2021 + A11:2021 §12.2 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.17 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §19.17 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| IV. Acoustic tests |
|  | Test for telephone ringing signals |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex H.2 |
|  | Characteristics of visual alarm signals |  |
| Alarm systems in medical electrical equipment and medical electrical systems |  | EN 60601-1-8:2007 +A1:2013 +A11:2017 +A2:2021 §6.3.2.2 |
|  | Test for characteristics of acoustic alarm signals |  |
| Alarm systems in medical electrical equipment and medical electrical systems |  | EN 60601-1-8:2007 +A1:2013 +A11:2017 +A2:2021 §6.3.2.1 |
|  | Test for volume of acoustic alarm signals |  |
| Alarm systems in medical electrical equipment and medical electrical systems |  | EN 60601-1-8:2007 +A1:2013 +A11:2017 +A2:2021 §6.3.3.2 |
|  | Time delay and alarm interrupt test |  |
| Alarm systems in medical electrical equipment and medical electrical systems |  | EN 60601-1-8:2007 +A1:2013 + A11:2017 + A2:2021 §6.4.1 & 6.5.5 |
|  | V. Mechanical tests |  |
|  | Protection against external mechanical impacts (IK code) |  |
| Environmental testing - Test Eh: Hammer tests |  | EN 60068-2-75:2014 |
|  |  | IEC 60068-2-75:2014 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §21.1 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2010 + Α1:2012 + Α2:2015 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 4.13.1, §4.13.4 a), 4.21.4 |
|  |  | EN 60598-2-3:2003 +A1:2011 §3.6.5.2.1 |
|  |  | IEC 60598-2-3:2002 +A1:2011 §3.6.5.2.1 |
| Medical electrical equipment |  | EN 60601-1:2006 +A1:2012 +A12:2014 +A2:2021 §9.8.3.3, §15.3.3 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §9.8.3.3, §15.3.3 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 §20.2 |
|  |  | IEC 60669-1:2017 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §18,2 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 §20.2 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §24.1 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §8.2.2 |
|  |  | IEC 61010-1:2010 +A1:2016 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.2.6 |
|  |  | EN IEC 61439-2:2021 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §16.2 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §11.11.2 |
| DC EV supply equipment where protection relies on electrical separation |  | EN IEC 61851-25:2021 §12.7 |
| Electric toys |  | EN IEC 62115:2020+A11:2020 §12.1 |
| Degrees of protection provided by enclosures for electrical equipment against external mechanical impacts (IK code) |  | EN 62262:2002 + A1:2021 |
|  |  | IEC 62262:2002 + A1:2021 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §4.8.4.5, 8.10.4, ANNEX T.6, T.9, ANNEX Y6.2 |
| Stationary dental units and dental patient chairs |  | EN ISO 7494-1:2018 §7.3 |
|  | Impact test at low temperature (-5 °C to -40 °C) |  |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002, +A1:2006 +A2:2013, §24.4 |
| Conduit systems for cable management |  | ΕΝ 61386-1-1:2008 +A1:2019 §10.3 |
|  |  | EN IEC 61386-21:2021 + A11:2021 |
|  |  | EN IEC 61386-22:2021 + A11:2021 |
|  |  | EN IEC 61386-23:2021 +A11:2021 |
|  |  | EN 61386-24:2010 |
|  |  | EN 61386-25:2011 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §19.10 b) |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | Drop test |  |
| Environmental testing - Test Ec: Rough handling shocks, primarily for equipment-type specimens |  | EN 60068-2-31:2008 |
|  |  | IEC 60068-2-31:2008 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 §15.101 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 §21.101 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 §21.101 |
|  |  | IEC 60335-2-9:2019 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 §21.101 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.13.4 b), §4.13.4 c), §4.13.6 EN 60598-2-20:2015 §20.7.6 |
| Medical electrical equipment |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §15.3.4 |
| Hand-held motor-operated electric tools |  | ΕΝ 60745-1:2009 +A11:2010 ANNEX K20.3, ANNEX L20.201 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 §8.3 |
|  |  | IEC 61010-1:2010 +A1:2016 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §16.3, §16.4 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §4.4.3.3, ANNEX T.7 |
| Stationary dental units and dental patient chairs |  | EN ISO 7494-1:2018 §7.3 |
| Military equipment |  | MIL-STD 810G Method 516.6 procedure IV |
|  |  | MIL-STD 810H Method 516.8 procedure IV |
|  | Stability Tests |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §20.1 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Portable general purpose luminaires |  | EN 60598-2-4:2018 §4.7.3 |
| Medical electrical equipment |  | EN 60601-1:2006 +A1:2012 +A12:2014 +A2:2021 §9.4 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §9.4 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §8.6.2, §8.6.4, §8.6.5, §8.6.5, 8.10.5 |
|  | Push-pull-compression-torque strength tests |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §22.11, §22.12 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Medical electrical equipment |  | EN 60601-1:2006 +A1:2012 +A12:2014 +A2:2021 §15.4.6, §15.4.7 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §15.4.6, §15.4.7 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §5.2.10 EN 60598-2-21:2015 §21.7.5 |
| Lamp controlgear |  | EN 61347-1:2015 + A1:2021 §17 |
| Conduit systems for cable management |  | ΕΝ 61386-1-1:2008 +A1:2019 §10.2 |
|  |  | EN IEC 61386-21:2021 + A11:2021 |
|  |  | EN IEC 61386-22:2021 + A11:2021 |
|  |  | EN IEC 61386-23:2021 +A11:2021 |
|  |  | EN 61386-24:2010 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §25 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §4.8.5, §4.8.4.6, §8.7, §8.8, §8.9, §8.10.3, §8.11.3, §8.12, ANNEX T.2, T.3, T.4 |
|  | Torque exerted on a socket outlet |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §22.3 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.14.6 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §14.23.2 IEC 60884-2-5:2017 §14.23 IEC 60884-2-5:2017 §14.23.101 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §19.15 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §4.7 |
|  | Repetitive strain tests |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §23.3, §25.14 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.14.3 ΕΝ 60598-2-20:2015 Annex A §6.14.3 ΕΝ 60598-2-21:2015 Annex A §6.14.3 |
| Medical electrical equipment |  | EN 60601-1:2006 +A1:2012 +A12:2014 +A2:2021 §8.11.3.6 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §8.11.3.6 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §22.9.4 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | Cord anchorages test |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §25.15 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §5.2.10 |
| Medical electrical equipment |  | EN 60601-1:2006 +A1:2012 +A12:2014 +A2:2021 §8.11.3.6 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §8.11.3.5 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex G. 7 |
|  | Wind load test |  |
| Luminaires for road and street lighting |  | EN 60598-2-3:2003 +A1:2011 §3.6.3.1 |
|  |  | IEC 60598-2-3:2002 +A1:2011 §3.6.3.1 |
|  | Mechanical energy source classification |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §8.2 |
|  | High pressure lamps tests |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §8.5.5.2 |
|  | Weight measurement of attachments to lamps |  |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.22 |
|  | Glass fragmentation test |  |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 §22.104 |
|  |  | IEC 60335-2-89:2019/COR2:2021 §22.104 |
| Luminaires |  | EN 60598-2-3:2003 +A1:2011 §3.6.5.2.2 |
|  |  | IEC 60598-2-3:2002 +A1:2011 §3.6.5.2.2 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex T.10 |
|  | Automatic cord reel test |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §22.16 |
|  |  | IEC 60335-1:2020 +COR:2021 |
|  | Scratch test on accessible parts of solid insulation |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §21.2 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §19.10 c) |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | Mechanical strength of terminals for external conductors |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §26 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §14.4.6 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §8 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §22.9.5, §23 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | Lifting test |  |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.2.5 |
|  |  | EN IEC 61439-2:2021 |
|  | Pressure test on lampholders |  |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.4.4 |
|  | Test of adequate factors of safety of mechanical suspensions, fixings and connections of luminaires |  |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.14.1 |
|  | Test on clamping screws or nuts that are being tightened |  |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §14.4.2 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §8 |
|  | Test on Terminals which clamp the conductor between metal surfaces |  |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §14.4.7 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §8 |
|  | Mechanical strength tests of Screwless terminals |  |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §15.5.1, §15.6.2 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §8 |
|  | Rough handing |  |
| Medical electrical equipment |  | EN 60601-1:2006 +A1:2012 +A12:2014 +A2:2021 §15.3.5 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §15.3.5 |
|  | Mechanical test for terminal with screw clamping |  |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 , §12.2.5, §12.2.6, §12.2.7, §12.2.8, §12.3.10. |
| VI. Environmental tests |
|  | Resistance to heat test |  |
| Conduit systems for cable management |  | EN 61386-1:2008 + A1:2019, § 12.2 |
|  |  | IEC 61386-1:2008 + A1:2017, § 12.2 |
| Rigid conduit systems |  | EN IEC 61386-21:2021 + A11:2021 § 12 |
| Pliable conduit systems |  | EN IEC 61386-22:2021 + A11:2021 § 12 |
| Flexible conduit systems |  | EN IEC 61386-23:2021 +A11:2021 § 12 |
|  | Ambient temperature, humidity, atmospheric pressure Test of ME equipment |  |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 + A12:2014 +A2:2021 §5.3 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §5.3 |
| Medical electrical equipment and medical electrical systems used in the home healthcare environment |  | EN 60601-1-11:2015 + A1:2021 §4.2.1, §4.2.2, §4.2.3 |
|  | Test Cab: Damp heat, steady state |  |
| Test Cab: Damp heat, steady state |  | EN 60068-2-78:2013 |
|  |  | IEC 60068-2-78:2012 |
| Maritime navigation and radiocommunication equipment and systems |  | EN 60945:2002 § 8.3 |
|  |  | IEC 60945:2002 § 8.3 |
|  | Tests Ab, Ad, Ae: Cold |  |
| Test A: Cold |  | EN 60068-2-1:2007 |
|  |  | IEC 60068-2-1:2007 |
| Temperature recorders for the transport, storage and distribution of temperature sensitive goods |  | ΕΝ 12830:2018 |
| Maritime navigation and radiocommunication equipment and systems |  | EN 60945:2002 § 8.4 |
|  |  | IEC 60945:2002 § 8.4 |
|  |  | MSC**/Circ.980 Annex, § 3.2.3 |
| Military equipment |  | MIL-STD 810G Method 502.5 procedure I, II, III |
|  |  | MIL-STD 810H Method 502.7 procedure I, II, III |
|  | Test Db: Damp heat, cyclic |  |
| Test Db: Damp heat, cyclic |  | EN 60068-2-30:2005 |
|  |  | IEC 60068-2-30:2005 |
| Maritime navigation and radiocommunication equipment and systems |  | MSC** 70/23/Add.1 Annex 6, § 1.2 |
| Military equipment |  | MIL-STD 810G Method 507.5 procedure I, II |
|  |  | MIL-STD 810H Method 507.6 procedure I, II |
|  | Test N: Change of temperature |  |
| Test N: Change of temperature |  | EN 60068-2-14:2009 |
|  |  | IEC 60068-2-14:2009 |
| Maritime navigation and radiocommunication equipment and systems |  | MSC** 70/23/Add.1 Annex 6, § 1.2 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 Annex P.2.4.2.1 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Military equipment |  | MIL-STD 810G Method 503.5 procedure I-A, I-B, I-C, I-D |
|  |  | MIL-STD 810H Method 503.7 procedure I-A, I-B, I-C, I-D |
|  | Test Z/AD: Composite temperature/humidity cyclic test |  |
| Test Z/AD: Composite temperature/humidity cyclic test |  | EN 60068-2-38:2009 |
|  |  | IEC 60068-2-38:2009 |
| Maritime navigation and radiocommunication equipment and systems |  | MSC** 70/23/Add.1 Annex 6, § 1.2 |
|  | Mould stress relief test |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex T.8 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §15.3.6 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §8.8.3 & §15.3.6 |
|  | Test B: Dry heat (25 – 300) oC |  |
| Test B: Dry heat |  | ΕΝ 60068-2-2:2007 |
|  |  | IEC 60068-2-2:2007 |
| Temperature recorders for the transport, storage and distribution of temperature sensitive goods |  | EN 12830:2018 |
| Electronic equipment for use in power installations |  | EN 50178:1997, § 9.4.2.1 |
| Electrical installations in ships |  | IEC 60092-504:2016 Table 1 |
| Maritime navigation and radiocommunication equipment and systems |  | ΕΝ 60945:2002, § 8.2, Annex B.2 |
|  |  | MSC**/Circ.980 Annex § 3.2.4 |
| Hold, ballast and dry space water level |  | IACS*** SC180:Sept.2003 |
| Military equipment |  | MIL-STD-810F:2000 Method 501.4 |
|  |  | MIL-STD-810G: 2014 Method 501.6 |
|  |  | MIL-STD-810H:2019 Method 501.7 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §29.3.3 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Programmable controllers |  | EN 61131-2:2007, § 6.1.1 |
| Low-voltage power supply devices, d.c. output |  | ΕΝ 61204:1995 +Α1:2001, §7.2.2 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.2.3.1 |
|  |  | EN IEC 61439-2:2021 |
|  | Resistance to moisture |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §15.3 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Luminaires |  | EN IEC 60598-1:2021 §9.3.1 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §5.7 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §5.7 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §11 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §17.2 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.4.8 |
|  | Resistance to ageing |  |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002, +A1:2006 +A2:2013, §16 |
|  | Thermal cycling test |  |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §8.9.3.4 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §8.9.3.4 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §5.4.1.5.3 |
|  | Endurance test – Luminaires |  |
| Luminaires |  | EN IEC 60598-1:2021 §12.3.1 |
|  | Salt mist / Salt fog |  |
| Test Ka: Salt mist |  | EN IEC 60068-2-11:2021 |
| Test Kb: Salt mist, cyclic (sodium chloride solution) |  | EN IEC 60068-2-52:2018 |
| Military equipment |  | MIL-STD 810G Method 509.5 procedure I-A, I-B, I-C, I-D |
|  |  | MIL-STD 810H Method 509.7 procedure I-A, I-B, I-C, I-D |
|  | Blowing dust & Blowing sand |  |
| Military equipment |  | MIL-STD 810G Method 510.5 procedure I, ΙΙ |
|  |  | MIL-STD 810H Method 510.7 procedure I, IΙ |
|  | Low air pressure |  |
| Test M: Low air pressure |  | EN IEC 60068-2-13:2021 |
| Military equipment |  | MIL-STD 810G Method 500.5 procedure I, ΙΙ, III, IV |
|  |  | MIL-STD 810H Method 500.6 procedure I, ΙΙ, III, IV |
| VII. Performance tests |
|  | Test for protection against ingress of water |  |
| Degrees of protection provided by enclosures (IP Code) |  | ΕΝ 60529:1991 + A1:2000 + Α2:2013 §14 |
| Electrical installations in ships |  | IEC 60092-504:2016 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §15.1, §22.1 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 §9.2.3-9.2.9 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §11.6.5, §15.4.7.3 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §11.6.5, §15.4.7.3 |
| Medical electrical equipment and medical electrical systems used in the home healthcare environment |  | EN 60601-1-11:2015 +A1:2021 §8.3.1 & 8.3.2 |
| Medical electrical equipment - infusion pumps and controllers |  | EN 60601-2-24:2015 §201.11.6.5 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §12.1 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §16.2.2 |
| Maritime navigation and radiocommunication equipment and systems |  | EN 60945:2002, § 8.8, § 8.9 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.3 |
|  |  | EN IEC 61439-2:2021 |
| Conduit systems for cable management |  | EN 61386-1:2008 +Α1:2019 §14.1.3 |
|  |  | EN IEC 61386-21:2021 |
|  |  | EN IEC 61386-22:2021 |
|  |  | EN IEC 61386-23:2021 |
|  |  | IEC 61386-1:2008+A1:2017 §14.1.3 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §17 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Electric toys |  | EN IEC 62115:2020 +A11:2020 § 11.1 |
| Military equipment |  | MIL-STD-810G:2014 Method 512.6 |
|  |  | MIL-STD-810H:2019 Method 512.6 |
| Life-saving appliances |  | MSC** 70/23/Add.1 Annex 6 § 10.2.5 |
| Dewatering of forward spaces of bulk carriers. |  | IACS*** SC179:Sept.2003 § 6 |
| Hold, ballast and dry space water level |  | IACS*** SC180:Sept.2003, § 4.1 |
|  | Test for protection against access to hazardous parts and solid foreign objects |  |
| Degrees of protection provided by enclosures (IP Code) |  | ΕΝ 60529:1991 + A1:2000 + Α2:2013 § 12, 13, 15 |
| Electrical installations in ships |  | IEC 60092-504:2016 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §22.1 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 § 8.2.5, 9.2.0, 9.2.1, 9.2.2, 11.2.1, Annex J |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §5.9.2 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §5.9.2 |
| Medical electrical equipment and medical electrical systems used in the home healthcare environment |  | EN 60601-1-11:2015 +A1:2021 §8.3.1 & 8.3.2 |
| Medical electrical equipment - Infusion pumps and controllers |  | EN 60601-2-24:2015 §201.11.6.5 |
| Automatic electrical controls |  | EN 60730-1:2016 +A1:2019 +A2:2022 §12.1 |
|  |  | IEC 60730-1:2013 +A1:2015 +A2:2020 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §16.2.1 |
| Maritime navigation and radiocommunication equipment and systems |  | EN 60945:2002 § 4.6.1, 12.1 |
| Conduit systems for cable management |  | EN 61386-1:2008 +Α1:2019 §14.1.2 |
|  |  | EN IEC 61386-21:2021 |
|  |  | EN IEC 61386-22:2021 |
|  |  | EN IEC 61386-23:2021 |
|  |  | IEC 61386-1:2008+A1:2017 §14.1.2 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.3 |
|  |  | EN IEC 61439-2:2021 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §17 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Electric toys |  | EN IEC 62115:2020 +A11:2020 § 11.1 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex V |
|  | Energy efficiency |  |
| Water heaters and hot water storage tanks |  | COMMISSION REGULATION (EU) No 814/2013 |
| Water heaters, hot water storage tanks and packages of water heater and solar device |  | COMMISSION REGULATION (EU) No 812/2013 |
| Domestic electrical storage water heaters |  | ΕΝ 50440:2015 +A1:2020 |
| Indirectly heated unvented (closed) storage water heaters |  | ΕΝ 12897:2016 +A1:2020 |
| Electric instantaneous water heaters |  | ΕΝ 50193-1:2016 +A1:2020 |
| Professional refrigerated storage cabinets, blast cabinets, condensing units and process chillers |  | COMMISSION REGULATION (EU) No 1095/2015 |
| Professional refrigerated storage cabinets |  | COMMISSION REGULATION (EU) No 1094/2015 |
| Refrigerated storage cabinets and counters for professional use |  | ΕΝ 16825:2016 +A1:2019 |
|  |  | EN ISO 22041:2019 +Α1:2019 |
| Refrigerating appliances with a direct sales function |  | COMMISSION REGULATION (EU) 2019/2024 as amented by (EU) 2021/341 |
| Refrigerated display cabinets |  | EN ISO 23953-2 |
| Vending machines |  | EN IEC 63252:2020 |
| VIII. Corrosion tests |
|  | Test for oil corrosion resistance |  |
| Maritime navigation and radiocommunication equipment and systems |  | ΕΝ 60945:2002, § 8.11 |
| Maritime equipment |  | IMO* :1985 Resolution MSC** 81(70) /1998, MSC** 70/23/ Add.1 Annex 6, §1.4, §2.4, §10.4.6, §11.2.5.3 |
|  |  | IMO* :1985 Resolution A.521(13) Annex Part 1, §1.4, §5.16.2.5.3 |
|  |  | IMO* :1985 MSC**/Circ.980/ Add.1, DE 43/18/Add.3 Annex 2 §4.3.1.9, §4.3.6.10 |
|  |  | IMO* :1985 Resolution A.689(17) Annex Part 1, §1.4, §2.4, §3.1.13, §5.17.13.10, §7.2.17.10, §11.2.5.3 |
|  | Resistance to rusting |  |
| Luminaires |  | EN IEC 60598-1:2021 §4.18.1 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002, +A1:2006 +A2:2013, §29 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §19 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §28 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
|  | Resistance to corrosion due to stress |  |
| Luminaires |  | EN IEC 60598-1:2021 §4.18.2 |
| IX. Flame tests |
|  | Needle flame test |  |
| Fire hazard testing. Test flames. Needle-flame test method - Apparatus, confirmatory test arrangement and guidance |  | ΕΝ 60695-11-5:2017 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 Annex E |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Lampholders for tubular fluorescent lamps and starterholders |  | ΕΝ 60400:2008 + A1:2011 §17.5 |
| Luminaires |  | EN IEC 60598-1:2021 §13.3.1 & §4.21.4 |
| Information technology equipment |  | ΕΝ 60950-1:2006 +A1:2010 +A11:2009 +A12:2011, +Α2:2013 § 4.6.2 |
| Bayonet lampholders |  | EN 61184:2017 §20.4 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §18.4 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §8.1.3.2.3 |
|  |  | EN IEC 61439-2:2021 |
| Electric toys |  | EN 62115:2005 + A2:2011 + Α11:2012 Annex B |
|  |  | EN IEC 62115:2020 + A1:2020 Annex B |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §6.4.8.3.3, Annex S |
|  | Printed circuit boards-Resistance to heat |  |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §18.2 |
|  |  | IEC 61347-1:2015 +A1:2017 |
|  | Flammability tests for the bottom of fire enclosures |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 §6.4.8.3.3, Annex S |
|  | Flame 50W |  |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 + A12:2014 + A2:2021 §11.3 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §11.3 |
| X. Other tests |
|  | Overflow test on medical equipment |  |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 + A12:2014 + A2:2021 §11.6.2 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §11.6.2 |
|  | Tests on coated printed boards |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex G.13.6.2 |
|  | Hydrostatic pressure test |  |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex G.15 |
|  | Liquid leakage control test in electrical insulation |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §22.6 |
|  |  | IEC 60335-1:2020 +COR:2021 |
|  | Water leak test in a water supply device |  |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §22.47 |
|  |  | IEC 60335-1:2020 +COR:2021 |
|  | Liquid leakage control test in medical electrical equipment |  |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 + A12:2014 + A2:2021 §11.6.3 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 §11.6.3 |
| Medical electrical equipment - infusion pumps and controllers |  | EN 60601-2-24:2015 §201.11.6.3 |
|  | Inspections and tests for marking |  |
| Domestic cooking appliances burning gas |  | EN 30-1-1:2021 § 3.2 |
| Non-automatic weighing instruments |  | ΕΝ 45501:2015, § 7 |
| Household and similar electrical appliances |  | EN 60335-1:2012 +A11:2014 +Α13:2017 +A1:2019 +A14:2019 +A2:2019 +A15:2021 §7.14 |
|  |  | IEC 60335-1:2020 +COR:2021 |
| Vacuum cleaners and water-suction cleaning appliances |  | EN 60335-2-2:2010 +Α1:2013 +Α11:2012 |
|  |  | IEC 60335-2-2:2019 |
| Electric irons |  | ΕΝ 60335-2-3:2016 +Α1:2020 |
|  |  | IEC 60335-2-3:2015 +Α1:2015 |
| Dishwashers |  | ΕΝ 60335-2-5:2015 +Α11:2019 +Α1:2020 |
|  |  | IEC 60335-2-5:2012 +A1:2018 |
| Washing machines |  | ΕΝ 60335-2-7:2010 +Α11:2013 +Α1:2013 +Α2:2019 |
|  |  | IEC 60335-2-7:2019 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A12:2007 +A13:2010 +A2:2006 +AC:2012 |
|  |  | IEC 60335-2-9:2019 |
| Deep fat fryers, frying pans and similar appliances |  | ΕΝ 60335-2-13:2010 +Α11:2012 +Α1:2019 |
|  |  | IEC 60335-2-13:2019 |
| Kitchen machines |  | EN 60335-2-14:2006 +A11:2012 +A12:2016 +AC:2016 |
|  |  | IEC 60335-2-14:2016 +AMD1:2019 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +Α1:2021+Α2:2021+Α12:2021 |
|  |  | IEC 60335-2-15:2012 +AMD1:2016 +AMD2:2018 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 |
|  |  | IEC 60335-2-21:2012/Cor1:2013 |
| Appliances for skin or hair care |  | ΕΝ 60335-2-23:2003 +Α1:2008 +Α11:2010 +AC:2012 +A2:2015 +A1:2021 |
|  |  | IEC 60335-2-23:2016 +AMD1:2019 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 |
|  |  | IEC 60335-2-24:2020 |
| Microwave ovens, including combination microwave ovens |  | EN IEC 60335-2-25:2021 |
| Room heaters |  | ΕΝ 60335-2-30:2009 +Α11:2012 +A12:2020 +A1:2020 +AC:2014 |
|  |  | IEC 60335-2-30:2009 +AMD1:2016 +AMD2:2021 |
| Range hoods and other cooking fume extractors |  | EN 60335-2-31:2014 |
|  |  | IEC 60335-2-31:2012 +A1:2016 +A2:2018 |
| Electrical heat pumps, air-conditioners and dehumidifiers |  | ΕΝ 60335-2-40:2003 +A11:2004 +A12:2005 +A1:2006 +A13:2012 +A2:2009 |
|  |  | IEC 60335-2-40:2018 |
| Commercial dispensing appliances and vending machines |  | EN 60335-2-75:2004 +A1:2005 +A11:2006 +A2:2008 +A12:2010 |
|  |  | IEC 60335-2-75:2015 |
| Fans |  | EN 60335-2-80:2003 +A1:2004 +A2:2009 |
|  |  | IEC 60335-2-80:2015 |
| Commercial refrigerating appliances and ice-makers with an incorporated or remote refrigerant unit or motor-compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 |
|  |  | IEC 60335-2-89:2019/COR2:2021 |
| Gas, oil and solid-fuel burning appliances having electrical connections |  | EN 60335-2-102:2016 |
| Luminaires |  | EN IEC 60598-1:2021 §3.4 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 § 7.1.3 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 § 7.1.3 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002, +A1:2006 +A2:2013, §8 |
| Information technology equipment |  | ΕΝ 60950-1:2006 +A1:2010 +A11:2009 +A12:2011, + Α2:2013 § 1.7.11 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §7.2 |
|  |  | IEC 61347-1:2015 +A1:2017 |
| Conduit systems for cable management |  | EN 61386-1:2008 + A1:2019, § 7 |
|  |  | IEC 61386-1:2008 + A1:2017, § 7 |
| Rigid conduit systems |  | EN IEC 61386-21:2021 + A11:2021 § 7 |
| Pliable conduit systems |  | EN IEC 61386-22:2021 + A11:2021 § 7 |
| Flexible conduit systems |  | EN IEC 61386-23:2021 +A11:2021 § 7 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.2.7 |
|  |  | EN IEC 61439-2:2021 |
| Transformers, reactors, power supply units and combinations thereof |  | EN IEC 61558-1:2019 §8.15 |
| Isolating transformers and power supply units incorporating isolating transformers for general applications |  | EN 61558-2-4:2009 |
|  |  | IEC 61558-2-4:2021 |
| Safety isolating transformers and power supply units incorporating safety isolating transformers for general applications |  | EN 61558-2-6:2009 |
|  |  | IEC 61558-2-6:2021 |
| Auto-transformers and power supply units incorporating auto-transformers for general applications |  | EN 61558-2-13:2009 |
|  |  | IEC 61558-2-13:2009 |
| Isolating transformers for medical IT systems for the supply of medical locations |  | EN 61558-2-15:2012 |
|  |  | IEC 61558-2-15:2022 |
| Electric toys |  | EN IEC 62115:2020+A11:2020 §7.7 |
| Audio/video, information and communication technology equipment |  | ΕΝ IEC 62368-1:2020+Α11:2020 Annex F.3.10 |
|  | Legibility of markings |  |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 + A12:2014 + A2:2021 § 7.1.2 |
|  |  | IEC 60601-1:2005 +A1:2012 +A2:2020 § 7.1.2 |
|  | Efficiency & safety tests (Initial type test) for range measurements up to 50 kW |  |
| Roomheaters fired by solid fuel. |  | Regulation (ΕΕ) 305/2011 |
| Inset appliances including open fires fired by solid fuels. |  | ΕΝ 13240:2001 + A2:2004 + AC:2007 |
|  |  | ΕΝ 13229:2001 + A2:2004 + AC:2007 |

* IMO: International Maritime Organization

** MSC: Maritime Safety Committee

*** IACS: International Association of Classification Societies

Site of assessment: Permanent Laboratory premises, 84, Ethnikis Antistaseos Str., Pallini, Attiki, Greece.

Approved signatories: Antonios Politis.

This Scope of Accreditation replaces the previous one dated April 18th, 2023.

The Accreditation Certificate No. 553-6, to ELOT EN ISO/IEC 17025: 2017, is valid until 19.05.2025.

Athens, March 15th, 2024

Christos Nestoras

CEO of ESYD