Hellenic Accreditation System

| Annex C4/23 to the Certificate No. 189-10 SCOPE of ACCREDITATION of QMSCERT AUDITS-INSPECTIONS-CERTIFICATIONS SA (Q-CERT SA) as a Type A inspection Body, in line with E.C Directives |  |  |  |
| --- | --- | --- | --- |
| ## Product /Field of Inspection | #### Procedure /Type of inspection | #### Modules / Normative /Regulations/ Standards/ /In house Procedures |  |
| Lifts 1.Electric lifts 2.Hydraulic lifts | - Final Inspection | Directive 2014/33/EU J.M.D. 39507/167/F.9.2/12.4.2016 (G.G 1047/Β/ 13.4.2016) -Annex V -ELOT EN 81-21:2018 -ELOT EN 81-28:2018+AC:2019 -ELOT EN 81-58:2018 -ELOT EN 81-70:2018 -ELOT EN 81-70: 2021 -ELOT EN 81-71:2018+AC:2019 -ELOT EN 81-72:2015 -ELOT EN 81-72:2020 -ELOT EN 81-73:2016 -ELOT EN 81-73:2020 -ΕΝ 81-22 : 2014 -EN 81-20: 2020 -ΕΝ 81-50: 2020 -EN 12016:2013 -EN 13015:2001+Α1:2008 |  |

| ## Products or products Family/Intended use |  |  | #### Procedure /Type of inspection |  |  | #### Annexes, Articles, Modules of Directives/ Standards/ Regulations /In house Procedures |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pressure equipment | - Internal Production Control plus Supervised Pressure Equipment Checks at Random Intervals |  |  | Directive 2014/68/EU M.D. Ar. Oik. 74124/DTBN 131/2016 (C.G. 2278/Β/2016) -Annex ΙΙΙ, Module Α2 |  |  |  |
| Category 1. Group 1.1:Vessels under pressure expose to flame Subgroup: 1.1.1, 1.1.2, 1.1.3, 1.1.4 Cryogenic vessels Vessels under pressure expose to flame LPG tanks |  |  |  | -ELOT ΕΝ 13458-1 έως 2 : 2002 -ELOT ΕΝ 13530-1 έως 3 : 2003* -ELOT ΕΝ 13648-1 : 2002 -ELOT ΕΝ 13648-2 : 2008 -ELOT ΕΝ 14276-1 : 2020 -ELOT ΕΝ 14276-2 : 2020 -ELOT ΕΝ 13445-1,2,3,4,5,6,7:2014+Α2:2018 -ASME CODE Section VIII: 2021 -ELOT ΕΝ 12542:2020 -ELOT ΕΝ 12817:2019 -ELOT ΕΝ 12818:2015 -ELOT ΕΝ 13799:2012 |  |  |  |
| Category 1. Group 1.2: Vessels under pressure expose to flame Subgroup: 1.2.1, 1.2.2 Shell boilers Category 1. Group 1.3: Metallic industrial piping Subgroup: 1.3.1, 1.3.2 |  |  |  |  | -ELOT ΕΝ 12953-1,2:2012 -ELOT ΕΝ 12953-3:2017 -ELOT ΕΝ 12953-4:2018 -ELOT ΕΝ 12953-4:2020 -ELOT ΕΝ 12953-6:2011 -ELOT ΕΝ 12953-7:2002 -ELOT ΕΝ 12953-8:2001 -ELOT ΕΝ 12953-9:2007 -ELOT ΕΝ 12953-10,11,12:2003 -ELOT ΕΝ 12953-13:2012 -ELOT ΕΝ 1591:2014 -ELOT ΕΝ 13480-1,2,3,4,5,6:2017+Α1:2019 -ASME B31.1:2020 -ASME B31.3:2020 -ASME B31.4:2019 |  |  |

| ## Products or products Family/Intended use |  | #### Procedure /Type of inspection |  | #### Annexes, Articles, Modules of Directives/ Standards/ Regulations /In house Procedures |
| --- | --- | --- | --- | --- |
| Permanent joining for pressure equipment |  | Approval of permanent joining procedures |  | Directive 2014/68/EU M.D. Ar. Oik. 74124/DTBN 131/2016 (C.G. 2278/Β/2016) -Annex Ι, paragraph 3, section 3.1.2 -EΛΟΤ EN ISO 15614- 1:2017 -ASME Boiler & Pressure Vessel Code, Section IX: 2021 |
| Simple pressure vessels | - Conformity to type based on internal production control (Module C) |  | Directive 2014/29/EU M.D. Ar. Oik. 46248/DTBN 1008/2016 (C.G. 1339/Β/2016) -Annex ΙΙ, Paragraph 4, Module C -ΕLΟΤ ΕΝ 286-1:1998+Α2:2005 |  |

* The reference to non harmonized European Standards, Regulations or Normative Documents, with the star mark (*), Indicates that only a specific part of the requirements of the above European Standards, Regulations or Normative Documents complements to the extent that is necessary for the assessment of the compliance of the product, either the harmonized   European Standards EN, which fulfil essential requirements of European Directives, or the provision of European Directives.

Address of Body head offices :  28, Vlasiou Gavrielidi street, 546 55 Thessaloniki, Greece

Approved Signatories :  	Iosif Charalampidis, Michael Politikakis, Dimitrios Papadopoylos, Lazaros Karanikas

This Scope of Accreditation replaces the previous one dated 13.04.2023.

The Accreditation Certificate No.189-10, to ELOT EN ISO/IEC 17020:2012, is extended until 12.07.2025.

Athens, 18.12.2024

Konstantinos Kourtalis

Chairman of ESYD