Hellenic Accreditation System

| Annex F1/7 to the Certificate No. 1122-3 SCOPE of ACCREDITATION |  |
| --- | --- |
| # of the Testing Laboratory DODECANESIAN LABORATORIES P.C. |  |

| Tested materials / products | Types of test / Properties | Applied standards / Techniques |
| --- | --- | --- |
| Chemical Testing |  |  |
| Water for Human consumption | 1. Determination of electrical conductivity | ISO 7888:1985 |
|  | 2. Electrometric determination of pH | ISO 10523:2008 |
|  | 3. Determination of nitrate | LCK 339 HACH LANGE |
|  | 4. Determination of Ammonium | LCK 304 HACH LANGE |
|  | 5. Determination of free and total chlorine | Μ.8021, 8167 HACH LANGE |
| Pool water | 1. Measurement of electric conductivity | ISO 7888:1985 |
|  | 2. Determination of pH | ISO 10523:2008 |
|  | 3. Determination of free and total chlorine | Μ.8021, 8167 HACH LANGE |
| Wastewater | 1. Determination of COD | LCK 114-LCK 314 HACH LANGE |
|  | 2. Determination of pH | ISO 10523:2008 |
|  | 3. Determination of Ammonium | LCK 304 HACH LANGE |
| Ηoney | Determination of Diastase activity | In house UV-VIS method based on Phadebas method according to International Honey Commission 2009 (p.39-41) Method code: LABiMX30 |
| Microbiological Testing |  |  |
| Surface, swimming pool and drinking water | 1. Enumeration of total viable count (22 oC and 36 oC) | ISO 6222:1999 |
|  | 2. Enumeration of coliforms and E. coli | ISO 9308-1:2014/amd1:2016 |
|  | 3. Enumeration of enterococci | ISO 7899-2:2000 |
|  | 4. Enumeration of Clostridium perfringens and spores | ISO 14189:2013 |
|  | 5. Enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
| Treated wastewater from treatment plant | Enumeration of E. coli and coliform bacteria | ISO 9308-1:2014 |
| Water with a low concentration of "interfering" microorganisms (Matrix A) | Enumeration of Legionella spp. | ISO 11731:2017 (Annex J, Procedure 5,7 Medium A & C – GVPC) (Annex J, Procedure 8,9,10 Medium A & C – GVPC) |
| Water with a high concentration of "interfering" microorganisms (Matrix B) |  | ISO 11731:2017 (Annex J, Procedure 8,9,10, Medium C – GVPC) |
| Water with an extremely high concentration of "interfering" microorganisms (Matrix C) |  | ISO 11731:2017 (Annex J, Procedure 4, Medium C – GVPC) (Annex J, Procedure 14, Medium C – GVPC) |
| Sea Water | 1. Enumeration of Coliforms and E. coli | ISO 9308-1:2014/amd1:2016 |
|  | 2. Enumeration of Enumeration of Enterococci | ISO 7899-2:2000 |
| Food and animal feeding stuffs Food and animal feeding stuffs (cont.) | 1. Enumeration of Listeria monocytogenes | ISO 11290-2:2017 |
|  | 2. Detection of Listeria monocytogenes | ISO 11290-1:2017 |
|  | 3. Detection of non-typhi, non-paratyphi Salmonella spp. | ISO 6579-1:2017/ Amd:2020 |
|  | 4. Detection of Salmonella spp. | VIDAS UP Salmonella (SPT) BioMerieux Validation Certificate AFNOR BIO/12/32-10/11 |
|  | 5. Detection of Listeria monocytogenes | VIDAS L. monocytogenes Xpress (LMX) BioMerieux Validation Certificate AFNOR BIO/12/27-02/10 |
|  | 6. Enumeration of the total aerobic micro-organisms at 30 °C | ISO 4833-1:2013 |
| Animal faeces and environmental samples from the primary production stage | Detection of non-typhi non paratyphi Salmonella spp. | ISO 6579-1:2017/ Amd:2020 |
| Environmental samples (surfaces) from food production and food handling areas | Detection of Listeria monocytogenes | ISO 11290-1:2017 |
| Raw milk | Detection of antibiotics (penicillin, penethamate, ambicillin, amoxicillin, nafcillin, cloxacillin, dicloxacillin, oxacillin, cefacetrile, cephalexin, cephalonium, cefoperazone, ceftiofur, cephapirin, cefazolin, cefuroxime, doxycycline, sulfadimidine, sulfadimethoxine, sulfamerazine, sulfathiazole, sulfadiazine, sulphamethazine, sulphadoxine, sulphamethοxazole, tylosin, tilmicosin, gentamιcin, neomycin, paranomycin, chloramphenicol, dapsone, rifamixin, pirlimycin, trimethoprim) | Diffusion method DELVO TEST SP NT |
| Sampling |  |  |
| Drinking water, water for human consumption, sea waters Drinking water, water for human consumption, sea waters (cont.) | 1. Determination of chemical parameters | ISO 5667-1:2020 ISO 5667-3:2018 ISO 5667-4:2016 ISO 5667-5:2006 ISO 5667-6:2014 ISO 5667-9:1992 ISO 5667-11:2009 ISO 5667-13:2011 ISO 5667-14:2014 |
|  | 2. Microbiological investigations | ISO 19458:2006 ISO 5667-1:2020 ISO 5667-5:2006 ISO 5667-6:2014 ISO 5667-9:1992 ISO 5667-13:2011 ISO 5667-14:2014 |

Site of assessment: Laboratory permanent premises: 24, Ierou Lochou str., Ialissos 85101, Greece.

Approved signatories: Achladiotis Ioannis, Grammatiki Fotaki, Matthaiou Katerina.

This scope of Accreditation replaces the previous one dated 11.10.2022.

Τhe Accreditation Certificate No 1122-3, according to ELOT EN ISO/IEC 17025:2017, is valid until 24.04.2026.

Athens, 22.09.2023

Christos Nestoras

CEO of ESYD