Hellenic Accreditation System Annex F1/18 to the Certificate No.14-7 SCOPE of ACCREDITATION of the Testing Laboratory of FOODLAB - D. Tzioga & Co.

| Materials / Products tested | Types of test / Properties measured | Applied methods / Techniques used |
| --- | --- | --- |
| Microbiological Tests |
| 1. a. Foodstuffs, animal feeding stuffs, b. Environmental samples in the area of food production and food handling (SWAB TESTS) c. Animal faeces and environmental samples from the primary production stage | 1. Detection of non-typhi, non paratyphi Salmonella spp. | ISO 6579-1:2017 |
| 2. a. Food, animal feeding stuffs b. Environmental samples in the area of food production and food handling. (SWAB TESTS) | 1. Detection of Listeria spp and Listeria monocytogenes | ISO 11290-1:2017 |
| 3. Foodstuffs, animal feeding stuffs 3. Foodstuffs, animal feeding stuffs (cont.) | 1. Enumeration of Listeria spp. and Listeria monocytogenes | ISO 11290-2: 2017 |
|  | 2. Enumeration of microorganisms at 30 οC | ISO 4833-1:2013 |
|  | 3. Enumeration of coliforms | ISO 4832:2006 |
|  | 4. Enumeration of β-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 5. Enumeration of coagulase-positive staphylococci | ISO 6888-1:2021 |
|  | 6. Enumeration of Enterobacteriaceae | ISO 21528-2: 2017 |
|  | 7. Enumeration of presumptive Bacillus cereus | ISO 7932:2004 |
|  | 8. Horizontal method for the enumeration of mesophilic lactic acid bacteria -- Colony-count technique at 30 degrees C | ISO 15214: 1998 |
| 4. Foodstuffs | 1. Detection of Listeria monocytogenes | AFNOR BKR 23-2-11-/02 |
| 5. Foodstuffs | 1. Horizontal method for the enumeration of yeasts and moulds -- Part 1: Colony count technique in products with water activity greater than 0,95 | ISO 21527-1: 2008 |
|  | 2. Horizontal method for the enumeration of yeasts and moulds -- Part 2: Colony count technique in products with water activity less than or equal to 0,95 | ISO 21527-2: 2008 |
| 6. Milk and dairy products | 1. Enumeration of β-glucuronidase-positive Escherichia coli | ISO 16649-1: 2018 |
| 7. Drinking water, surface water and swimming pool water | 1. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
|  | 2. Enumeration of culturable microorganisms (TAC) at 222οC and 362οC | ISO 6222:1999 |
| 8. Drinking water, surface water, swimming pool water and sea water | 1. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 2. Detection and enumeration of E. coli and coliform bacteria | EN ISO 9308-1:2014 |
| Chemical Tests |
| 1. Foodstuffs and animal feeding stuffs | 1. Determination of nitrogen by the Kjeldahl method (Protein) | ISO 1871:2009 |
|  | 2. Determination of Ash | In-house method based on Food & Drink Code |
|  | 3. Determination of Moisture | In-house method based on Food and Drink Code (drying at 103oC until stable weight) |
| 2. Foodstuffs (except of milk) and animal feeding stuffs | 1. Determination of total fat content | In-house method based on ISO 11085:2015, ISO 1443:1973 & ISO 1444:1996 |
| 3. Foodstuffs | 1. Determination of Sodium | In-house method (flame photometry) |
|  | 2. Determination of gluten/gliadin | Sandwich Enzyme Immunoassay AOAC Official Method of Analysis (OMA) Final Action Status 2012.01 |
| 4. Vegetable oil | 1. Determination of free fatty acids -acidity | In-house method based on IOC COI/T.20/Doc No 34 and ISO 660:2020 as modified and valid |
|  | 2. Determination of peroxide value | In-house method based on IOC COI/T.20/Doc No 35 και ISO 3960:2017 as modified and valid |
|  | 3. Determination of ultraviolet absorbance expressed as specific UV extinction (ΔΚ, Κ232, Κ268) | In-house method based on IOC COI/T.20/Doc No 19 and ISO 3656:2011 as modified and valid |

Site of assessment:  Permanent laboratory premises, 3-1 Aristotelous str, 55 133, Thessaloniki, Greece.

Approved signatories: D. Tzioga, S. Spyranti.

This Scope of Accreditation replaces the previous one dated 20.01.2022.

The Accreditation Certificate No. 14-7, according to ELOT EN ISO/IEC 17025:2017, is valid until 5.02.2025.

Athens, 15.09.2023

Christos Nestoras

CEO of ESYD