Hellenic Accreditation System

Annex F1/1 to the Certificate No. 1379 SCOPE of ACCREDITATION of the Clinical laboratory of “DNA SEQUENCE SRL HELLAS”

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Microbiological Tests |
| Surface samples, air, soil, water | Metagenomic identification of microorganisms in DNA (Next Generation Sequencing - Shotgun Metagenomics) | In-house method (OE-40 v1, OE-50 v1) based on the Oxford Nanopore Rapid PCR Barcoding Kit DNA isolation by in-house method (OE-20 v1, OE-21 v1, OE-22 v1, OE-23 v1) based on ZymoBIOMICS DNA Miniprep Kit Identification of microorganisms using the Oxford Nanopore EPI2ME WIMP software Equipment identification: Oxford Nanopore MinION Mk1Β (Serial number: MB-36472) Oxford Nanopore MinION Mk1C (Serial number: MC-111323) Applied Biosystems QuantStudio 5 Real-Time PCR System, S/N 272527288 |
|  | Metagenomic identification of bacteria in DNA (Next Generation Sequencing - 16S Metabarcoding) | In-house method (OE-41 v1, OE-50 v1) based on Oxford Nanopore 16S Barcoding Kit DNA isolation by in-house method (OE-20 v1, OE-21 v1, OE-22 v1, OE-23 v1) based on ZymoBIOMICS DNA Miniprep Kit Identification of bacteria using the Oxford Nanopore EPI2ME 16S software Equipment identification: Oxford Nanopore MinION Mk1Β (Serial number: MB-36472) Oxford Nanopore MinION Mk1C (Serial number: MC-111323) Applied Biosystems QuantStudio 5 Real-Time PCR System, S/N 272527288 |

# *The use of the genetic analyser’s brand name/kit refers to a specific analytical method and the corresponding experimental protocol

Place of assessment: 12th km of Thessaloniki – Moudanion avenue, position Gefyra Paspala, 57001 THERMI

Authorized signatories: Evanthia Tsirigoti, Venetia Tragaki, Dimitrios Valasiadis

The Accreditation Certificate No. 1379, to ELOT EN ISO/IEC 17025 is valid until 18.01.2029.

Athens, 19.01.2024

Christos Nestoras

CEO of ESYD