Hellenic Accreditation System 
[image: ]






Annex to the G1/1 to Certificate No. 1486

	SCOPE of ACCREDITATION 
of the
Diagnostic Laboratory
of 
TH. PANOPOULOS PRIVATE DIAGNOSTIC LABORATORY MEDICAL S.A.



	Materials / Products tested
	Types of test / Properties measured
	Applied methods / Techniques used

	 Biochemical Testing

	Blood serum
	Determination of 19 parameters
	Automated biochemistry analyzer ROCHE COBAS 6000 c501

	 
	
	

	 
	1. Alanine aminotransferase (ALT/GPT)
	Enzymatic, photometric (IFCC)

	 
	2. Albumin
	Colorimetric, Bromocresol Green (BCG)

	 
	3. Calcium (Ca)
	Colorimetric

	 
	4. Aspartateaminotransferase (AST/GOT)
	Enzymatic, photometric (IFCC)

	 
	5. Gamma-glutamyl trasferase (γ-GT)
	Enzymatic, photometric (IFCC)

	
	6. Lactate dehydrogenase (LDH)
	Enzymatic, photometric (IFCC)

	
	7. Glucose
	Enzymatic, Hexokinase (HK method)

	 
	8. Potassium (K)
	Indirect ISE (ion-selective electrode)

	 
	9. Creatine kinase (CPK)
	Enzymatic, colorimetric

	 
	10. Creatinine 
	Kinetic Jaffe method (compensated Jaffe)

	 
	11. Sodium (Na)
	Indirect ISE (ion-selective electrode)

	
	12. Urea
	Kinetic enzymatic method (urease–GLDH)




	Materials / Products tested
	Types of test / Properties measured
	Applied methods / Techniques used

	Blood serum
(Continued)
	13. Uric Acid
	Enzymatic, colorimetric

	 
	14. Total Proteins (TP)
	Colorimetric (Biuret method – implied)

	 
	15. Iron (Fe)
	Colorimetric (FerroZine method)

	 
	16. Triglycerides
	Enzymatic, colorimetric

	 
	17. Alkaline Phosphatase (ALP)  
	Enzymatic, photometric (IFCC)

	 
	18. Cholesterol
	Enzymatic, colorimetric

	 
	19. HDL Cholesterol
	Enzymatic, colorimetric

	Immunological Τests

	Blood serum
	Determination of 7 parameters
	Automated biochemistry analyzer

	 
	
	ROCHE COBAS e601

	 
	1. β-HCG, β-Human Chorionic Gonadotropin
	
Electrochemiluminescence ECLIA

	 
	2. Vitamin B-12
	 

	 
	3. Prostate-Specific Antigen , PSA
	 

	 
	4. Free Thyroxine, FT4
	 

	 
	5. Thyroid-Stimulating Hormone, TSH
	 

	 
	6. Ferritin (Ferr)
	 

	 
	7. Folic Acid (FOL)
	 

	Complete Blood Count (CBC)

	Whole blood
	Determination of 9 parameters
	Automated hematology analyzer

	(EDTA)
	
	SYSMEX XN-530

	 
	1. Hematocrit (HCT)
	DC pulse width detection derived from RBC impedance measurement

	 
	2. Hemoglobin (Hb)
	Photometric measurement (SLS-Hb method)

	 
	3. Mean Corpuscular Hemoglobin (MCH)
	Calculated parameter

	 
	4. Mean Corpuscular Hemoglobin 
   Concentration (MCHC)
	Calculated parameter

	 
	5. Mean Corpuscular Volume (MCV)
	Calculated parameter

	 
	6. Platelets (PLT)  
	Hydrodynamic focusing with DC impedance pulse measurement





	Materials / Products tested
	Types of test / Properties measured
	Applied methods / Techniques used

	Whole blood 
(EDTA) 
(Continued)
	7. Red Cell Distribution Width (RDW-CV)
	Calculated parameter

	 
	8. Red Blood Cells (RBC)
	Hydrodynamic focusing with DC impedance pulse measurement

	 
	9. White Blood Cells (WBC)  
	Flow cytometry with laser fluorescence and scatter detection




Location of assessment: Permanent Laboratory Premises, 280 Demokratias Avenue, Acharnes

Primary Sample Collection Site: Permanent Laboratory Premises, 280 Demokratias Avenue, Acharnes.

Authorized signatories: D. Psychogyiou, S. Karasaridou, A. Panopoulos



Athens, 12th of January 2026

Konstantinou Evangelos Apostolos
CEO of ESYD
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