# Hellenic Accreditation System

Annex to the G1/1 to Certificate No. 1486

SCOPE of ACCREDITATION of the Diagnostic Laboratory of # TH. PANOPOULOS PRIVATE DIAGNOSTIC LABORATORY MEDICAL S.A.

| Materials / Products tested | Types of test / Properties measured | Applied methods / Techniques used |
| --- | --- | --- |
| Biochemical Testing |  |  |
| Blood serum | Determination of 19 parameters | Automated biochemistry analyzer ROCHE COBAS 6000 c501 |
|  | 1. Alanine aminotransferase (ALT/GPT) | Enzymatic, photometric (IFCC) |
|  | 2. Albumin | Colorimetric, Bromocresol Green (BCG) |
|  | 3. Calcium (Ca) | Colorimetric |
|  | 4. Aspartateaminotransferase (AST/GOT) | Enzymatic, photometric (IFCC) |
|  | 5. Gamma-glutamyl trasferase (γ-GT) | Enzymatic, photometric (IFCC) |
|  | 6. Lactate dehydrogenase (LDH) | Enzymatic, photometric (IFCC) |
|  | 7. Glucose | Enzymatic, Hexokinase (HK method) |
|  | 8. Potassium (K) | Indirect ISE (ion-selective electrode) |
|  | 9. Creatine kinase (CPK) | Enzymatic, colorimetric |
|  | 10. Creatinine | Kinetic Jaffe method (compensated Jaffe) |
|  | 11. Sodium (Na) | Indirect ISE (ion-selective electrode) |
|  | 12. Urea | Kinetic enzymatic method (urease–GLDH) |

| Materials / Products tested |  | Types of test / Properties measured | Applied methods / Techniques used |
| --- | --- | --- | --- |
| Blood serum (Continued) |  | 13. Uric Acid | Enzymatic, colorimetric |
|  |  | 14. Total Proteins (TP) | Colorimetric (Biuret method – implied) |
|  |  | 15. Iron (Fe) | Colorimetric (FerroZine method) |
|  |  | 16. Triglycerides | Enzymatic, colorimetric |
|  |  | 17. Alkaline Phosphatase (ALP) | Enzymatic, photometric (IFCC) |
|  |  | 18. Cholesterol | Enzymatic, colorimetric |
|  |  | 19. HDL Cholesterol | Enzymatic, colorimetric |
| Immunological Τests |  |  |  |
| Blood serum | Determination of 7 parameters |  | Automated biochemistry analyzer |
|  |  |  | ROCHE COBAS e601 |
|  | 1. β-HCG, β-Human Chorionic Gonadotropin |  | Electrochemiluminescence ECLIA |
|  | 2. Vitamin B-12 |  |  |
|  | 3. Prostate-Specific Antigen , PSA |  |  |
|  | 4. Free Thyroxine, FT4 |  |  |
|  | 5. Thyroid-Stimulating Hormone, TSH |  |  |
|  | 6. Ferritin (Ferr) |  |  |
|  | 7. Folic Acid (FOL) |  |  |
| Complete Blood Count (CBC) |  |  |  |
| Whole blood | Determination of 9 parameters |  | Automated hematology analyzer |
| (EDTA) |  |  | SYSMEX XN-530 |
|  | 1. Hematocrit (HCT) |  | DC pulse width detection derived from RBC impedance measurement |
|  | 2. Hemoglobin (Hb) |  | Photometric measurement (SLS-Hb method) |
|  | 3. Mean Corpuscular Hemoglobin (MCH) |  | Calculated parameter |
|  | 4. Mean Corpuscular Hemoglobin Concentration (MCHC) |  | Calculated parameter |
|  | 5. Mean Corpuscular Volume (MCV) |  | Calculated parameter |
|  | 6. Platelets (PLT) |  | Hydrodynamic focusing with DC impedance pulse measurement |

| Materials / Products tested | Types of test / Properties measured | Applied methods / Techniques used |
| --- | --- | --- |
| Whole blood (EDTA) (Continued) | 7. Red Cell Distribution Width (RDW-CV) | Calculated parameter |
|  | 8. Red Blood Cells (RBC) | Hydrodynamic focusing with DC impedance pulse measurement |
|  | 9. White Blood Cells (WBC) | Flow cytometry with laser fluorescence and scatter detection |

Location of assessment: Permanent Laboratory Premises, 280 Demokratias Avenue, Acharnes

Primary Sample Collection Site: Permanent Laboratory Premises, 280 Demokratias Avenue, Acharnes.

Authorized signatories: D. Psychogyiou, S. Karasaridou, A. Panopoulos

Konstantinou Evangelos Apostolos

CEO of ESYD

Athens, 12th of January 2026