Hellenic Accreditation System

Annex F1/14 to the Certificate No. 647-5 SCOPE of ACCREDITATION of the Laboratory for Wind Turbine Testing οf the Centre for Renewable Energy Sources and Saving (CRES) for the performance of tests

| Materials / Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| --- | --- | --- |
| Wind Measurements |
| Wind potential intended for the estimation of wind turbine generator performance | Wind Speed and Wind Direction, Temperature and Relative Humidity of Air, Atmospheric Pressure | Internal method TPR-04 |
| Wind Turbine Testing |
| Wind Turbine Wind Turbine (cont.) | Power Performance Measurements of Wind Turbines | IEC 61400-12-1: 2017 MEASNET Power Performance, Ver.5/ 2009 FGW TEIL 2, Rev 17 (2018) Internal Method TPR-01 |
|  | Wind Turbine Loads Measurements | IEC/TS 61400-13:2015 Internal Method TPR-02 |
|  | Acoustic Noise Measurements of Wind Turbines | IEC 61400-11:2012 +A1:2018 MEASNET Acoustic Noise, Ver.3/ 2011 FGW TEIL 1 REV.18 (2008) Internal Method TPR-03 |
|  | Power Quality Measurements of Wind Turbines | IEC 61400-21-1:2019 MEASNET Electrical Characteristics, Ver.1/ 2019 Internal Method TPR-05 |
|  | Duration test of small wind turbines | §13.4, IEC-61400-2: 2013 |
|  | Noise Emission from a Wind Turbine at the noise receptor location | IEC 61400-11:2012 +A1:2018 ELOT/CRES ΤΕ-81, ΟΕ-5 (1999) Internal Method TPR-06 |
| Mechanical Testing |
| Composite Materials | Determination of Tension and Compressive Material Properties (Applied force capacity -250 kN… +250 kN) | ELOT ΕΝ ISO 527-1: 2012 EN ISO 527-4: 1997 EN ISO 527-5: 2009 ISO 14126:1999 ISO 14129:1997 Internal Method TPR-09 |

Site of assessment: Permanent laboratory premises, 19th km Marathonos Ave., GR-190 09 Pikermi, Attiki, Greece, installation field of meteorological mast and installation field of wind turbine.

Approved Signatories: Ν. Stefanatos, F. Mouzakis, D. Foussekis, D. Theofilogiannakos, F. Kokkalidis, I. Karga, P. Papadopoulos, M. Bregiannis, N. Drougas.

This Scope of Accreditation replaces the previous one dated 26.09.2022.

The Accreditation Certificate No. 647-5, to ELOT EN ISO/IEC 17025:2017, is valid until 29.12.2026.

Athens, 30.11.2022

Christos Nestoras

CEO of ESYD