Hellenic Accreditation System

Annex F1/12 to the Certificate No. 631-7 SCOPE of ACCREDITATION of the Laboratory of Wind Measurements of EDF RENEWABLES HELLAS SINGLE MEMBER S.A.

| Materials / Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| --- | --- | --- |
| Wind Measurements |  |  |
| For the estimation of Wind Potential intended for the design of wind-driven electricity generators | Wind speed (m/s) | IEC 61400-12-1:2017 §7.2 (except 7.2.1) |
|  | Wind direction (Deg.) | IEC 61400-12-1:2017 §7.3 |

Site of assessment: Permanent Laboratory Premises, Ave Vasilissis Sofias 120 , Athens, Greece

and installation field of meteorological mast.

Approved signatories:  Stavros Koutsioumpas, Domna Prokopidou

This Scope of Accreditation replaces the previous one dated November 5th, 2021.

The Accreditation Certificate No. 631-7, to ELOT EN ISO/IEC 17025: 2017, is valid until 10.11.2025.

Athens, May 5th, 2022

Christos Nestoras

CEO of ESYD