Hellenic Accreditation System

Annex F1/16  to the Certificate No. 380-6

SCOPE of ACCREDITATION of the NAIAS Scientific Analytical Laboratories S.A.

| Tested materials / Products | Types of test / Properties to be measured | Applied methods /Techniques to be used |
| --- | --- | --- |
| Physicochemical tests |
| 1.Petroleum and petroleum products 1.Petroleum and petroleum products (cont) | 1. Determination of sulfur content (mg/kg) | Ultraviolet fluorescence method, ΕLΟΤ ΕΝ ISO 20846: 2019 |
|  | 2. Determination of sulfur (% wt) | X-ray fluorescence method ISO 8754:2003 |
|  | 3. Determination of carbon and hydrogen (% wt) | Elemental analysis method ASTM D 5291-16 |
|  | 4. Determination of carbon residue [MCR] (% wt) | Micro weighing method ISO 10370:2014 |
|  | 5. Determination of gross calorific value (MJ/kg) | Calorimetry ASTM D 240: 2019 |
|  | 6. Determination of flash point (oC) | Pensky Martens closed cup method, ISO 2719: 2016, ASTM D93: 2020, (Procedure Α and Β) |
|  | 7. Total Sediment: Determination using standard procedures for ageing (Thermal) (%m/m) | ISO 10307-2:2009/Cor 1:2010 |
|  | 8. Determination of density (kg/m3) | ΕΝ ISO 12185 : 1996/Cor 1:2001, ASTM D4052 :2018a |
|  | 9. Determination of kinematic viscosity and calculation of dynamic viscosity (mm2/s, cSt) | ASTM D445: 2019α, ISO 3104: 2020 |
|  | 10. Determination of ash content (%w/w) | ISO 6245:2001 |
|  | 11. Determination of Pour Point (oC) | ISO 3016:2019 |
|  | 12. Determination of Total Acid Number by Potentiometric Titration (mg KOH/g) | ASTM D664 – 18e2 |
|  | 13. Determination of Al, Si, V, Ni, Na, in residual fuel oil (mg/kg) | IP 501/2015 |
|  | 14. Determination of distillation characteristics at atmospheric pressure | ISO 3405 : 2019 ASTM D86 : 2020b |
|  | 15. Determination of water content by Distillation (%w/w) | ISO 3733:1999 |
|  | 16. Determination of water by Coulometric K.F.Titration | ASTM D 6304-20 |
|  | 17. Determination of F.A.M.E. with F.T.I.R. | EN 14078:2014 |
|  | 18. Determination of contamination | EN 12662:2014 |
| 2. Petroleum (Diesel) | 1. Cetane Index - Calculated by Four Variable Equation | ASTM D4737:2010 (2016) (procedure A) |
|  | 2. Lubricity Evaluation by HFRR (μm) | ISO 12156-1:2018, ASTM D6079 - 18 |
| 3. Aviation / Turbine Fuels | 1.Thermal Oxidation Stability | ASTM D 3241:20c |
| 4. Lubricating oils (unused used) | 1.Determination of Base Number (BN) by potentiometric titration (mg KOH/g) | ASTM D 2896:15 (Procedure Α) |
|  | 2. Determination of Cu, Cr, Fe, Na, V in Used, Unused Lubricating Oils and Base Oils (mg/kg) | ASTM D 5185:18 |
| 5. Drinking water from freshwater Generator/ Low pressure evaporator systems of ships | 1. Determination of Color (CU) | APHA* 2120 C |
|  | 2. Determination of Nitrate (mg/l) | APHA* 4500 NO3- B |
|  | 3. Determination of Turbidity (NTU) | APHA* 2130 |
|  | 4. Determination of pH | APHA* 4500-H+ |
|  | 5. Determination of conductivity (μS/cm) | APHA* 2510 |
|  | 6. Determination of Total Hardness (mgCaCO3/l) | ΕLΟΤ 170:1980 |
|  | 7. Determination of Chloride (mg/l) | APHA * 4500-Cl- Β |

(*)American Public Health Association, American Water Works Association, Water Environment Federation,

“Standard Methods for the Examination of Water and Wastewater”, 23rd Edition, 2017

Site of assessment:  Permanent laboratory premises, 44 Imitou Str.- Piraeus,  GREECE

Approved signatory: A. Psarros, Ν. Mpoulieris, G. Gotsis.

This Scope of Accreditation replaces the previous one dated 15.09.2023.

The Accreditation Certificate No. 380-6, to ELOT EN ISO/IEC 17025:2017, is extended until 20.05.2024.

Athens, 18.03.2024

Christos Nestoras

CΕΟ of ESYD