Hellenic Accreditation System

Annex F1/13 to the Certificate No. 426-6 SCOPE of ACCREDITATION of the Laboratory of TOTAL Q CALIBRATION LABORATORIES S.A. for the performance of tests

| Materials / Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| --- | --- | --- |
| Performance tests of spectrophotometers UV-Vis |
| Visible and ultra-violet spectrophotometers (UV-Vis) | Baseline stability in the range 200 nm – 900 nm Absorption linearity in the range 0 - 1500 mAU Wavelength trueness and precision Ho (230…660 nm) Dy (280…880 nm) | ASTM E 275: 2008 (reapr 2022) Tests are also performed on-site. |
|  | Straylight radiation (200nm) | ASTM E387-04 (reapr 2022) Test is also performed on-site. |
|  | Resolution (A268,7/A267,0) | European Pharmacopοeia Edition 11, 2023 §2.2.25 Test is also performed on-site. |

| Materials / Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| --- | --- | --- |
| Physicochemical tests |
| Treated water / Tests of electrical conductivity of water produced by reverse osmosis apparatus, ultra pure water, distilled water, ion exchange resin, water filters and other water treatment apparatus. | Electrical Conductivity 0,055μS/cm … 200μS/cm at 25oC | ELOT ΕΝ 27888:1993 Test is also performed on-site. |

Site of assessment: Permanent laboratory premises, 20 Korgialeniou Str., Athens, Greece.

Approved Signatories: Vasiliki Paraskevopoulou, Georgios Chatzoudis, Konstantinos Chatzoudis.

This Scope of Accreditation replaces the previous one dated November 3rd, 2020.

The Accreditation Certificate No. 426-6, to ELOT EN ISO/IEC 17025:2017, is valid until 06.05.2024.

Athens, February 9th, 2024

Christos Nestoras

CEO of ESYD