# Hellenic Accreditation System

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Stack emissions from stationary sources | Sampling for the determination of PCDDs/PCDFs and dioxin-like PCBs | ΕLΟΤ ΕΝ 1948-1:2006 ΕLΟΤ ΕΝ 1948-4:2010+Α1:2013 |
|  | Sampling for the determination of As, Cd, Cr, Co, Cu, Mn, Ni, Pb, Sb, Tl and V. | ELOT ΕΝ 14385:2004 |
|  | Sampling for the determination of total Hg | ELOT ΕΝ 13211:2001/AC:2005 |
|  | Sampling for the determination of the mass concentration of individual gaseous organic compounds | CEN/TS 13649:2014 |
|  | Sampling for the determination of gas and particle-phase polycyclic aromatic hydrocarbons | ISO 11338-1:2003 |
| Indoor, ambient and workplace air | Sampling of volatile organic compounds | EN ISO 16017-1:2002 |
| Air Quality | Sampling for the determination of PCDDs/PCDFs and PCBs in the ambient air | ΕΡΑ ΤΟ-9Α |
|  | Standard method for sampling for the measurement of Pb, Cd, As and Ni in the PM10 fraction of suspended particulate matter | ΕLΟΤ ΕΝ 14902:2005/AC:2006 |
|  | Standard method for the sampling for the measurement of the concentration of benzo(a)pyrene in ambient air | ΕLΟΤ ΕΝ 15549:2008 |
|  | Sampling for the determination of total (gas and particle phase) polycyclic aromatic hydrocarbons | ISO 12884:2000 |
|  | Standard method for sampling for the measurement of benzene concentrations Pumped sampling Diffusive sampling | ΕLΟΤ ΕΝ 14662.02:2005 ΕLΟΤ ΕΝ 14662.05:2005 |
| Stack emissions from stationary sources | Isokinetic sampling and determination of mass concentration of particulate matter | ISO 9096:2017 EN 13284-01:2017 |
|  | Sampling and determination of emissions of PM10 and PM2,5 particles | VDI 2066-10:2004 ISO 9096:2017 EN 13284-01:2017 ISO 23210: 2009 |
|  | Sampling and measurement of velocity and volume flow rate of effluent gas | ISO 10780:1994 |
|  | Stationary source emissions – Manual and automatic determination of velocity and flow rate in ducts. Part 1: Manual reference method | ΕΝ ISO16911:2013 |
|  | Water-tube boilers and auxiliary installations Part 15: Acceptance tests (velocity and volume flow rate) | EN 12952-15:2003 |
|  | Sampling and determination of humidity | ΕΝ 14790:2017 |
| Air quality | Optical estimation of darkness of smoke evolving from chimney with use of RINGLEMANN chart | ΕLΟΤ 815:1986 |
|  | Determination of the environmental sound level of installations and other noise sources | ΕΝ-IEC 61672-1:2013 ISO 1996-2:2017 ΕLΟΤ EN ISO 11201:2010 |
|  | Standard gravimetric measurement method for the determination of the PM10 or PM2,5 mass concentration of suspended particulate matter | ΕLΟΤ ΕΝ 12341:2014 |
| Workplace atmospheres | Measurement of airborne particles (inhalable and respirable dust) | ΕLΟΤ ΕΝ 481:1994 EN ISO 13137:2013 PD 307/1986 PD 77/1993 PD 90/1999 |
|  | Determination of noise exposure and occupational noise | ΕLΟΤ EN ISO 11201:2010 EN ISO 9612:2009 |
| Stack emissions from stationary sources | Sampling and determination of O2, CO2, CO, SO2, NΟx, N2O | ISO 10396:2007 ISO 12039:2019 ISO 7935:1992 ISO 10849:2022 ΕLΟΤ ΕΝ 14789:2017 ΕLΟΤ ΕΝ 15058:2017 ΕLΟΤ ΕΝ 14792:2017 ΕLΟΤ ΕΝ ISO 21258:2011 |
|  | Sampling and determination of mass concentration of Sulphur dioxide - Reference method | EN 14791:2017 |
|  | Sampling and determination of mass concentration of gaseous chlorides expressed as HCl - Standard reference method | ΕLΟΤ EN 1911:2010 |
|  | Sampling and determination of gaseous fluoride content | ΙSO 15713:2006 |
|  | Sampling and determination of ammonia (NH3) | VDI 3878:2017 |
|  | Sampling and determination of total organic carbon (TOC) mass concentration by the continuous flame ionization method | ELOT EN 12619:2013 |
| Air quality | Standard method for the measurement of the concentration of nitrogen dioxide and nitrogen monoxide by chemiluminescence | ELΟΤ EN 14211:2012 |
| Stack emissions from stationary sources | Validation and performance test of automatic measurement systems* | ΕLΟΤ ΕΝ 14181:2014 |
| Cleanrooms and associated control environments | Measurement of airborne dust | ΕLΟΤ ΕΝ ISO 14644-1:1999 ΕLΟΤ ΕΝ ISO 14644-2:2001 ΕLΟΤ ΕΝ ISO 14644-3:2007 |
| Measurements in the vicinity of communication antennas, radio and television station antennas, mobile telephone base stations, radars, microwave wireless network stations | Measurement of high frequency electromagnetic fields (27 MHz – 3 GHz): - Electric field strength (E) | Common Ministerial Decision 2300 (EFA) 493 (Hellenic Gazette 346/Β/3-3-2008) § 1-3, § 5-10 and § 4 only the Standards ELOT EN 61566: 1999 (75 MHz – 2 GHz) CEPT ECC / REC / (02) 04 (75 MHz – 3 GHz) ELΟΤ 1422-3: 2007, Ch. 6 |

*  Refers to the accredited tests of the present scope

# Site of assessment: Laboratory permanent premises, 24 Patr.Grigoriou E΄str, GR 14231, Nea Ionia, Greece.

# Approved signatories:  A.Tsipouri, N. Chatzifotis.

This Scope of Accreditation replaces the previous one dated 10.01.2024.

The Accreditation Certificate No. 329-7,  to ELOT EN ISO/IEC 17025: 2017,  is valid until 01.03.2028.

Athens,  12.02.2024

Christos Nestoras

CEO of ESYD

# Text boxes

# Annex F1/24  to the Certificate No. 329-7

SCOPE of ACCREDITATION

of the

Laboratory

of

ALFA MEASUREMENTS A.TSIPOURI-N.CHATZIFOTIS & SIA OE

###### Sampling

###### Sampling and Physical tests

###### Sampling and Chemical tests

###### Other tests