Hellenic Accreditation System

Annex F1/6 to the Certificate No. 722-5 SCOPE of ACCREDITATION of the Laboratory of Wind Measurements of Enallaktiki Energiaki S.A.

| Materials / Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| --- | --- | --- |
| Wind Measurements |
| Wind Potential intended for the estimation of wind turbine generator performance | Wind speed (m/s) | IEC 61400-12-1:2017 §7.2 (except 7.2.1) |
|  | Wind Direction (Deg.) | IEC 61400-12-1:2017 §7.3 |

Site of assessment: Permanent Laboratory premises, Pologos, GR-350 02 Amfiklia, Greece and installation field of meteorological mast.

Approved signatories: Panourgias Ioannis.

This Scope of Accreditation replaces the previous one dated December 15th, 2020.

The Accreditation Certificate No. 722-5, to ELOT EN ISO/IEC 17025: 2017, is valid until 14.12.2027.

Athens, December 5th, 2022

Christos Nestoras

CEO of ESYD