Hellenic Accreditation System 
[image: image1.png]



	Annex C5/10 to the Certificate No. 732-8
SCOPE of ACCREDITATION
GREEK ATOMIC ENERGY COMMISSION

IONIZING RADIATION UNIT
as a Type A Inspection Body
in the voluntary sector and /or

according to the National Legislative Regulations


	Field of Inspection


	Nature of Inspection
	Regulations / Standards/In house procedures

	1.Medical Exposure Practices in radiology, radiation therapy and Nuclear Medicine facilities
1. Operation of radiation generators or  accelerators 

-Practices for diagnostic purposes, dental and interventional radiology purposes

-Practices for radiotherapy purposes with external radiation devices 

2. Operation of radioactive sources for medical exposure and in vitro medical applications 

-Practices for radiotherapy purposes using radioactive sources 
-Practices for in vitro nuclear medicine purposes (RIA/IRMA) 

3. Deliberate administration of radioactive substances and related procedures for the purpose of medical diagnosis and treatment 

-Practices for in vivo diagnostic nuclear medicine purposes 

-Practices for nuclear medicine therapeutic purposes 

-Practices of deliberate addition or generation of radioactive substances in the production or manufacture of medicinal products

	-Compliance inspections with Radiation Protection Regulations

-Unscheduled inspections
	1. Presidential Decree101
   (Hellenic Gazzette Α 194/20.11.2018)

2. Joint Ministerial Decision 45872 

   (Hellenic Gazzette 1103/Β/03.04.2019), as
   applied
3. Law 4310/2014 (Hellenic Gazzette

   258/Α/08.12.14), as applied
4. Presidential Decree 67
   (Hellenic Gazzette 173/Α/14.09.2022)



	Field of Inspection


	Nature of Inspection
	Regulations / Standards/In house procedures

	2.Practices not involving Medical Exposure applied in facilities of industrial, research, veterinary and other applications

1. Operation of non-medical radiation generators or non-medical accelerators

-Operation of X-ray systems for security checks (baggage, containers/vehicles), measurement of quality parameters in industry and for other research and educational purposes, spectroscopic and elemental analysis (XRF – XRD)

-Industrial radiography using X-ray systems inside or outside the facility – Non-Destructive Testing (NDT)

-Operation of accelerators (production of radionuclides and other research purposes)

-X-ray diagnostic tests in animals & External  radiotherapy with x-rays in animals

2. Operation of radioactive sources for purposes other than medical exposure

-Operation of sealed fixed or portable sources for industrial, research and educational purposes

- Industrial radiography using radioactive sources inside or outside the facility - Non-Destructive Testing (NDT)

- Operation of open radioactive sources for research or other purposes

-Operation of high activity sealed sources for irradiation of pharmaceutical and other products (including biological samples and blood products) and for sterilization purposes.

- Deliberate administration of radioactive substances to animals and related procedures for the purpose of medical or veterinary diagnosis, treatment or research.

3. Systematic transport of radioactive materials


	-Compliance inspections with Radiation Protection Regulations

- Unscheduled inspections
	1. Presidential Decree101

   (Hellenic Gazzette Α 194/20.11.2018)

2. Joint Ministerial Decision 45872 

   (Hellenic Gazzette 1103/Β/03.04.2019), as

   applied

3. Law 4310/2014 (Hellenic Gazzette

   258/Α/08.12.14), as applied

4. Presidential Decree 67

   (Hellenic Gazzette 173/Α/14.09.2022)




         Address of body head offices : Patriarxou Grigoriou & Neapoleos st., P.O Box 60092, 15310, Agia Paraskevi, 

                                                                     Attiki, Greece
         Approved Signatory :Constantinos Hourdakis, Christos Pafilis 
         This Scope of Accreditation replaces the previous one dated 12.02.2024.

         The Accreditation Certificate No.732-8, to ELOT EN ISO/IEC 17020:2012, is valid until 09.02.2028.

                  Αthens, 03.06.2024
                                                                                                                                Christos Nestoras 
                                                                                                                                    CEO of ESYD 

                       Page 10 of 10                        Annex C5/10 to the Certificate ESYD No.732-8                               03.06.2024

