Hellenic Accreditation System

Annex F1/17 to the Certificate No. 550-5 SCOPE of ACCREDITATION of the Department of Public Health of Medical School, University of Patras

| Materials / Products tested | Types of test / Properties measured | Applied methods / Techniques used |
| --- | --- | --- |
| Microbiological Tests |
| 1. Potable, surface, swimming pools and sea water | 1. Detection and enumeration of total coliforms and Escherichia coli | ISO 9308-1:2014 |
|  | 2. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
| 2. Potable, surface, and swimming pools water | 1. Enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
|  | 2. Enumeration of total aerobic microorganisms at 22 ( 2 οC and 36 ( 2 οC | ISO 6222:1999 |
|  | 3. Detection and enumeration of Cl. perfringens | ISO 14189:2013 |
| 3. Potable and swimming pools water | Enumeration of Legionella spp. | ISO 11731:2017 (except § 8.4.2) |
| 4. Foodstuffs and animal feeding stuffs | 1. Enumeration of coagulase positive staphylococcus | ISO 6888-1:2021 |
|  | 2. Enumeration of β-glucoronidase positive Escherichia coli | ISO 16649-2:2001 |
|  | 3. Detection and Enumeration of enterobacteriaceae | ISO 21528-2:2017 |
| 5. Foodstuffs | Detection of Salmonella spp. except of S. typhi και paratyphi | ISO 6579-1:2017 |
| Chemical Tests |
| 1. Potable and surface water | 1. Determination of concentration of Nitrites | Method Code: In house method based on APHA 4500-NO2-B. |
|  | 2. Determination of concentration of ammoniacal nitrogen | Method Code: In house method based on ASTM D1426:15 |
| 2. Potable, surface and waste water | Determination of concentration of metals (Copper, Cadmium, Lead, Chromium, Manganese, Nickel, Arsenic) | Method Code: In house method based on APHA 3113B. |
| 3. Surface, industrial and waste water | 1. Determination of Hydrogen ion (pH) | Method Code: In house method based on APHA 4500-H+ B |
|  | 2. Determination of Conductivity | Method Code: In house method based on APHA 2510 |
|  | 3. Determination of Turbitity | Method Code: In house method based on APHA 2130 B |
| 4. Wastewater | Determination of Chemical Oxygen Demand | Closed Reflux, Colorimetric Method APHA 5220 D |
| Molecular Tests |
| 1. Potable and Surface water | Detection and quantitation of adenoviruses, norοviruses and the virus of hepatitis A | In house TaqMan Real-Time PCR method, Stratagene Mx3005P, based on protocols of European Environmental Virology Program VIROCLIME |
| 2. Foodstuffs | Detection and quantitation of adenoviruses, norοviruses and the virus of hepatitis A | In house TaqMan Real-Time PCR method, Stratagene Mx3005P, based on protocols of European Foodstuff Virology Program VITAL and ISO/TC 34/SC 9 N 1065, CEN/TC 275/WG 6 N465 method |

Site of assessment: Laboratory permanent premises, Department of Public Health, Medical School,

University of Patras, 26500 Greece

Approved signatories: Microbiological and Molecular tests: Prof. Apostolos Vantarakis

Chemical tests: Prof. Michalis Leotsinidis, Dr. Eleni Sazakli

This scope of Accreditation replaces the previous one, dated 23.12.2023.

The Accreditation Certificate No. 550-5, according to ELOT EN ISO/IEC 17025:2017, is valid until 18.05.2025.

Athens, 9th of January 2024

Christos Nestoras

CEO of ESYD