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	Annex F1/A31 to Certificate No. 44-9
SCOPE of ACCREDITATION
of the
        Testing Laboratory
of
VELTIA S.A. (Veltia Labs for Life) 

              (Laboratory in Sindos)



	Materials / Products Tested
	Types of Test / Properties
	Applied Standards / Techniques

	Chemical Tests

	1. Food

(flexibility concerns different categories of foods in different tests and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).


	1. Determination of Moisture – Total Solids
	Modified AOAC (AOAC Lat. Ed) methods for each category of products

	
	2. Determination of Ash
	Modified AOAC (AOAC Lat. Ed) methods for each category of products

	
	3. Determination of Fat Content
	Modified AOAC (AOAC Lat. Ed) and ISO methods for each category of products

	
	4. Determination of Proteins
	Modified AOAC (AOAC Lat. Ed) methods for each category of products

	
	5. Determination of Dietary Fibers
	Modified AOAC (AOAC Lat. Ed) methods for each category of products

	2. Food and oils 

(flexibility concerns different categories of foods in different elements and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	Determination of metallic elements

	Modified method using 

ICP-MS

Ο.07.138



	3. Food and Drinks 

(flexibility concerns different categories of foods in different tests and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	1. Determination of Sorbic Acid
	Modified method based on ISO 3496-1994 ISO 22855:2008    /   Ο.07.134

	
	2. Determination of Benzoic Acid
	Modified method based on ISO 3496-1994 ISO 22855:2008   /   Ο.07.134

	
	3a. Determination of total Sulfur Dioxide (SO2), (HACH)
	Modified method using distillation in a nitrogen stream   / Ο.07.136

	
	3b. Determination of total Sulfur Dioxide (SO2) (with Discrete  

       analyzer)
	Modified method based on AOAC 990.28 and with Discrete Analyzer D06736_06 insert Ο.07.136

	
	4. Determination of Propionic acid
	Modified method using HPLC-DAD  /  Ο.07.152

	4. Food
	Determination of sugars 

(Fructose, glucose, sucrose, maltose, lactose)
	Modified method based on 982.14 (AOAC Lat. Ed.)

Ο.07.137

	5. Animal Feed

(Flexibility concerns animal feeds in various tests and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	1. Determination of Moisture
	Method based on ISO methods for each category of products

	
	2. Determination of Ash
	Method based on ISO methods for each category of products

	
	3. Determination of Fat Content
	Method based on ISO methods for each category of products

	
	4. Determination of Protein


	Method based on ISO methods for each category of products

	
	5. Determination of Crude Fiber
	Method based on ISO methods for each category of products

	
	6. Determination of metallic elements
	Modified method using 

ICP-MS   Ο.07.138

	6. Vegetables, fruits and products thereof
	Determination of nitrate ions NO3 -
	Modified method based on EN 12014-2  /  Ο.07.133

	7.  Meat and meat products, cold cuts
	1. Determination of nitrate and nitrite salts (with Discrete analyzer)
	Internal Method with Discrete Analyzer AQ300 EPA-126-D Rev3    O.07.155

	
	2. Determination of hydroxy-proline (collagen)
	Modified method based on ISO 3496-1994 /  Ο.07.139

	Test categories 1, 2, 3, 5 and 7.1 are included in flexible scope and the laboratory can modify, improve and develop new techniques by providing accredited tests.

Accredited tests are described in detail in the list of tests accredited in flexible scope on the laboratory's website.

	8. Fruits, vegetables, juices, jams, syrups, compotes
	Determination of soluble dry residue (Brix)
	Modified method based on Regulation (ΕΕ) 974/2014

Ο.07.150

	9. Juices, soft drinks, tea, alcoholic beverages, food
	Determination of Ethanol (enzymatic)
	Modified method based on AOAC 2019.08,
Ο.07.153

	10. Milk and dairy products, food
	Determination of Lactose (enzymatic)
	Modified method based on AOAC 2020.08,
Ο.07.154

	11. Food of plant origin
(based on ESYD/G-FYTOPROST 2016 and SANTE lat. ed.)
a) Fruits and vegetable with high water content
b) Cereals and legumes
c) High fat content

products of plant origin
d) Difficult or unique commodities
e) High sugar content products of plant origin

(The flexibility concerns food of plant origin and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	Determination of pesticide residues (flexible scope) of the categories:

Organophosphates, Organochlorines, Pyrethroids, Carbamates, Triazoles, Triazines, Dinitroanilines, Amides, Bendimidazoles, Benzoyl-ureas, Sulfonyl-ureas, Phenyl-ureas, Strobilurins, Neonicotinoids, Aryloxy-alcanoic acids, polars and high polar, acid (conjugates, salts and/or esters), phenoxy carboxylic acids, dithiocarbamates, Aminolalcohols, Glyphosate/Glufosinate, Paraquate/Diquate, Guazatine, Ethylene Oxide and its metabolite 2- Chloroethanol, and others


	Modified method        

UPLC-MS/MS  

Ο.02.001

Modified method        

GC-MS/MS  

Ο.02.001

Modified method        

GC-MS/MS

Ο.02.022

Modified method        

LC-MS/MS

Ο.02.034

Modified method        

UPLC QTOF  

Ο.02.036

Modified method              

LC-MS/MS and

LC-DMS-MS/MS

Ο.02.037

Modified method              

LC-MS/MS

Ο.02.038

	12. Infant and baby foods
(The flexibility concerns infant and baby food and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	Determination of pesticide residues (flexible scope) of the categories:

Organophosphates, Carbamates, Triazoles, Triazines, Dinitroanilines, Amides, Bendimidazoles, Benzoyl-ureas, Sulfonyl-ureas, Phenyl-ureas, Strobilurins, Neonicotinoids, Aryloxy-alcanoic acids and others

	Modified method         

UPLC-MS/MS  

Ο.02.001

	13. Food and Drinks, Infant and Baby Foods, Animal Feed

(The flexibility concerns various categories of food, infant and baby food, animal feeds and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	Determination of Mycotoxins / Ergot Alkaloids / Alternaria Toxins / Contaminats (Coumarin)/ (Histamine) in flexible scope:


	Modified method         

UPLC-MS/MS  

Ο.02.021




	14. Food of animal origin

(The flexibility concerns food of animal origin and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	Determination of Perfluoroalkyl and Polyfluoroalkyl substances (PFAS), (21 substances)


	Internal method with modified QUECHERS and solid phase extraction (SPE) and determination by LC-MS/MS

Ο.02.041

	15. Water

(flexibility concerns various categories of water, except sea water and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	Determination of pesticide residues (flexible scope):


	Modified method        

UPLC-MS/MS  

Ο.02.020 

Modified method        

GC-MS/MS  

Ο.15.001


	Categories 11, 12, 13, 14 and 15 are included in flexible scope. 

Flexibility concerns: (a) the addition of a new substrate to an existing method / and technique, (b) the addition of an active substance to an existing method / and technique, (c) the addition of equipment to an existing method with the same or similar technique and (d) the modification of characteristics of existing methods (change of functional range of determination, change of quantification limit, etc.).

Accredited tests are described in detail in the list of tests accredited in flexible scope on the laboratory's website.

	16. Waters
(flexibility concerns various categories of water, except sea water and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	Determination of contaminants anions in flexible scope 
(Bromates, Chlorates, Perchlorates)


	Modified method by 

LC-MS/MS direct injection (*)
O.01.045



	Category 16 is included in flexible scope. 

Flexibility concerns: (a) the addition of a new substrate to an existing method / and technique, (b) the addition of an active substance to an existing method / and technique, (c) the addition of equipment to an existing method with the same or similar technique and (d) the modification of characteristics of existing methods (change of functional range of determination, change of quantification limit, etc.).

Accredited tests are described in detail in the list of tests accredited in flexible scope on the laboratory's website.

	17. Waters

(flexibility concerns various categories of water, except sea water and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	Determination of ions and other physicochemical parameters in a flexible scope

pH, Conductivity, Chloride ions, Sulphate ions, Hardness (Calculation of Temporary and Permanent Hardness), Nitrite ions, Ammonium ions, Nitrate ions, COD, hexavalent Chromium, Turbidity, free cyanides, free Chlorine, colour, fluoride ions, total solids, Total Alkalinity, Phenolphthalein Alkalinity (Calculation of Carbonate ions (CO₃²) and Bicarbonate ions (HCO₃⁻)), sulfates, Total Nitrogen

	Modified method based on ISO, APHA-Standard method lat. ed.  (*)
HACH LCK

Photometer

Titration

pHmeter 

Discrete analyzer

	18. Waters

(flexibility concerns various categories of water, except sea water and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).

	Determination of elements by ICP-MS


	Modified method based on 3125 A, B (APHA-Standard Methods) lat. ed.  (*)
Ο.01.040

ICP-MS



	19. Waters

(flexibility concerns various categories of water, except sea water and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	Determination of water contaminants in a flexible scope of different categories such as:
· Determination of polycyclic aromatic hydrocarbons PAHs

· Determination of polychlorinated biphenyls PCBs

· Determination of polychlorinated triphenyl PCTs

· Determination of volatile compounds VOCs

· Determination of Geosmin, 2-methylisoborneol (GC-MS/ HS-SPME)

· Determination of epichlorohydrin

· Determination of acrylamide

· Determination of phenolic compounds

· Determination of Hydrocarbons in solution or in emulsion - Mineral 

oils (fats and oils)

· Determination of sum / total perfluoroalkyl and polyfluoroalkyl  
   substances (PFAS)

· Determination of Haloacetic acids (HAAs)

· Determination of Bisphenol A

· Determination of Microcystin LR

· Determination of Nonylphenol (cas no 84852-15-3)

·  Determination of 17β-estradiol (cas no 50-28-2)

	Modified method based on ISO, AOAC method Lat. Ed. by (*)
GC-MS-MS  

LC-MS-MS

GC-FID

GC-MS/HS-SPME

Large volume injection

Direct injection



	The parameters in categories 16, 17, 18 and 19 comply with the performance criteria as stated in Directive (EU) 2020/2184 of the European Council, regarding the quality of water for human consumption.


	20. Swimming pool water

(flexibility concerns swimming pool water and is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	Determination of physicochemical parameters in a flexible scope
pH, total Alkalinity, Turbidity

	Modified method based on ISO, APHA-Standard method lat. ed.  by 

HACH LCK

Photometer 

pH-meter 

	Test categories 17, 18, 19, and 20 are included in flexible scope. 
Flexibility concerns: (a) the addition of a new substrate to an existing method / and technique, (b) the addition of an active substance to an existing method / and technique, (c) the addition of equipment to an existing method with the same or similar technique and (d) the modification of characteristics of existing methods (change of functional range of determination, change of quantification limit, etc.).

Accredited tests are described in detail in the list of tests accredited in flexible scope on the laboratory's website.

	(*) Methods marked with (*) comply with the performance criteria specified in ΚΥΑ Δ1(δ)/ΓΠ οικ. 27829 (ΦΕΚ3525/Β/25-5-2023) concerning the quality of drinking water.

	21. Wastewater
	1. Determination of chloride ions
	Modified method based on: 4500-Cl, B (APHA, Standard Methods lat. ed.) O.01.007 

	
	 2.  Determination of pH
	4500-H, B (APHA, Standard Methods (APHA, Standard Methods lat. ed.) O.01.005

	
	 3.  Determination of conductivity
	2510 B (APHA, Standard Methods lat. ed.) O.01.006

	
	 4.  Determination of COD
	HACH LCK 314, LCK 514 O.01.023

	22. Soil

(flexibility is described in detail in the list of tests accredited in flexible scope on the laboratory's website).


	1. Determination of physicochemical parameters in a flexible scope 

total CaCO3, organic Carbon, Nitrates, Phosphorus, Mechanical Composition, Conductivity, pH

	Modified methods based on SSSA , ISO method Lat. Ed. by:

Titration

pHmeter 

Densitometer

Conductometer

Pressure calcimeter

Photometer – UV-vis
Discrete analyzer 



	
	2. Determination of pesticide residues in a flexible scope


	Modified methods based on ISO, AOAC method Lat. Ed. by
GC-MSMS/ LC-MS/MS

	
	3. Determination of Elements in a flexible scope

Cu, Zn, Mn, Fe, Mg, K, B, Pb, Cd, Ni, Cr, Co, As, Hg, Cu, Zn
	Modified methods based on ISO, AOAC method Lat. Ed. by
ICP-OES extractable
ICP-MS after digestion

	23. Leaves / plant tissues

(flexibility is described in detail in the list of tests accredited in flexible scope on the laboratory's website).


	1. Determination of Total Nitrogen in a flexible scope

	Modified method with

Elemental analyzer

	
	2. Determination of Trace Elements and Macroelements in a flexible scope

Ca, Mg, K, Na, Cu, Fe, Zn, Mn, P, B


	Modified methods by
ICP-MS



	Test categories 22 and 23 are included in flexible scope. 
Flexibility concerns: (a) the addition of a new analyte to an existing method / and technique, (b) the addition of equipment to an existing method with the same or similar technique and, (c) the modification of characteristics of existing methods (change of functional range of determination, quantification limit, etc.).

Accredited tests are described in detail in the list of tests accredited in flexible scope on the laboratory's website.

	24. Liquid Fertilizers
	Determination of total Kjeldahl nitrogen (Ν) 

	Modified method based on: ΕΝ 15750

O.08.101

	25. Solid and Liquid Fertilizers
	1. Determination of Water Soluble Phosphorous (P2O5)
	Modified method based on: Regulation (EU) 2003/2003Μ.3.1.6 and Μ.3.2  
Ο.08.103

	
	2. Determination of Water-Soluble potassium (K2O) 
	Modified method based on: 

EN 15477:2009

(Flame photometry) 

O.08.104

	
	3. Determination of Total Nitrogen (Ν) by DUMAS method


	Modified method based on: AOAC 993.13
Ο.08.102

	
	4.  Determination of elements  

     As, Cd, Co, Cr, Hg, Pb, Mo, Ni


	Modified method based on

AOAC method 2017.02 O.08.105

	26. Liquid and solid formulations of plant protection products. 

(flexibility concerns various formulations and various active substances is described in detail in the list of tests accredited in flexible scope on the laboratory's website).
	1. Quantitative determination of active substance using HPLC

Acetamiprid και Dimethoate


	Modified method based on: CIPAC L, 649/TC/M/2.1 + CIPAC Ε, 59/TC/M3/3 (HPLC-DAD)

O.08.301

	
	2. Quantitative determination of active substance using GC

Etofenprox
	Modified method based on: CIPAC Κ, 471/TC/M/2.1 (GC-FID)

O.08.302

	Test categories 26 are included in flexible scope. 
Flexibility concerns: (a) the addition of a new analyte to an existing method / and technique, (b) the addition of equipment to an existing method with the same or similar technique and, (c) the modification of characteristics of existing methods (change of functional range of determination, quantification limit, etc.).

Accredited tests are described in detail in the list of tests accredited in flexible scope on the laboratory's website.

	27. Liquid and solid formulations of plant protection products.
	1. Determination of pH
	CIPAC J, ΜΤ 75.3

O.08.303

	
	2. Quantitative determination of non-dispersible material
	CIPAC K, ΜΤ 185 (wet sieve) 

O.08.305

	28. Liquid formulations of plant protection products.
	Determination of density
	Modified method based on CIPAC F, ΜΤ 3.1
O.08.304

	29. Solid formulations of plant protection products.
	Determination of the time of complete wetting of wettable powders
	CIPAC F, ΜΤ 53.3

O.08.306



	Organoleptic (Sensory) Tests

	1. Potable water
	1. Odour
	Modified method based on 2160 C (APHA, Standard Methods lat. ed.) (*) O.01.033

	
	2. Taste
	Modified method based on 2160 C (APHA, Standard Methods lat. ed.) (*) O.01.033

	Physical Tests

	1. Potable water, irrigation water, ground and surface water

	1. Determination of Tritium

	Modified method based on EN ISO 9698:2016 by LSC (**) O.01.036

	
	2. Determination of gross a & gross b activity concentration for the determination of Total Indicative Dose 
	Modified based on ΕΝ ISO 11704:2015 by LSC (**) O.01.041

	
	3. Determination of Uranium isotopes using ΙCP-MS:
U234 and U238
	Modified method based on ΕΝ ISO 17294-2 (**), conforming to Presidential Act 12-1057-2016 (GG 241Β-2016) and Guideline 2013-51-EURATOM

O.01.035

	(**) Methods marked with (**) comply with the performance criteria as referred to ΚΥΑ Δ1(δ)/ΓΠ οικ. 27829 (ΦΕΚ3525/Β/25-5-2023) concerning the quality of drinking water and in particular ΦΕΚ 241/Β/9-2-2016. 

	Sampling

	1. Potable water, borehole water, seawater
	1. Determination of physical-chemical parameters
	ISO 5667-1:2023

ISO 5667-3:2024 

ISO 5667-9:1992

ISO 5667-5:2006,  

ISO 5667-11:2009

	
	2. Determination of microorganisms
	ISO 5667-1:2023

ISO 5667-3:2024 

ISO 5667-9:1992

ISO 5667-5:2006, 

ISO 5667-11:2009, 

ISO 19458:2006  

	2. Raw and processed agricultural products (discrete lots)
	Sampling for pesticide residue analysis
	In-house method based on: 

ISO 7002:86“Agricultural food products – Layout for a standard method of sampling from a lot”, 24333:09 “Cereals and cereal products – sampling” 
“Commission Directive 2002/63/EC of 11 July 2002 establishing Community methods of sampling for the official control of pesticide residues in and on products of plant and animal origin and repealing Directive 79/700/EEC”


Site of assesement: Laboratory permanent premises, Industrial Area of Thessaloniki – Sindos, Greece
Approved signatories: A. Giannousios, D. Koraki, I. Kaidatzis, M. Stampoulidou, M. Nerantzaki,   

                                      A. Iakovakis, E. Spanou
This Scope of Accreditation replaces the previous one, dated 01.08.2025.

The Accreditation Certificate No. 44-9, according to ELOT EN ISO/IEC 17025:2017, is valid until 26.11.2026.
Athens, 7th of November 2025
  
                       



                    Konstantinou Evangelos Apostolos
                                                                                                           CEO of ESYD
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