Hellenic Accreditation System S.A.

Annex F1/21 to the Certificate No. 412-5 SCOPE of ACCREDITATION of the Laboratory of the ΕΝVIROMETRICS S.A

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Sampling and Physical / Chemical tests |
| Stack emissions from stationary sources | 1. Sampling and determination of mass concentration of particulate matter | EN 13284-01:2017 ISO 9096:2017 |
|  | 2. Sampling and determination of emissions PM10 particles | EN 13284-01:2017 ISO 9096:2017 |
|  | 3. Measurement of velocity and volume flow rate of gas streams in ducts | ISO 10780:1994 ΕΝ ISO 16911-1:2013 |
|  | 4.Determination of the water vapour in ducts | ΕΝ 14790:2017 |
|  | 5. Sampling and determination of total organic carbon (ΤΟC) | ΕΝ 12619:2013 |
|  | 6. Sampling and determination of concentration of oxides of Nitrogen (ΝΟx) | ΕΝ 14792:2017 |
|  | 7. Determination of volume concentration of oxygen (O2) | ΕΝ 14789:2017 |
|  | 8. Determination of the mass concentration of carbon monoxide (CO) | ΕΝ 15058:2017 |
|  | 9. Determination of carbon monoxide (CO), carbon dioxide (CO2) and oxygen (O2) | ISO 12039:2019 |
|  | 10. Determination of the mass concentration of sulfur dioxide (SO2) | ISO 7935:1992 |
|  | 11. Determination of the mass concentration of dinitrogen monoxide (Ν2O) | ΕΝ ISO 21258:2011 |
|  | 12. Determination of the mass concentration of nitrogen oxides (NOx) | ISO 10849:1996 |
|  | 13. Optical estimation of darkness of smoke evolving from chimney with use of RINGLEMANN chart | ΕΛΟΤ 815:1986 |
|  | 14.Validation and performance test of automatic measurement systems* | Quality assurance of automated measurement systems according to ΕΝ 14181:2014, QAL2 and AST |
|  | 15.Sampling and determination of odour concentration by dynamic Olfactometry and odour emission rate | EN 13725:2022 VDI 3880:2011 |
| Ambient Air | 1. Determination of the PM10 or ΡΜ 2,5 fraction of suspended particulate matter. Reference method and field test procedure to demonstrate reference equivalence of measurement methods. | ΕΝ 12341:2014 |
|  | 2. Measurement and assessment of environmental noise emitted by machinery and equipment (dB) | ISO 1996-1:2016 ISO 1996-2:2017 EN 61672-1:2013 |
|  | 3. Sampling and determination of odour concentration by dynamic Olfactometry | EN 13725:2022 |
| Workplace Atmosphere | 1.Determination of inhalable and respirable dust | ΕΝ 481:1993 EN ISO 13137:2013 |
|  | 2. Measurement and assessment of emitted workplace noise from facilities and other sources | ISO 11201:2010 ΕΝ 61672-1:2013 |
| Wastes | 1. Determination of pH | ΕΝ 13037:2011 |
|  | 2. Determination of electrical conductivity | ΕΝ 13038:2011 |
| Sampling |
| Stack emissions from stationary sources | 1. Sampling for the determination of As, Cd, Cr, Co, Cu, Mn, Ni, Pb, Sb, Tl and V | ΕΝ 14385:2004 |
|  | 2. Sampling for the determination of PCDDs/PCDFs and dioxin-like PCBs | ΕΝ 1948-1:2006 ΕΝ 1948-4:2010+Α1:2013 |
|  | 3. Sampling for the determination of PAHs | ΙSO 11338-1:2003 |
|  | 4. Sampling for the determination of HCl | EN 1911:2010 |
|  | 5. Sampling for the determination of gaseous fluorine compounds HF | ΙSO 15713:2006 |
|  | 6. Sampling for the determination of SO2 (as included in the reference method). | ΕΝ 14791:2017 |
|  | 7. Sampling for the determination of total Hg | EN 13211:2001 / AC:2005 |
|  | 8. Determination of the mass concentration of individual gaseous organic compounds (VOCs) | CEN/TS 13649:2014 |
|  | 9. Sampling for the determination of the mass concentration of ammonia | EN ISO 21877:2019 |
| Ambient Air | 1. Measurement of Pb, Cd, As and Ni in the PM10 fraction of suspended particulate matter (Standard method) | EN 14902:2005 |
|  | 2. Measurement of the concentration of benzo(a)pyrene (Standard method) | ΕΝ 15549:2008 |
|  | 3. Sampling for the determination of PCDDs/PCDFs and PCBs in Ambient Air | EPA TO-9A |
| Workplace Atmosphere | 1. Sampling and determination of volatile organic compounds (VOCs) | NIOSH 1500 NIOSH 1501 ΕΝ 689:2018+AC:2019 |
| Wastes | 1. Sampling of waste materials for characterization of wastes | ΕΝ 14899:2005 CEN/TR 15310-1, 2, 3, 4, 5:2006 |

* Refers to the accredited tests of the present scope

Site of assessment: Permanent laboratory premises, 3 Kodrou str, Chalandri 15232, Greece.

Approved signatories: A. Siskos, V. Sideri, K. Platymesi.

This Scope of Accreditation replaces the previous one dated 06.02.2024.

The Accreditation Certificate No. 412-5, to ΕLΟΤ EN ISO/IEC 17025:2017, is valid until 11.09.2024.

Athens,  12.03..2024

Christos Nestoras

CEO of E.SY.D.